# NDSWG Report to ROS

# February 2017

**NDSWG last met on January 17th**

**Major Agenda items reviewed and/or discussed:**

* **Continue with current Leadership**

Chair – Tony Kroskey (Brazos Electric Power Cooperative)

Vice Chair – Paul Mathew (CenterPoint Energy)

* **NMMS Upgrade Project Update**

User training – January 2017

Upgrade planned for completion on 02/10/2017

NMMS will be unavailable from 02/10 to 02/12

* **ICCP Handbook Review**

Review comments and changes made to the handbook

Discussed the approval process for NPPR related changes

Present final draft to NDSWG and Subcommittees for approval Q1-2017

* **Review MGRR 30 for Phase Angle limits field**

NMMS model to include phase angle limits for breakers and switches.

Outage studies will use phase angle limit to identify line restoration issues.

* **Other Topics**

ERCOT will contact TSPs about missing POIs to be modeled.

Discussed Distributed Generation model in NMMS.

**Future NDSWG meeting for 2017**

April 18, July 18, October 17