DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 12, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers Brasher, Jennifer | E.ON | Alt. Rep. for Thresa Allen |
| Bailey, Robert | Reliant Energy |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Thomas | Golden Spread |  |
| DeTullio, David | Air Liquide |  |
| DeWitt, Charles | LCRA | Alt. Rep. for Kris Koellner |
| Goff, Eric | Citigroup | Via Teleconference |
| Greer, Clayton | Morgan Stanley | Via Teleconference |
| Gross, Blake | AEP | Alt. Rep. for Dennis Kunkel |
| Hampton, Brenda | Luminant Generation |  |
| Holloway, Harry | Dynegy |  |
| Kroskey, Tony | Brazos |  |
| Martin, Lisa | Austin Energy | Alt. Rep. for Danny Ee |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB |  |
| Reed, Cyrus | Sierra Club |  |
| Sandidge, Clint | Noble Americas |  |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bowen, Ken | CPS Energy | Via Teleconference |
| Burford, Bret | AEP | Via Teleconference |
| Cochran, Seth | DC Energy |  |
| Cook, Tim | CTT | Via Teleconference |
| Eckhoff, Christina | WETT | Via Teleconference |
| English, Barksdale | Austin Energy | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Helton, Bob | Dynegy |  |
| Henderson, Norris | FERC |  |
| Henson, Martha | Oncor |  |
| Henry, Mark | Texas RE |  |
| Hughes, Lindsey | Competitive Power | Via Teleconference |
| Hunt, Dandy | Austin Energy | Via Teleconference |
| Jones, Randy | Calpine |  |
| Juricek, Mike | Oncor |  |
| Kee, David | CPS Energy |  |
| Kremling, Barry | GVEC |  |
| Lane, Robert | Oncor | Via Teleconference |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Ordonez, Camilo | Luminant Generation | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Shaw, Marka | Exelon |  |
| Stanfield, L. | Invenergy | Via Teleconference |
| Van Arkel, Matt | WETT | Via Teleconference |
| White, Lauri | AEP |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Wittmeyer, Bob | Oncor | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  | Via Teleconference |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Hinojosa, Jose Luis |  |  |
| Landin, Yvette |  | Via Teleconference |
| Levine, Jonathan |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Phillips, Cory |  |  |
| Ragsdale, Kenneth |  | Via Teleconference |
| Rajagopalan, Sidharth |  |  |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Simons, Diane |  | Via Teleconference |
| Solis, Stephen |  |  |
| Steffan, Nick |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |

- Phil Bracy called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bracy reviewed the ERCOT Antitrust Admonition, which was displayed.

Election of 2017 ROS Chair and Vice-Chair

Mr. Bracy reviewed the leadership election process per the Electric Reliability Council of Texas

Technical Advisory Committee Procedures for ROS Chair and Vice-Chair and opened the floor for nominations.

Clayton Greer nominated Alan Bern for 2017 ROS Chair.  Mr. Bern accepted the nomination.  Mr. Bern was named 2017 ROS Chair by acclimation.

Mr. Greer nominated Boone Staples for 2017 ROS Vice-Chair.  Mr. Staples accepted the nomination.  Mr. Staples was named 2017 ROS Vice-Chair by acclimation.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes

November 3, 2016

Harry Holloway moved to approve the November 3, 2016 ROS meeting minutes as submitted.  David DeTullio seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

- Mr. Bern reviewed highlights of the December 1, 2016 TAC meeting.

ERCOT Updates (see Key Documents)

Operations Report

Nick Steffan presented the November 2016 Operations Report.

System Planning Report

Jeff Billo presented the November 2016 System Planning Report.  Cyrus Reed opined that potential regulatory changes due to the changing administration may require adjustment to environmental control assumptions in stability assessments.  Mr. Billo stated that there are currently no plans to change assumptions defined in the 2016 Long Term Stability Assessment (LTSA), but that could change as ERCOT continues to monitor the progression of changing environmental regulations and their impact to the grid.

Black-Start Study Improvements

Sandip Sharma presented findings and recommendations based on the Nexant review of ERCOT Black-Start capability; and stated that the reduction in bidding for Black Start contracts was likely due to topology changes, prohibitive set up costs, and North American Electric Reliability Corporation (NERC) Critical Infrastructure Protection (CIP) compliance costs.  Mr. Sharma added that increasing the procurement cycle to a longer period may encourage participation by helping support necessary investment; and that a Nodal Protocol Revision Request (NPRR) is being drafted to address this concern.

New Protocol Revision Subcommittee (PRS) Referrals to ROS

NPRR809, GTC or GTL for New Generation Interconnection

Brad Schwarz moved to request PRS continue to table NPRR809.  Tom Burke seconded the motion.  The motion carried unanimously.

Mr. Bern referred NPRR809 to the Planning Working Group for further review.

Revision Requests Tabled at PRS, Previously Referred to ROS

NPRR776, Voltage Set Point Communication

Market Participants reviewed the 1/12/17 Operations Working Group (OWG) draft comments.  Stephen Solis stated that ERCOT is currently working on comments to specify that ERCOT would be delivering Voltage Set Point adjustment instructions to the TSP or TSP’s agent.  ROS took no action on NPRR776.  Mr. Bern referred NPRR776 back to OWG for further review.

NPRR799, Updates to Outages of Transmission Facilities

Taylor Woodruff provided an overview of the 11/22/16 Oncor comments to NPRR799.  Market Participants discussed proposed changes; and debated over the inclusion of Resource Entities in Protocol Section 3.1.2, Planned Outage or Maintenance Outage Data Reporting.  Mr. Sharma stated that ERCOT would prefer Resource Entities make a reasonable effort to update the Outage Scheduler and supported the inclusion of the language.

Mr. Greer moved to endorse NPRR799 as amended by the 11/22/16 Oncor comments.  Blake Gross seconded the motion.  The motion carried with one opposing vote from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment.

Operations Working Group (OWG) (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 165, Emergency Operations Plan as Required by NERC Reliability Standards

Eric Goff reviewed the 1/6/17 CitiGroup Energy comments.  Trieu Vo opined that the templates proposed in NOGRR165 would be beneficial to Transmission Operators (TOs) as well as ERCOT.  Some Market Participants expressed concerns regarding emergency operations plans being posted to the Market Information System (MIS), and stated that the level of detail included may be different than what might be provided if this information were available only to ERCOT.  Others stated that some level of disclosure was important to the market due to potential impacts on pricing during the transition from emergency to non-emergency status.

Wes Woitt moved to recommend approval of NOGRR165 as recommended in the 12/16/16 OWG Report.  Mr. Gross seconded the motion.  The motion carried with two abstentions from the Independent Power Marketer (IPM) (CitiGroup, EDF) Market Segment.

NOGRR166, Daily Grid Operations Summary Reports

Mr. Greer reviewed the 1/11/17 Morgan Stanley comments.  Market Participants requested additional specificity regarding what information should be included in the reports.  Mr. Solis stated that the reports intend to go beyond the information originally asked for in NOGRR084, Daily Grid Operations Summary Report, and encouraged language that would allow ERCOT the flexibility to revise the reports as the market deems necessary.

Mr. Greer moved to table NOGRR166 for one month.  Mr. Goff seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Charles DeWitt reviewed recent PLWG activities.

Planning Guide Revision Request (PGRR) 052, Stability Assessment for Interconnecting Generation

Mr. Billo provided an overview of the 1/11/17 ERCOT comments, stating that the proposed effective date of August 1, 2017 was necessary in order for this revision to apply to generating units coming On-Line beginning January 1, 2018.  Mr. Billo added that the comments also intend to address concerns expressed by Market Participants regarding deadlines for Generation Resource Interconnecting Entities (IEs) to be included in the quarterly stability assessment.  Bill Barnes offered one clarification to paragraph (2) of Planning Guide Section 5.9, Quarterly Stability Assessment.

Brenda Hampton moved to recommend approval of PGRR052 as recommended by PLWG in the 12/21/16 PLWG Report as amended by the 1/11/17 ERCOT comments and as revised by ROS.  Robert Bailey seconded the motion.  The motion carried unanimously.

PGRR053, Addition of Proposed All-Inclusive Generation Resources to the Planning Models

Mr. Burke moved to recommend approval of PGRR053 as recommended by PLWG in the 12/21/16 PLWG Report.  Mr. Schwarz seconded the motion.  The motion carried unanimously.

System Protection Working Group (SPWG) (see Key Documents)

Bret Burford presented revisions to the ERCOT ROS System Protection Working Group (SPWG) Procedures that update Special Protection System (SPS) to Remedial Action Scheme (RAS) to match language outlined in NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS); and remove references to “automatic reclosing.”  Brittney Albracht noted that the revisions related to NPRR792 would need to be approved by ROS upon implementation of the NPRR; desktop revisions were made to remove the SPS to RAS update.  Revisions to the procedures to align with NPRR792 will be brought back to ROS after implementation.

Kevin Bunch moved to approve the SPWG procedures as revised by ROS.  Mr. Woitt seconded the motion.  The motion carried unanimously.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Nitika Mago reviewed recent PDCWG activity.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Mike Juricek reviewed recent PGDTF activity.  Market Participants discussed vulnerability assessment timelines and use of default versus actual data.

Other Business

Review of Open Action Items

Mr. DeWitt noted that the item “Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints” could be removed upon ROS recommending approval of PGRR054, Stability Limits in the Full Interconnect Study, at the February 2, 2017 ROS meeting.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Operations Training Working Group (OTWG)

- Outage Coordination Improvements Task Force (OCITF)

- Network Data Support Working Group (NDSWG)

- Steady State Working Group (SSWG)

Adjournment

Mr. Bern adjourned the January 12, 2016 ROS meeting at 11:52 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/1/12/108698-ROS