## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
February 2, 2017
Michael Juricek
PGDTF Chairman
<number>
2/2/2017 ROS Meeting

## Slide 2: Activities of the PGDTF in 2017
Met on January 11, 2017
  Discussed Draft GMD Planning PGRR and Provided Comments to ERCOT.
  Discussed National and State Activities Related to GMD.
  Discussed Update to Procedure Manual.
  Discussed Development of Procedures for GMD Vulnerability Assessment.
Document GMD Planning Responsibilities in the Planning Guide for June 2017 BOD Meeting (NERC Standard R1) To Meet 7/1/2017 NERC Enforcement Date.
Create GIC System Model for Geomagnetic Disturbance (GMD) Vulnerability Assessment (NERC Standard R2).
Revise GIC System Model Procedure Manual.
Will Meet in February.
Michael Juricek – 2/2/2017 ROS Meeting
<number>

## Slide 3: Schedule for Creating GIC System Model
12/31/2016 – TSP Data for 345 kV System Based on 2021 Summer Peak Case Released on 10/15/2016 Provided to ERCOT.
3/31/2017 – TSP Data for 138 kV and 69 kV Systems and Update to 345 kV System Data Based on 2021 Summer Peak Case Released on 10/15/2016 Due to ERCOT.
3/31/2017 – REs’ Updated RARF with GIC System Model Data Due to ERCOT.
6/1/2017 – ERCOT Provides First Pass of GIC System Model for Review to TSPs and REs.
7/1/2017 – TSPs and REs Provide Changes to GIC System Model to ERCOT.
Subsequent Model Review Passes Will be Scheduled as Needed.
1/1/2018 – Complete 2021 Summer Peak and 2021 Minimum GIC System Models Using July 2017 SSWG 2021 Summer Peak and 2021 Minimum Base Cases.
Michael Juricek – 2/2/2017 ROS Meeting
<number>

## Slide 4: Questions and Answers
<number>
Michael Juricek – 2/2/2017 ROS Meeting