| NPRR Number | 799 | NPRR Title | Updates to Outages of Transmission Facilities |
| --- | --- | --- | --- |
| Date |  | February 2, 2017 |  |
| Submitter’s Information |  |  |  |
| Name |  | Anthony Alford |  |
| E-mail Address |  | anthony.alford@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Phone Number |  | 713-207-2265 |  |
| Cell Number |  |  |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

The 11/22/16 Oncor comments would require an Outage Scheduler update by hour ending 0800 on the current Operating Day for all scheduled work completed on a TSP Transmission Facility or a Resource Entity Transmission Facility prior to hour ending 0600 of the current Operating Day. CenterPoint Energy would support approval of those comments. The 1/19/17 Morgan Stanley Capital Group, Inc. comments would keep the 0800 Outage Scheduler update requirement for TSP Transmission Facilities but would remove the requirement for Resource Entity Transmission Facilities. CenterPoint Energy understands that the reason for removing the requirement for Resource Entity Transmission Facilities is that outages on those Facilities have little or no impact on transmission line flows.

CenterPoint Energy agrees that an outage on most Resource Entity Transmission Facilities will have little or no impact on transmission line flows. However, CenterPoint Energy is aware of some Resource Entities that own and operate the transmission substation that the TSP’s transmission lines tie into. In those cases, an outage on a Resource Entity Transmission Facility could impact transmission line flows. CenterPoint Energy has included a redacted one line diagram below to illustrate this point. The transmission lines labeled Ckt 1 and Ckt 2 are TSP Transmission Facilities and the remaining Transmission Facilities are Resource Entity Transmission Facilities.

Because some Resource Entity Transmission Facilities could impact transmission line flows, CenterPoint Energy proposes an addition to Section 3.1.2 of the 1/19/17 Morgan Stanley comments that would apply the 0800 Outage Scheduler update requirement to outages on Resource Entity Transmission Facilities that can interrupt the flow through transmission lines. This language provides additional, meaningful transparency to the market without being overbroad.

Revised Cover Page Language

| Nodal Protocol Sections Requiring Revision | 3.1.2, Planned Outage or Maintenance Outage Data Reporting 3.1.5.13, Transmission Report |
| --- | --- |

Revised Proposed Protocol Language

3.1.2	Planned Outage or Maintenance Outage Data Reporting

(1)	All information submitted about Planned Outages or Maintenance Outages must be submitted by the Resource Entity or the TSP under this Section.  If an Outage Schedule for a Resource is also applicable to the Current Operating Plan (COP), the Qualified Scheduling Entity (QSE) responsible for the Resource shall also update the COP to provide the same information describing the Outage.  Each TSP shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day.  Each Resource Entity shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities that can interrupt the flow through transmission lines in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day.

[NPRR758: Replace Section 3.1.2 above with the following upon system implementation:] 3.1.2 Planned Outage, Maintenance Outage, or Rescheduled Outage Data Reporting (1) All information submitted about Planned Outages, Maintenance Outages, or Rescheduled Outages must be submitted by the Resource Entity or the TSP under this Section. If an Outage Schedule for a Resource is also applicable to the Current Operating Plan (COP), the Qualified Scheduling Entity (QSE) responsible for the Resource shall also update the COP to provide the same information describing the Outage. Each TSP shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day. Each Resource Entity shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities that can interrupt the flow through transmission lines in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day.

- 3.1.5.13	Transmission Report

(1)	ERCOT shall post on the MIS Secure Area:

(a)	Within one hour of receipt by ERCOT, all Transmission Facilities Outages that have been submitted into the ERCOT Outage Scheduler, excluding Private Use Network transmission Outages;

(b) 	Within one hour of a change of an Outage, all Transmission Facilities Outages, excluding Private Use Network transmission Outages; and

(c) 	Once each day, Outage Scheduler notes related to the coordination of Outages.

[NPRR758: Insert paragraphs (d) and (e) below upon system implementation:] (d) At least annually, an updated list of High Impact Transmission Elements (HITEs) pursuant to Section 3.1.8, High Impact Transmission Element (HITE) Identification; and (e) Once each day, list of HIOs submitted with 90-days or less notice that are accepted or approved.