AGENDA

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Wednesday, January 11, 2017, 9:30 a.m. – 3:00 p.m., Room 168

http://ercot.webex.com

Meeting Number: 625 256 198

Meeting Password: 012017

Audio Dial-In: 1.877.668.4493

- Antitrust Admonition						M. Juricek		9:30 a.m.

- Introductions							Task Force

- Agenda Review							M. Juricek

No changes.

- Review of Minutes from 12/9/2016 Meeting 			Task Force

No changes.

- Federal and State Activities Regarding GMD			L. Loyferman/M. Juricek

Discussed about bills 85 (R) & HB 407

Deadlines

- Update of GIC System Model Procedure Manual			M. Juricek

Update Procedure Manual (Improvements)

Developing working model schedule

Taskforce goals for next couple of years

Converting taskforce to a working group by taking to ROS.

- Questions on Data and Software for GIC System Model		Task Force

Questions about

Substation grounding

Grounding information for generator bus

Error checking by ERCOT after gathering the data

- Process for Reviewing Data for GIC System Model 		J. Teixeira/Task Force

Guideline language revision

GMD Plan

Developing corrective action plan after assessment

Operative action plan & EOP 10

- PGRR for GMD Planning Responsibilities				M. Juricek/B. Richardson

Ownership – No volunteers

Task Force – No volunteers

ERCOT sponsorship

Define Highlighted Terms

ERCOT will make language changes to reflect Assessments.

Transmission Owners need to provide data for Assessment.

- Status and Questions on GIC System Model	                  	Task Force

- Other Business							M. Juricek

- Future Meetings							M. Juricek

- Adjourn								M. Juricek		1:00 p.m.

Lunch will be taken if meeting runs past noon.

| Open Action Items | Responsible Party |
| --- | --- |
| Questions in Scope document | PGDTF |

Attendees:

| Name |  | Representing | Name |  | Representing |
| --- | --- | --- | --- | --- | --- |
| Michael | Juricek | Oncor | Kaleb | Luce | Oncor |
| Sirisha | Parvathaneni | Oncor | Ken | Donohoo | Oncor |
| Aster | Amahatsion | AEP | Laura | White | AEP |
| Larisa | Loyferman | CNP | Omar | Urquidez | CNP |
| Zachary | Dixon | COCS | Oluwaseyi | Olafujoye | CPS |
| Tim | Cook | CTT | Britney | Albreicht | ERCOT |
| Ed | Geer | ERCOT | Jay | Teixeira | ERCOT |
| Ben | Richardson | ERCOT | Yvette | Landin | ERCOT |
| Jeff | Billo | ERCOT | Barry | Kremling | GVEC |
| Dylan | Preas | LCRA | Doug | Evans | STEC |
| Clayton | Stanford | SBEC | Robert | Lona | TNMP |
| Christina | Minchew | WETT | Brad | Woods | Texas RE |
| Tho | Tran |  | J | Hurst |  |
| Jianhui | Zhang | AEN |  |  |  |