ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## March 2, 2017 Report to ROS

### Recent Meeting

- VPWG had a meeting on February 14, 2017.

- The group discussed Maximum Load Case and Minimum Load Case modelling for the upcoming Summer-Fall Voltage Profile Study that begins March 7.

- In NPRR776 implementation, TSPs will submit links for “kV POI,” which is the real time voltage at the POI where generator voltage set point changes are observed. TSPs will designate in NOMCRs which telemetered bus voltage will be used for kV POI. There may be a potential problem if the bus designated for kV POI can be out of service even though generation remains online through an alternate bus. That causes LOST common voltage observability between TSP, ERCOT and QSE/generation and the data gets dropped by PI. These outages happen every day around the system because of maintenance and switching near the plants. No single solution was agreed by VPWG, just discussion that this problem should be addressed.

- The group reviewed and updated the Draft Voltage Study Procedure Manual.

### Future Planned Meeting

- Next VPWG will be held on March 7, 2017.

Scot Williams	Sharmila Gurrala

VPWG Chair	VPWG Vice-Chair