| NPRR Number | 562 | NPRR Title | Subsynchronous Resonance |
| --- | --- | --- | --- |
| Date |  | April 7, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | James Painter |  |
| E-mail Address |  | James.Painter@oncor.com |  |
| Company |  | Oncor Electric Delivery (Oncor) |  |
| Phone Number |  | 214.743.6779 |  |
| Cell Number |  | 214.587.9952 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

Oncor submits the following comments in response to the ERCOT stakeholder workshop on March 13, 2015. The workshop was held on Subsynchronous Resonance (SSR) in preparation for the continuation of detail development of Nodal Protocol Revision Request (NPRR) 562.  Oncor requests further clarification of the process for future NPRR562 revisions. Oncor is providing conceptual comments only, with the understanding that language revisions to NPRR562 will occur later in the process.

- More guidance is needed and additional study details should be clarified for the determination of Subsynchronous Control Interaction (SSCI) for the wind interconnection projects and the annual review.

- For the new Generator Interconnection projects, the process to address SSR data quality needs to be vetted and this should include the timing of SSR studies with respect to quality of data available.

Revised Cover Page Language

None at this time.

Revised Proposed Protocol Language

None at this time.