| NPRR Number | 799 | NPRR Title | Updates to Outages of Transmission Facilities |
| --- | --- | --- | --- |
| Date of Decision |  | March 9, 2017 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | May 1, 2017 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.1.2, Planned Outage or Maintenance Outage Data Reporting 3.1.5.13, Transmission Report |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) introduces requirements for submitting updates to the Outage Scheduler for completed or started Outages on Transmission Facilities. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Today, ERCOT has the requirement to post all Transmission Facilities Outages within one hour of receipt by ERCOT (paragraph (1) of Section 3.1.5.13). This requirement is an integral part of ensuring up-to-date Outage Scheduler reports. That being said, DC Energy submits that in order to truly maintain Outage Scheduler reports with the most recent information, then similar requirements should be extended to Transmission Service Providers (TSPs) and Resource Entities with respect to started and completed Outages on Transmission Facilities. Specifically, this NPRR proposes a requirement that Resource Entities and TSPs submit updates to the Outage Scheduler within one hour of the actual start or completion of a Transmission Facility Outage. Accurate and up-to-date Outage Scheduler reporting is imperative for a well-functioning nodal market: - Helps rationalize the cost of hedging products as actual risks can be measured more accurately in the cost of products - Improves the ability for Market Participants to forecast prices and converge prices in the Independent System Operator (ISO) sequential markets, which helps to rationalize unit commitment - Enhances Resource owner’s ability to manage locational risk and assess the deliverability of energy and Ancillary Services - Improve ERCOT’s situational awareness for forward looking studies dependent on Outage Scheduler information In closing, we believe the merits of this NPRR are especially compelling when comparing the market related benefits against the administrative effort of providing timely updates to the Outage Scheduler. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR799 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 9/15/16, PRS unanimously voted to table NPRR799 and refer the issue to ROS and WMS. All Market Segments were present for the vote. On 1/19/17, PRS voted to table NPRR799 for one month. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment. All Market Participants were present for the vote. On 2/9/17, PRS voted to recommend approval of NPRR799 as amended by the 1/19/17 Morgan Stanley comments. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. On 3/9/17, PRS voted to endorse and forward to TAC the 2/9/17 PRS Report and the Impact Analysis for NPRR799. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 9/15/16, participants noted concerns with the one hour timeline and determined additional discussion was needed. On 1/19/17, participants noted concerns regarding Resource Outages and tabled NPRR799 for one month to allow ERCOT time to file comments and also allow for further review of comments at the next QSE Managers Working Group (QMWG) meeting. On 2/9/17, participants briefly discussed the purpose of the 2/2/17 CenterPoint comments. On 3/9/17, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Sadao Millberg |
| E-mail Address | milberg@dc-energy.com |
| Company | DC Energy Texas |
| Phone Number | (703) 760-4358 |
| Cell Number |  |
| Market Segment | IPM |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6512 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 101816 | Requested PRS continue to table NPRR799. |
| ROS 110816 | Requested PRS continue to table NPRR799. |
| Oncor 112216 | Proposed language changes to clarify the timeline for when Entities will enter the actual start/end date and time of Outages while maintaining flexibility for Real-Time operational concerns that arise. |
| ROS 011317 | Endorsed NPRR799 as amended by the 11/22/16 Oncor comments. |
| Morgan Stanley 011917 | Reinstated language to clarify Resource Entities use reasonable efforts to continually update their Outage Schedule(s). |
| ERCOT 012717 | Stated ERCOT is not opposed to any of the proposals in previous comment, as each retains the current requirement for updating Outages. |
| WMS 020217 | Endorsed NPRR799 as amended by the 1/19/17 Morgan Stanley comments. |
| CNP 020217 | Proposed an addition to Section 3.1.2 of the 1/19/17 Morgan Stanley comments that would apply the 0800 Outage Scheduler update requirement to outages on Resource Entity Transmission Facilities that can interrupt the flow through transmission lines. |
| TIEC 020817 | Proposed rejection of NPRR799 in current form. If the NPRR moves forward, requested Resource-owned facilities be excluded as they were in the 1/19/17 Morgan Stanley comments or, at a minimum, Private Use Network facilities should be explicitly excluded as they were in the NPRR as submitted. |

Market Rules Notes

Please note the baseline Protocol language in Section 3.1.5.13 has been updated to reflect the incorporation of the following NPRR(s) into the Protocols:

- NPRR758, Improved Transparency for Outages Potentially Having a High Economic Impact (partially unboxed 1/1/17)

Proposed Protocol Language Revision

3.1.2	Planned Outage or Maintenance Outage Data Reporting

(1)	Each Resource Entity shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule.  All information submitted about Planned Outages or Maintenance Outages must be submitted by the Resource Entity or the TSP under this Section.  If an Outage Schedule for a Resource is also applicable to the Current Operating Plan (COP), the Qualified Scheduling Entity (QSE) responsible for the Resource shall also update the COP to provide the same information describing the Outage.  Each TSP shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day.

[NPRR758: Replace Section 3.1.2 above with the following upon system implementation:] 3.1.2 Planned Outage, Maintenance Outage, or Rescheduled Outage Data Reporting (1) Each Resource Entity shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule. All information submitted about Planned Outages, Maintenance Outages, or Rescheduled Outages must be submitted by the Resource Entity or the TSP under this Section. If an Outage Schedule for a Resource is also applicable to the Current Operating Plan (COP), the Qualified Scheduling Entity (QSE) responsible for the Resource shall also update the COP to provide the same information describing the Outage. Each TSP shall use reasonable efforts, consistent with Good Utility Practice, to continually update its Outage Schedule, including, but not limited to, submitting the actual start and end date and time for Planned Outages of Transmission Facilities in the Outage Scheduler by hour ending 0800 of the current Operating Day for all scheduled work completed prior to hour ending 0600 of the current Operating Day.

- 3.1.5.13	Transmission Report

(1)	ERCOT shall post on the MIS Secure Area:

(a)	Within one hour of receipt by ERCOT, all Transmission Facilities Outages that have been submitted into the ERCOT Outage Scheduler, excluding Private Use Network transmission Outages;

(b) 	Within one hour of a change of an Outage, all Transmission Facilities Outages, excluding Private Use Network transmission Outages;

(c) 	Once each day, Outage Scheduler notes related to the coordination of Outages; and

(d)	At least annually, an updated list of High Impact Transmission Elements (HITEs) pursuant to Section 3.1.8, High Impact Transmission Element (HITE) Identification.

[NPRR758: Insert paragraph (e) below upon system implementation:] (e) Once each day, list of HIOs submitted with 90-days or less notice that are accepted or approved.