## Process_Assumptions
Process & Assumptions
1) This process utilizes 867 reads with a stop date ending in the prior month
2) Data selected from database for analysis as per dates noted on Read Statistics tab
3) Selected all AMS reads (where ESI ID has AMS profile & status = 'A' or 'D') with start times within 60 days of the first of the reporting month to the last day of the reporting month
4) Both estimated and actual 867 and AMS reads were selected
5) Selected 867 records that have AMS reads (if an ESI ID has an 867 but no AMS read then the 867 record is dropped)
6) Sum up AMS totals for the period of the coinciding 867 read
7) Calculate the delta between 867 and AMS kWh
a) (Delta kWh) = [(867 kWh) - round(AMS kWh)] / (867 kWh)
b) If both the 867 kWh and AMS kWh are zero, then Delta kWh = 0
c) If 867 kWh is zero and AMS kWh is non-zero, then the comparison cannot be performed and the record is removed from further reporting analysis
Disconnect Type Breakout
Data separated into three groups based on disconnect type
a) AMSR - Remote disconnect type, thought to have a meter multiplier of 1
b) AMSM - Manual disconnect type, may not have a meter multiplier of 1
c) Unknown - Remote disconnect type not designated

## Read_Stats_Data
Data Description | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01
Date of Data Pull | 2014-10-27 | 2014-10-27 | 2014-10-27 | 2014-11-07 | 2015-01-14 | 2015-01-30 | 2015-02-16 | 2015-03-25 | 2015-04-20 | 2015-05-18 | 2015-06-16 | 2015-07-16 | 2015-08-17 | 2015-09-15 | 2015-10-15 | 2015-11-16 | 2015-12-15 | 2016-01-15 | 2016-02-15 | 2016-03-18 | 2016-04-15 | 2016-05-16 | 2016-06-15 | 2016-07-15 | 2016-08-15 | 2016-09-15 | 2016-10-17 | 2016-11-15 | 2016-12-15 | 2017-01-16 | 2017-02-15 | 2017-03-15
Starting Reads | 7111155 | 6489299 | 7434052 | 7256268 | 6459392 | 6918452 | 6818892 | 6692558 | 7613534 | 7021042 | 6745714 | 7395326 | 7096479 | 7466307 | 7097403 | 7061810 | 6749192 | 6911745 | 7104789 | 7114703 | 7112003 | 7476210 | 6774185 | 7550788 | 7534683 | 6907450 | 7771494 | 6892248 | 7603394 | 6874661 | 6700377 | 7775926
Removed due to zero kWh 867 and non-zero AMS total | 7196 | 6678 | 6780 | 7300 | 6057 | 6286 | 6044 | 6234 | 6895 | 6409 | 6813 | 7022 | 6793 | 5684 | 5576 | 5709 | 5138 | 5318 | 5737 | 5790 | 6142 | 6520 | 5872 | 6606 | 7173 | 6088 | 6815 | 5830 | 5902 | 5803 | 5211 | 6357
All analyzed reads | 7103959 | 6482621 | 7427272 | 7248968 | 6453335 | 6912166 | 6812848 | 6686324 | 7606639 | 7014633 | 6738901 | 7388304 | 7089686 | 7460623 | 7091827 | 7056101 | 6744054 | 6906427 | 7099052 | 7108913 | 7105861 | 7469690 | 6768313 | 7544182 | 7527510 | 6901362 | 7764679 | 6886418 | 7597492 | 6868858 | 6695166 | 7769569
Removed due to AMS reads being within (inclusive) 2kWh or 2% of 867 | 6983663 | 6395122 | 7333601 | 7159498 | 6369910 | 6831928 | 6738150 | 6617800 | 7536301 | 6943520 | 6667525 | 7307531 | 7015192 | 7392415 | 7035793 | 6997781 | 6672933 | 6823529 | 7051072 | 7057252 | 7060054 | 7422597 | 6724970 | 7490354 | 7472330 | 6852499 | 7713337 | 6839409 | 7547132 | 6818144 | 6654278 | 7727518
Analyzed reads (subset with deltas greater than 2kWh and 2%) | 120296 | 87499 | 93671 | 89470 | 83425 | 80238 | 74698 | 68524 | 70338 | 71113 | 71376 | 80773 | 74494 | 68208 | 56034 | 58320 | 71121 | 82898 | 47980 | 51661 | 45807 | 47093 | 43343 | 53828 | 55180 | 48863 | 51342 | 47009 | 50360 | 50714 | 40888 | 42051
% Counts Greater Than 2 kWh and 2% | 1.693% | 1.35% | 1.261% | 1.234% | 1.293% | 1.161% | 1.096% | 1.025% | 0.9247% | 1.014% | 1.059% | 1.093% | 1.051% | 0.9142% | 0.7901% | 0.8265% | 1.055% | 1.2% | 0.6759% | 0.7267% | 0.6446% | 0.6305% | 0.6404% | 0.7135% | 0.733% | 0.708% | 0.6612% | 0.6826% | 0.6629% | 0.7383% | 0.6107% | 0.5412%
Absolute Sum of kWh Greater Than 2 kWh and 2% | [6 empty] | 17900925.892 | 15622183.676 | 14936361.2 | 12380977.83 | 14609562.602 | 18598675.474 | 15924114.266 | 17104859.994 | 14488437.434 | 12042770.716 | 9585069.514 | 8288240.444 | 8749931.184 | 7157863.639 | 5625571.639 | 5664436.69 | 4998846.036 | 7033891 | 8488511 | 9679291 | 7935283 | 6513722 | 6277768 | 6860569 | 5744832 | 6068941
[20 empty] | 15-day lag | 45-day lag

## Counts_Above_Threshold
ERCOT - Count of AMSR Cycle Reads Above Threshold
| 2014-10-01 | 2015-01-01 | 2015-04-01 | 2015-07-01 | 2015-12-01 | 2016-03-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01
>1000 | 1387 | 827 | 376 | 1132 | 259 | 37 | 369 | 237 | 194 | 107 | 135 | 119 | 150
>500 |  | 2196 | 1440 | 2703 | 573 | 120 | 963 | 570 | 467 | 286 | 560 | 424 | 444
>250 |  | 4381 | 3659 | 5586 | 1187 | 299 | 1910 | 1223 | 921 | 740 | 1490 | 1031 | 987
>2 |  | 32272 | 25909 | 32050 | 44492 | 10326 | 11617 | 9947 | 9832 | 11484 | 15081 | 10420 | 8228
[5 empty] | 15-day lag | 45-day lag

## Analyzed Reads by SO
Analyzed Reads by Service Order
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01
AMSR - All Analyzed Reads | 96160 | 67930 | 71014 | 65780 | 60534 | 57687 | 53576 | 48787 | 48101 | 49264 | 49684 | 59824 | 56063 | 50744 | 39995 | 40262 | 49054 | 61965 | 29654 | 32381 | 26060 | 24413 | 33190 | 36480 | 33841 | 35308 | 32598 | 32741 | 32674 | 23594 | 22594
AMSR - Cycle Read | 58356 | 35789 | 35648 | 37610 | 37409 | 37631 | 32273 | 25746 | 23125 | 25908 | 27656 | 28966 | 32053 | 26158 | 18677 | 21863 | 27281 | 44540 | 14346 | 14687 | 10525 | 10410 | 14894 | 15911 | 11624 | 9946 | 9883 | 11468 | 15081 | 10406 | 8234
AMSR - Move In/Out | 29634 | 25302 | 27857 | 21242 | 17901 | 15792 | 16927 | 17450 | 19442 | 17841 | 17804 | 27232 | 21811 | 21739 | 19376 | 16953 | 19351 | 15943 | 14249 | 15853 | 14319 | 13056 | 16845 | 19147 | 20393 | 22927 | 20235 | 19602 | 16378 | 12630 | 13732
AMSR - Switch | 8170 | 6839 | 7509 | 6928 | 5224 | 4264 | 4376 | 5591 | 5534 | 5515 | 4224 | 3626 | 2199 | 2847 | 1942 | 1446 | 2422 | 1482 | 1059 | 1841 | 1216 | 947 | 1451 | 1422 | 1824 | 2435 | 2480 | 1671 | 1215 | 558 | 628
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01
AMSM - All Analyzed Reads | 23405 | 18904 | 21858 | 22940 | 22215 | 21904 | 20453 | 19185 | 21745 | 21420 | 21149 | 20408 | 17866 | 17336 | 15923 | 17961 | 21968 | 20821 | 18240 | 19179 | 20974 | 18869 | 20575 | 18614 | 14931 | 15937 | 14327 | 17501 | 17936 | 17185 | 19343
AMSM - Cycle Read | 19069 | 15663 | 18231 | 19307 | 18618 | 18995 | 17286 | 16100 | 18094 | 18066 | 17566 | 16875 | 15197 | 15105 | 13868 | 16146 | 19760 | 18821 | 15669 | 16704 | 18629 | 16881 | 17780 | 15668 | 12508 | 13635 | 12490 | 15479 | 16066 | 15399 | 16367
AMSM - Move In/Out | 2885 | 2414 | 2690 | 2599 | 2167 | 2000 | 2280 | 2311 | 2760 | 2427 | 2347 | 2135 | 1707 | 1562 | 1577 | 1427 | 1531 | 1363 | 1474 | 1483 | 1504 | 1321 | 1544 | 1544 | 1448 | 1536 | 1354 | 1542 | 1375 | 1171 | 1736
AMSM - Switch | 1451 | 827 | 937 | 1034 | 1430 | 909 | 887 | 774 | 891 | 927 | 1236 | 1398 | 962 | 669 | 478 | 388 | 677 | 637 | 1097 | 992 | 841 | 667 | 1251 | 1402 | 975 | 766 | 483 | 480 | 495 | 615 | 1240
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01
Unknown - All Analyzed Reads | 731 | 665 | 799 | 750 | 676 | 647 | 669 | 552 | 492 | 429 | 543 | 541 | 565 | 128 | 116 | 97 | 99 | 112 | 86 | 101 | 59 | 61 | 63 | 86 | 91 | 97 | 84 | 118 | 104 | 109 | 114
Unknown - Cycle Read | 352 | 316 | 393 | 374 | 317 | 279 | 254 | 205 | 183 | 169 | 225 | 217 | 156 | 62 | 67 | 45 | 37 | 69 | 38 | 53 | 21 | 24 | 30 | 35 | 50 | 45 | 33 | 52 | 57 | 68 | 57
Unknown - Move In/Out | 374 | 347 | 400 | 367 | 355 | 365 | 412 | 344 | 306 | 257 | 312 | 321 | 408 | 65 | 49 | 52 | 62 | 40 | 46 | 47 | 37 | 37 | 33 | 49 | 41 | 52 | 47 | 65 | 47 | 40 | 57
Unknown - Switch | 5 | 2 | 6 | 9 | 4 | 3 | 3 | 3 | 3 | 3 | 6 | 3 | 1 | 1 | 0 | 0 | 0 | 3 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 4 | 1 | 0 | 1 | 0