## Slide 1
TDSP AMSR Cycle Read Analysis
AMWG Meeting
March 28, 2017

## Slide 2: AMSR Cycle Read Analysis
Scope limited to November 2016 AMSR Cycle Reads where the kWh delta was greater than +/- 500 kWh
  560 ESI IDs identified
  556 ESI IDs root cause determined
  4 ESI IDs still under investigation
TDSPs performed root cause analysis and grouped outliers into buckets
  No new categories identified this reporting period

## Slide 3: Counts by Category

## Slide 4: Timing and Content of Next Report
Limit scope to March 2017 AMSR Cycle Reads where the kWh delta is greater than 500 kWh
ERCOT Pull March data the week of May 15th and provide files to each TDSP, no later than May 19th
TDSP’s perform analysis and provide detailed analysis to ERCOT with groupings into categories, no later than July 7th
ERCOT compiles TDSP analysis for July 20th AMWG meeting