- DRAFT

- Minutes of the Technical Advisory Committee (TAC) Meeting

- ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

- Thursday, January 26, 2017 – 9:30 a.m.

Attendance

Members:

| Adair, Marshall | Residential Consumer |  |
| --- | --- | --- |
| Allen, Thresa | AvanGrid Renewables |  |
| Bailey, Dan | Garland Power and Light |  |
| Barnes, Bill | Reliant Energy Retail Services |  |
| Blakey, Eric | Just Energy Texas |  |
| Boyd, Phillip | City of Lewisville |  |
| Brandt, Adrianne | CPS Energy |  |
| Brewster, Chris | City of Eastland |  |
| Coleman, Diana | OPUC |  |
| Comstock, Read | Direct Energy |  |
| Cunningham, Lance | Denton Municipal Electric |  |
| Dumas, John | LCRA |  |
| Emesih, Valentine | CenterPoint Energy |  |
| English, Barksdale | Austin Energy |  |
| Flowers, BJ | Sharyland Utilities |  |
| Frazier, Amanda | Luminant Generation |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hassan, Mohsin | Discount Power |  |
| Hellinghausen, Bill | EDF Energy Services |  |
| Helton, Bob | GDF Suez |  |
| Lange, Clif | STEC |  |
| Martin, Collin | Oncor |  |
| Meehan, Colin | First Solar |  |
| Messer, Tayaun | Rayburn Country |  |
| Pridgeon, Marcus | CMC Steel Texas |  |
| Ross, Richard | AEP Service Corporation |  |
| Smith, Bill | Air Liquide |  |
| Thurnher, Greg | Shell Energy North America |  |
| Wise, Michael | Golden Spread Electric Cooperative |  |

Guests:

| Abbott, Kristin | PUCT | Via Teleconference |
| --- | --- | --- |
| Anson, Tom | SPPG |  |
| Bell, Wendell | TPPA |  |
| Bern, Alan | Oncor |  |
| Blackburn, Don | Utilligent |  |
| Bryant, Mark | PUCT | Via Teleconference |
| Carpenter, Jeremey | Tenaska Power Services |  |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering |  |
| Crozier, Richard | BPUB |  |
| Downey, Marty | Enchanted Rock/Viridity Energy |  |
| Elliot, Christopher | BA/ML | Via Teleconference |
| Eng, Stanley | PCI |  |
| Gross, Blake | AEPSC |  |
| Henson, Martha | Oncor |  |
| Hurst, Jay | SE Texas | Via Teleconference |
| Jones, Randy | Calpine |  |
| Juricek, Michael | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Kershaw, Raymond | ITC Transco | Via Teleconference |
| Kleckner, Tom | RTO Insider |  |
| Kremling, Barry | GVEC |  |
| Kroskey, Tony | Brazos | Via Teleconference |
| Li, Dapeng | Luminant | Via Teleconference |
| McKeever, Debbie | Oncor | Via Teleconference |
| Monteith, Patrick | SAS | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Nease, Nelson | NHNPC | Via Teleconference |
| Nunan, Gerry | Schneider Engineering |  |
| Owens, Frank | Cross Texas Transmission |  |
| Raj, Priya | ABB | Via Teleconference |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Sams, Bryan | NRG |  |
| Sandidge, Clint | Calpine Solutions |  |
| Schroeder, Eric | Cross Texas Transmission |  |
| Scott, Kathy | CenterPoint Energy |  |
| Shaw, Marka | Exelon |  |
| Siddiqi, Shams | Crescent Power |  |
| Smith, Caitlin | Jewell & Associates |  |
| Thompson, David | PEC |  |
| Trenary, Michelle | Tenaska Power Services |  |
| Trevino, Michelle | Oxy | Via Teleconference |
| Wittmeyer, Bob | DME |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Anderson, Connor |  | Via Teleconference |
| Boren, Ann |  |  |
| Bracy, Phillip |  | Via Teleconference |
| Butterfield, Lindsay |  | Via Teleconference |
| Chen, Jian |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Dovalina, Julio |  | Via Teleconference |
| Hamman, James |  | Via Teleconference |
| Holt, Blake |  | Via Teleconference |
| Gonzalez, Ino |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Landin, Yvette |  | Via Teleconference |
| Lightener, Debbie |  | Via Teleconference |
| Mele, Cheryl |  |  |
| Morehead, Juliana |  | Via Teleconference |
| Papudesi, Spoorthy |  | Via Teleconference |
| Phillips, Cory |  |  |
| Richardson, Jana |  | Via Teleconference |
| Ruane, Mark |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Stice, Clayton |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Warnken, Pete |  | Via Teleconference |
| Williams, Leslie |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |
| Zapanta, Rizaldi |  | Via Teleconference |

- Unless otherwise indicated, all Market Segments were present for a vote.

- Brittney Albracht called the January 26, 2017 TAC meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Albracht directed attention to the displayed Antitrust Admonition, and noted that the Antitrust Guidelines are available for review the ERCOT website.

Election of 2017 TAC Chair and Vice Chair

Ms. Albracht reviewed the leadership election process as codified in the Technical Advisory Committee Procedures.

Amanda Frazier nominated Adrianne Brandt for 2017 TAC Chair.  Ms. Brandt accepted the nomination and was named 2017 TAC Chair by acclamation.

Ms. Frazier nominated Bob Helton for 2017 TAC Vice Chair.  Mr. Helton accepted the nomination and was named 2017 TAC Vice Chair by acclamation.

Approval of TAC Meeting Minutes (see Key Documents)

December 1, 2016

Richard Ross moved to approve the December 1, 2016 TAC meeting minutes as submitted.  Marcus Pridgeon seconded the motion.  The motion carried with one abstention from the Independent Power Marketer (IPM) (EDF Energy Services) Market Segment.

ERCOT Board of Directors (ERCOT Board) Update

Ms. Brandt reviewed the disposition of revision requests considered at the December 13, 2016 ERCOT Board meeting.

Confirmation of 2017 Subcommittee Leadership (see Key Documents)

Mr. Helton moved to confirm the 2017 TAC Subcommittee leadership as submitted.  BJ Flowers seconded the motion.  The motion carried unanimously.

2017 TAC and Subcommittee Goals and Strategic Initiatives (see Key Documents)

Ms. Brandt requested Market Participants review the TAC goals and strategic initiatives, send proposed revisions to Ann Boren, and prepare for discussion and consideration at the next TAC meeting.

Protocol Revision Subcommittee (PRS) Report (see Key Documents)

Martha Henson presented revision requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 794, Relocation of Unregistered DG Reporting Requirements

NPRR805, Clarification for Multi-Month CRR Auction Offers

NPRR806, Clarification for Designation of Capacity or Refund PCRRs

Ms. Frazier moved to recommend approval of NPRR794, NPRR805 and NPRR806 as recommended by PRS in the respective 12/1/16 PRS Reports.  Ms. Flowers seconded the motion.  The motion carried unanimously.

NPRR800, Revisions to Credit Exposure Calculations to Use Electricity Futures Market Prices – URGENT

Ms. Henson noted that NPRR800 had been granted Urgent status.  Ms. Frazier took no issue with the merits of NPRR800, but expressed concern for the costs to both ERCOT and Market Participants to implement it.  Bill Barnes stated that NPRR800 represents two years of work by Market Participants and the Credit Work Group (Credit WG) and opined that it is a novel and unique approach that anticipates credit needs and holds collateral only as long as necessary, and is the best way to understand credit risk with the least cost for implementation.

Ms. Barnes moved to recommend approval of NPRR800 as recommended by PRS in the 1/19/17 PRS Report as amended by the 1/23/17 ERCOT comments.  Mr. Greer seconded the motion.  Eric Goff offered that the forward market vendor may have other data that may be useful to stakeholders.  Market Participants reviewed the Impact Analysis and Business Case, Ms. Frazier having raised concerns for budgetary impacts.  Mr. Barnes noted that the Finance and Audit Committee had been briefed regarding NPRR800, and added that Urgent status allows NPRR800 to be implemented in an existing planned Release in an effort to lower implementation costs.  The motion carried with one objection from the Independent Generator (Luminant) Market Segment.

Revision Request Previously Tabled by TAC (Key Documents)

Commercial Operations Market Guide Revision Request (COPMGRR) 044, Alignment with NPRR794, Relocation of Unregistered DG Reporting Requirements

TAC took no action on this item.

Appeal of Nodal Operating Guide Revision Request (NOGRR) 149, Revision to Definition of Transmission Operator

Tom Anson presented the 1/19/17 SPPG comments and requested TAC continue to table the appeal of NOGRR149 to allow more time for the appellants to work with respondents to the Request for Proposal, noting that the pending appeal has encouraged discussions between Transmission Service Providers (TSPs) and SPPG.  Mr. Anson noted that promising proposals have been received from four entities, but that additional time is required to address complexities and determine if any of the proposals will yield a viable market solution.

Greg Thurnher moved to table the appeal of NOGRR149 until the August 24, 2017 TAC meeting.  Mr. Ross seconded the motion.  Mr. Thurnher suggested that at the August 24, 2017 meeting, TAC vote on the appeal of NOGRR149 or SPPG withdraw the appeal, and requested that SPPG provide monthly updates for each intervening TAC meeting, with an in-person report at the May 25, 2017 TAC meeting.  The motion carried with three abstentions from the Consumer (2) (OPUC, Residential) and IPM (Morgan Stanley) Market Segments.

Reliability and Operations Subcommittee (ROS) Report (see Key Documents)

Alan Bern reviewed recent ROS activities and presented revision requests for TAC consideration.

NOGRR165, Emergency Operations Plans as Required by NERC Reliability Standards

Mr. Goff moved to approve NOGRR165 as recommended by ROS in the 1/12/17 ROS Report.  Mr. Greer seconded the motion.  Mr. Goff requested that ROS give further discussion to the posting of emergency operations plans to the Market Information System (MIS) Secure Area by 2019.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 052, Stability Assessment for Interconnecting Generation

Ms. Frazier moved to table PGRR052.  Mr. Barnes seconded the motion.  The motion carried unanimously.

PGRR053, Addition of Proposed All-Inclusive Generation Resources to the Planning Models

Mr. English expressed concern that Resource definitions are increasingly complex and confusing, and recommended that TAC undertake a holistic effort to clarify the definitions.  Market Participants discussed the definition for “All-Inclusive Generation Resource” and “Non-Modeled Generator.”  Jay Teixeira noted that Non-Modeled Generators are in fact modeled, but do not participate in the market.  Ms. Brandt expressed support for an effort to clarify Resource definitions; Cheryl Mele offered the assistance of ERCOT Staff.  Mr. English suggested that the issue be added to the list of 2017 TAC Goals.

Mr. Thurnher moved to recommend approval of PGRR053 as recommended by ROS in the 1/12/17 ROS Report.  Mr. Ross seconded the motion.  Market Participants discussed the confusion introduced with the term “All-Inclusive” and further reviewed definitions for various Resource types.  In response to questions, ERCOT Staff noted that the desired Resources for inclusion in PGRR053 are Resources that submit a Resource Asset Registration Form (RARF) and are modeled, and that PGRR053 is not needed to meet any particular timeline.  Mr. Thurnher withdrew the motion.

Mr. Greer moved to remand PGRR053 to ROS.  Mr. Cunningham seconded the motion.  Mr. Greer requested ROS discuss replacing the term “All-Inclusive” with language indicating the intended generation forms.  Market Participants expressed concern for the delay of PGRR053 to address a broad and long-standing issue, and that generation definitions, while elements of the discussion would naturally be taken up at ROS, is a larger discussion and of interest to parties across the market.  Mr. Greer withdrew the motion.

Market Participants proposed the removal of “All-Inclusive” from PGRR053 and requested ROS begin the effort to simplify Resource definitions by discussing “All-Inclusive Generation Resource.”

Mr. English moved to recommend approval of PGRR053 as recommended by ROS in the 1/12/17 ROS Report and as revised by TAC.  Mr. Thurnher seconded the motion.  The motion carried unanimously.

Wholesale Market Subcommittee (WMS) Report (see Key Documents)

Jeremy Carpenter reviewed recent WMS activities.

Commercial Operations Subcommittee (COPS) Report (see Key Documents)

Michelle Trenary reviewed recent COPS activities.

Retail Market Subcommittee (RMS) Report (see Key Documents)

Kathy Scott reviewed recent RMS activities.

Other Binding Documents (see Key Documents)

ERCOT Revisions to “Setting the Shadow Price Caps and Power Balance Penalties in Security Constrained Economic Dispatch”

Dave Maggio presented revisions to the Other Binding Document “Setting the Shadow Price Caps and Power Balance Penalties in Security Constrained Economic Dispatch”.

Ms. Frazier moved to approve revisions to “Setting the Shadow Price Caps and Power Balance Penalties in Security Constrained Economic Dispatch” as recommended by ERCOT.  Mr. Thurnher seconded the motion.  The motion carried unanimously.

ERCOT Reports (see Key Documents)

Annual Reliability Unit Commitment (RUC) Reporting Requirement

Dave Maggio, in compliance with Nodal Protocol Section 5.8, Annual RUC Reporting Requirement, reported that in 2015-2016, 1,514 instructed RUC resource-hours resulted in 1,417 effective RUC resource-hours; that the total RUC make-whole amount was ~$1.2M; that payments were fully covered through capacity-short charges; that inconsistencies between settlement treatment and the triggering of the RTRDPA were still observed and will be resolved with the implementation of NPRR744, RUC Trigger for the Reliability Deployment Price Adder and Alignment with RUC Settlement.

Beth Garza opined that there is a wide-spread lack of understanding of requirements before versus after the implementation of NPRR744; Mr. Maggio reviewed the implementation schedule and resulting requirements.  Ms. Brandt requested that WMS review the removal of RUC for capacity.

Forecast Adequacy of the Budgeted System Administration Fee

Sean Taylor reported that the budgeted System Administration Fee is currently forecasted to be adequate through 2019.

Other Business

Market Participants scheduled an Under-Frequency Load Shedding (UFLS) workshop for February 20, 2017 at ERCOT Austin in preparation for the annual survey in May.

Adjournment

Ms. Brandt adjourned the January 26, 2017 TAC meeting at 12:05 p.m.

Unless otherwise noted, Key Documents referenced in these minutes may be accessed on the ERCOT website at http://www.ercot.com/calendar/2017/1/26/107845-TAC.