PROJECT NO. 27706

| REPORTS OF THE ELECTRIC RELIABILITY COUNCIL OF TEXAS | § § | # PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

ERCOT’S 2016 ANNUAL REPORT

ON EMERGENCY RESPONSE SERVICE

Electric Reliability Council of Texas, Inc. (ERCOT) hereby submits this report on the effectiveness and benefits of the Emergency Response Service (ERS) for the 2016 program year.  Public Utility Commission Substantive Rule 25.507(g) requires ERCOT to report its findings to the Commission by April 15 of each calendar year and requires that the report “contain, at a minimum, the number of MW procured in each period, the total dollar amount spent, the number and level of EEA events, and the number and duration of deployments.”  ERCOT’s evaluation of ERS is contained in Attachment A to this report, and the underlying data are included in Attachment B.

Respectfully submitted,

___________________________________

Chad V. Seely

VP and General Counsel

Texas Bar No. 24037466

(512) 225-7035 (Phone)

(512) 225-7079 (Fax)

Chad.Seely@ercot.com

Nathan Bigbee

Assistant General Counsel

Texas Bar No. 24036224

(512) 225-7093 (Phone)

Nathan.Bigbee@ercot.com

Erika Kane

Corporate Counsel

Texas Bar No. 24050850

(512) 225-7010 (Phone)

Erika.Kane@ercot.com

ERCOT

7620 Metro Center Drive

Austin, Texas 78744

ATTORNEYS FOR ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

Attachment A

ERCOT Annual Report Pursuant to P.U.C. Subst. R. 25.507(g)

Regarding Emergency Response Service for the

Program Year February 1, 2016, through January 31, 2017

ERS History

On March 20, 2007, the Commission approved Substantive Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS), requiring ERCOT to develop and administer EILS.  Later that year, the Commission approved amendments to Rule 25.507 that eliminated the 500 MW procurement floor and increased the annual cost cap from $20 million to $50 million.

On March 22, 2012, the Commission adopted an order repealing the rule and replaced it with a new Rule 25.507 that expanded the program to allow participation by generators and removed certain program restrictions.  To reflect the broader participation, the program was renamed “Emergency Response Service” (ERS).

Through the end of the program year covered by this report, the ERCOT Board had approved the following Protocol Revision Requests (PRRs) or Nodal Protocol Revision Requests (NPRRs) related to ERS:

- PRR705	EILS (approved 4/18/07)

- PRR716	Self-Provision of EILS (approved 5/16/07)

- PRR717	EILS Disputes and Resettlements (approved 12/11/07)

- PRR723	Conform 5.6.6.1 EECP (approved 06/19/07)

- PRR725	EILS Formula & Standard Form Correction (approved 09/18/07)

- PRR746	Revisions to EILS Provisions to Conform to Amended P.U.C. Subst. R. 25.507 (approved 12/11/07)

- PRR757	EILS Formula Correction (approved 7/15/08)

- PRR760	EILS Availability Factor Clarification (approved 7/15/08)

- NPRR 107	Nodal EILS (approved 7/15/08)

- PRR 781	EILS Self-Provision Formula Correction and Clarifications (approved 1/20/09)

- PRR 786	Modifications to EILS Settlement (approved 3/17/09)

- NPRR 278	EILS Modifications to Correct Self-Provision Settlement Equations, to Accommodate Advanced Metering Infrastructure, and other Clarifications (approved 11/16/10; effective 2/1/11)

- NPRR 379	EILS Dispatch Sequence and Performance Criteria Upgrades (approved 9/20/11; effective 10/1/11)

- NPRR451	Implementation of New P.U.C. Subst. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS) (approved 4/17/12)

- NPRR475  	EPS Metering Exception for ERS Generation (approved 12/11/2012; effective 1/1/13)

- NPRR501 	Correct ERS Self-Provision Settlement Calculation (approved 12/11/2012; effective 12/12/12)

- NPRR519	Exemption of ERS-Only QSEs from Collateral and Capitalization Requirements (approved 09/17/2013; effective upon system implementation).

- NPRR536  	ERS Time Obligation Certainty (approved 11/19/2013; effective 12/1/2013).

- NPRR564	Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions (approved 11/19/2013; effective 2/1/2014).

- NPRR571	ERS Weather-Sensitive Loads Requirements (approved 12/10/2013; effective 6/1/2014).

- NPRR603	ERS Settlement and Service Types (approved 4/8/2014; effective 5/1/2014)

- NPRR637	Clarification of ERS Language and ERCOT Process for Co-located Resources (approved 10/14/2014; effective 11/1/2014)

- NPRR676	Emergency Response Service (ERS) Offer Disclosure (approved 4/14/2015; effective 7/31/2015)

- NPRR717	Clarification of EPS Metering Exception for ERS Generation (approved 10/13/15; effective 11/1/2015)

- NPRR738	ERS Performance Calculations During TDSP Outages (approved 8/9/2016; effective 10/1/2016)

- NPRR745	Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes (approved 4/19/2016; effective 6/14/2016)

Procurement History and Analysis

Under current Protocols, ERCOT procures ERS three times annually for four-month Standard Contract Terms.  In each Standard Contract Term, ERCOT procures ERS according to two different response times—thirty minutes (“ERS-30”) and ten minutes (“ERS-10”).  For the June 2016 through September 2016 and October 2016 through January 2017 Standard Contract Terms, ERCOT also procured a Weather-Sensitive variety of ERS-30 in addition to the Non-Weather Sensitive varieties of ERS-10 and ERS-30 that are procured in every Standard Contract Term.

This was the third year using the procurement methodology that was implemented ahead of the 2014 program year.  Prior to the 2016 program year, the amount of ERS capacity procured had increased each program year.  The 2016 program year deviated from this trend, however, due in large part to an EPA rule change that became enforceable in May 2016.  This rule change effectively prohibits emergency permitted engines from participating in Emergency Demand Response programs like ERS.  ERCOT estimates that approximately 165 Megawatts (MW) of previously-available ERS capacity offered by Distributed Generation (DG), which typically participated in ERS by reducing site load when deployed, is no longer offering to serve as ERS due to this rule change.  This loss of available ERS capacity, however, has been offset to some degree by an increase in ERS capacity offered by non-DG participants.  In addition, because ERS Generators typically are not emergency permitted engines, those resources were not materially impacted by the EPA rule change.  Indeed, ERS capacity procured from ERS Generators has continued to steadily increase year over year. (See slide 4, Attachment B)

Another significant event that impacted ERS procurement for the 2016 program year was increasing the Time Periods for which ERS is procured from four to six.  The purpose of this change was to separate out the early morning and early evening hours from the lower-risk overnight and weekend hours (previously called “Non-Business Hours,” now Time Period 6).  ERCOT can now better assign risk factors to the typically high load ramp periods for the purpose of sending the appropriate pricing signals during ERS procurement.  After the change to six Time Periods was implemented, the total cost of ERS service decreased due in part to cost reductions associated with ERS procurement for Time Period 6. (See yellow bars in slide 12, Attachment B).  ERS procurement costs have also shifted to the higher-risk Time Periods 1 and 5.  (See purple bars in slide 12, Attachment B).

Attachment B provides detailed results of ERCOT’s procurement of ERS during the 2016 program year, including:

- Descriptions of Standard Contract Terms and Time Periods.

- Capacity procurements by Time Period and by Standard Contract Term, including the number of MW procured and the total number of MW offered.

- Number of procured ERS Resources.

- Number of individual Sites submitted to ERCOT for resource identification.

- Summary of final settlement costs of ERS, adjusted to account for payment reductions due to availability and testing results.

- Detailed tables with capacity procurements by Time Period and by Standard Contract Term for each ERS service type, including clearing price (in dollars per MW per hour).

Review of Effectiveness & Benefits

ERCOT Protocols authorize the deployment of thirty-minute ERS (ERS-30) in Level 1 of an Energy Emergency Alert (EEA) and ten-minute ERS (ERS-10) in Level 2 of an Energy Emergency Alert (EEA).  ERCOT did not declare an EEA during the 2016 program year, so there were no ERS deployment events during this period.

Availability

The effectiveness of Non-Weather Sensitive ERS is ensured to a large degree by incentives that encourage Resources to maintain a minimal level of availability for deployment.  For a QSE’s portfolio of Non-Weather Sensitive ERS Resources, the QSE must achieve a portfolio-level availability factor of at least 95% across committed Time Periods.  Portfolio-level availability factors are calculated after the end of the Standard Contract Term by aggregating availability factors across resources in each QSE’s portfolio; resource-level availability factors are calculated using aggregated site-level interval meter data for each ERS Resource.  Any QSE whose portfolio of Non-Weather Sensitive ERS Resources achieves an aggregate availability factor of less than 95% is subject to payment reductions for any individual ERS Resources that achieve an availability factor of less than 85%.  For Weather Sensitive ERS, a comparable evaluation is not a reasonable indicator of the portfolio’s ability to provide the service, so ERCOT does not conduct an evaluation of availability.

All ERS Resources regardless of service type are subject to periodic load shed tests.  Each Non-Weather Sensitive ERS Resource is subject to at least one annual unannounced Load-shed test, whereas each Weather Sensitive ERS Resource is tested at least once but no more than twice each month during the Standard Contract Term for which it is obligated to provide the service.  ERCOT conducts this testing by issuing a Verbal Dispatch Instruction (VDI) and an XML instruction to each QSE, just as ERCOT would do in an actual EEA event.  Failed test performance may result in payment reductions to the QSE.  For Weather Sensitive ERS, test performance is the sole determinant of payment in the absence of an event deployment.

Through the end of the June through September 2016 Standard Contract Term, payment reductions for the 2016 Program Year due to availability or testing results totaled $810,734.99. As of the time of this report, the final settlement numbers for the October 2016 through January 2017 Standard Contract Term are not yet known.

ERCOT maintains that this combination of performance metrics and payment reduction penalties for non-compliance—which are among the most stringent for any demand response program in North America—provide substantial integrity to the ERS product.

Market Benefits

The Commission has previously recognized that a central purpose of ERS is to enable additional demand response participation in the ERCOT market:

The commission agrees . . . that one of the important values of this program is to establish the role of demand-response in providing reliability services in ERCOT by enlisting numerous customers as providers of demand-response, particularly customers in classes that have not participated in the [Load Resource] program. The commission also finds value in having resources that have not participated in demand response programs being enabled to do so by this program. The commission encourages ERCOT to make an effort to attract such customers to the program.

ERCOT’s experience with ERS in the 2016 program year reflects that ERS is successfully meeting this Commission goal in the following manner:

- Participating Resources.  As noted above, an EPA rule change that became enforceable in May 2016 reduced the number of resources available to offer ERS service by preventing certain resources from participating in demand response programs like ERS.  Despite this, other types of resources have helped fill the gap in order to provide sufficient ERS capacity. This includes continued growth in participation from non-DG participants.  Further, the number of unique sites participating in the ERS Resource ID (ERID) process continues to steadily increase each Standard Contract Term. (See slide 13, Attachment B).

- Offer behavior.  In recent years, the average unit cost per MW of ERS has settled into a steady range of $5.78 to $7.73 per hour.  ERS costs for the 2016 program year fell within this range as well. (See slide 4, Attachment B). After taking into consideration the time period risk factors, the unit cost has declined in each of the last three years. (See slide 14, Attachment B).

PUC Rulemaking Concerning a Demand-Response Program for ERCOT Emergency Conditions, Project No. 33457.

PUC Rulemaking to Amend ERCOT Emergency Interruptible Load Service, Project No. 34706.

Rulemaking to Amend Substantive Rule § 25.507, Relating to Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS), Project No. 39948.

See Protocols § 6.5.9.4.2(2)(a)(ii).

See Protocols § 8.1.3.1.3.1(1)(a).

PUC Rulemaking to Amend ERCOT Emergency Interruptible Load Service, Project No. 34706, Order at. 4-5 (November 8, 2007).