| NPRR Number | 818 | NPRR Title | Allow Curtailment of Certain DC Tie Load Prior to Declaring Emergency Conditions |
| --- | --- | --- | --- |
| Date of Decision |  | March 23, 2017 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Urgent |  |
| Proposed Effective Date |  | April 5, 2017 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.7.7, DC Tie Limits (new) 4.4.4, DC Tie Schedules 6.5.9.3.3, Watch 6.5.9.3.4, Emergency Notice |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | ERCOT Operating Procedure Manual - DC Tie Desk |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) allows ERCOT to curtail certain Direct Current Tie (DC Tie) Load during a Watch prior to declaring an Emergency Condition. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Prevents unnecessary harm to Market Participants (please select all that apply) |  |
| Business Case |  | This NPRR minimizes inefficient wholesale market operations and consequent harm to Market Participants. Power Operations Bulletin (POB) #755 issued on 9/28/16 with an implementation date of 9/30/16 drastically changed ERCOT's operation of the DC Ties with particular impact on exports over the Comision Federal de Electricidad (CFE) DC Ties to Mexico. Prior to POB #755, ERCOT would accept DC Tie Schedule Electronic Tags (e-Tags) up to the physical limit of the corresponding ties and (rarely) only curtail e-Tags close to the Operating Hour if necessary under Emergency Conditions. Post POB #755, ERCOT denies e-Tags based on Resources showing to be On-Line in their Current Operating Plan (COP) submitted just prior to Day-Ahead Reliability Unit Commitment (DRUC) process. Thus, Market Participants wanting to export power have to procure power in the Day-Ahead Market (DAM) without knowing whether the e-Tag will be approved or denied. In turn, they are subjected to a loss and contractual difficulties with their counterparties if the e-Tag is denied. There are many instances where the DAM price was relatively high whereas the Real-Time Market (RTM) price was depressed when e-Tags were denied and DC Tie capacity was under-utilized - an avoidable inefficient outcome for the market and loss for the Market Participant. The reason for such ERCOT action is ERCOT's preference of taking action in advance to avoid the chance of an Emergency Condition and subsequent North American Electric Reliability Corporation (NERC) scrutiny of why ERCOT did not act in advance to avoid the Emergency Condition. By allowing ERCOT to curtail e-Tags in a Watch prior to an Emergency Condition, ERCOT can revert back to it's pre-POB #755 operating procedure of approving e-Tags up to the physical limits of the DC Ties. E-Tag approval can again be done prior to DAM - allowing Market Participants to correspondingly procure energy in DAM and have the added certainty in its contractual obligations. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR818 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 2/9/17, PRS voted via roll call vote to grant NPRR818 Urgent status. There were five opposing votes from the Cooperative (3), Consumer, and Investor Owned Utility (IOU) Market Segments. PRS then unanimously voted to table NPRR818 and refer the issue to ROS and WMS. All Market Segments were present for both votes. On 3/9/17, PRS voted to recommend approval of NPRR818 as amended by the 2/24/17 REMC comments; and to forward to TAC. There were two opposing votes from the Independent Generator Market Segment and three abstentions from the Independent Retail Electric Provider (IREP) (2) and Independent Generator Market Segments. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 2/9/17, the sponsor provided a presentation on the merits of NPRR818 and the need for Urgent status. Participants requested tabling of NPRR818 to allow for additional discussions internally as well as at ROS and WMS. On 3/9/17, participants reviewed the history of DC Tie activities pre- and post- POB #755. Supporters of the 2/24/17 REMC comments expressed their desire to return to the “pre-POB 755” behavior with respect to e-Tags as soon as possible. Other participants expressed concern with curtailing DC Tie Load prior to other voluntary Load shed, stating DC Tie curtailment should only occur under Emergency Conditions. |  |
| TAC Decision |  | On 3/23/17, TAC voted to recommend approval of NPRR818 as recommended by PRS in the 3/9/17 PRS Report with a recommended effective date of April 5, 2017. There were five abstentions from the Independent Generator (2) and IREP (3) Market Segments. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 3/23/17, participants expressed concern with the use of, and lack of a formal process for advanced notice of, POBs in situations that might have market-facing impacts, including Settlements, and encouraged the use of NPRRs to clarify any ambiguities in the Protocols to ensure maximum transparency with the potentially impacted Market Participants. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR818 as it achieves stakeholder desires for increased export potential on the DC Ties by clarifying the use of Reliability Unit Commitment (RUC) to support higher export limits and avoiding the need for ERCOT to declare an Emergency Condition in order to cut the exports that were approved at the higher limits using existing analyses. |  |

| Sponsor |  |
| --- | --- |
| Name | Shams Siddiqi |
| E-mail Address | shams@crescentpower.net |
| Company | Rainbow Energy Marketing Corporation (REMC) |
| Phone Number | 512-619-3532 |
| Cell Number | 512-619-3532 |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Tenaska 020617 | Proposed limiting the changes to only CFE DC Ties |
| Calpine 020717 | Expressed support for NPRR818 |
| REMC 020717 | Proposed additional edits on top of the 2/6/17 Tenaska comments to clarify the conditions under which CFE DC Tie Load would be curtailed |
| ERCOT 020817 | Provided ERCOT’s opinion on NPRR818 and proposed clarifying edits on top of the 2/7/17 REMC comments |
| REMC 022417 | Proposed additional edits on top of the 2/8/17 ERCOT comments, limiting curtailment of the DC Tie Load with Mexico to Emergency Conditions |
| WMS 030217 | Endorsed NPRR818 as amended by the 2/24/17 REMC comments |
| ROS 030617 | Endorsed NPRR818 as amended by the 2/24/17 REMC comments |
| Luminant 030817 | Proposed edits to restrict curtailment of any DC Tie Load to Emergency Conditions, rather than Watches |

Market Rules Notes

None

Proposed Protocol Language Revision

- 3.10.7.7    DC Tie Limits

- (1) 	ERCOT shall post DC Tie limits for each hour of the Operating Day to the MIS Secure Area no later than 0600 in the Day-Ahead before the Operating Day.  ERCOT may update these limits as system conditions change.

- (2)	DC Tie limits shall be based on expected system conditions, including Outages, for each hour of the Operating Day and shall be calculated as the lower of the physical capacity of the DC Tie, the amount of DC Tie import and export that could flow without resulting in transmission security violations that would not be resolved by SCED, or, for the DC Ties with Mexico, any limits supplied by the Mexican system operator.  In setting these limits for a given hour, ERCOT shall assume that any Generation Resource shown to be available in its COP will be self-committed or committed at the appropriate time through the Reliability Unit Commitment (RUC) process to resolve any transmission constraints resulting from DC Tie Schedules.  DC Tie Schedules are subject to the actual availability of that generation at the time the Generation Resource is needed, as well as other system conditions.

- 4.4.4	DC Tie Schedules

(1)	All schedules between the ERCOT Control Area and a non-ERCOT Control Area(s) over Direct Current Tie(s) (DC Ties(s)), must be implemented under these Protocols, any applicable North American Electric Reliability Corporation (NERC) Reliability Standards, North American Energy Standards Board (NAESB) Practice Standards, and operating agreements between ERCOT and the Comision Federal de Electricidad (CFE).

(2)	A DC Tie Schedule for hours in the Operating Day corresponding to an Electronic Tag (e-Tag) that is reported to ERCOT before 1430 in the Day-Ahead creates a capacity supply for the equivalent Resource or an obligation for the equivalent Load of the DC Tie in the DRUC process.  DC Tie Schedules corresponding to e-Tags approved after 1430 in the Day-Ahead for the Operating Day create a capacity supply or obligation in any applicable HRUC processes.  DC Tie Schedules corresponding to e-Tags approved after the Reliability Unit Commitment (RUC) snapshot are considered in the Adjustment Period snapshot in accordance with the market timeline.

(3)	A QSE that is an importer into ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Resource at that DC Tie Settlement Point for that Settlement Interval.

(4)	A QSE that is an exporter from ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Load at the DC Tie Settlement Point for that Settlement Interval and is responsible for allocated Transmission Losses, Unaccounted for Energy (UFE), System Administration Fee, and any other applicable ERCOT fees.  This applies to all exports across the DC Ties except those that qualify for the Oklaunion Exemption.

- (5)	ERCOT shall approve any e-Tag that does not exceed the currently posted DC Tie limit for the time period for which the e-Tag is requested.

(6)	ERCOT shall perform schedule confirmation with the applicable non-ERCOT Control Area(s) and shall coordinate the approval process for the e-Tags for the ERCOT Control Area.  An e-Tag for a schedule across a DC Tie is considered approved if:

(a)	All Control Areas and Transmission Service Providers (TSPs) with approval rights approve the e-Tag (active approval); or

(b)	No Entity with approval rights over the e-Tag has denied it, and the approval time window has ended (passive approval).

(7)	Using the DC Tie Schedule information corresponding to e-Tags submitted by QSEs, ERCOT shall update and maintain a Current Operating Plan (COP) for each DC Tie for which the aggregated DC Tie Schedules for that tie show a net export out of ERCOT for the applicable interval.  When the net energy schedule for a DC Tie indicates an export, ERCOT shall treat the DC Tie as an Off-Line Resource and set the High Sustained Limit (HSL) and Low Sustained Limit (LSL) for that DC Tie Resource to zero.  ERCOT shall monitor the associated Resource Status telemetry during the Operating Period.  When the net energy schedule for a DC Tie shows a net import, the Resource HSL, High Ancillary Service Limit (HASL) and LSL must be set appropriately, considering the resulting net import.

(8)	A QSE exporting from ERCOT and/or importing to ERCOT through a DC Tie shall:

(a)	Secure and maintain an e-Tag service to submit e-Tags and monitor e-Tag status according to NERC requirements;

(b)	Submit e-Tags for all proposed transactions; and

(c)	Implement backup procedures in case of e-Tag service failure.

(9)	ERCOT shall post a notice to the MIS Certified Area when a confirmed e-Tag is downloaded, cancelled, or curtailed by ERCOT’s systems.

(10)	ERCOT shall use the DC Tie e-Tag MW amounts for Settlement.  The DC Tie operator shall communicate deratings of the DC Ties to ERCOT and other affected regions and all parties shall agree to any adjusted or curtailed e-Tag amounts.

(11)	DC Tie Load is considered as Load for daily and hourly reliability studies, and settled as Adjusted Metered Load (AML).  DC Tie Load is curtailed prior to other Load on the ERCOT System due to transmission constraints as set forth in Sections 6.5.9.3.3, Watch, and 6.5.9.3.4, Emergency Notice, and during Energy Emergency Alert (EEA) events as set forth in Section 6.5.9.4.2, EEA Levels.

(12)	DC Tie Load shall neither be curtailed during the Adjustment Period, nor for more than one hour at a time, except for the purpose of maintaining reliability.

- 6.5.9.3.3	Watch

(1)	A Watch is the third of four levels of communication issued by ERCOT in anticipation of a possible Emergency Condition.

(2)	ERCOT shall issue a Watch when ERCOT determines that:

(a)	Conditions have developed such that additional Ancillary Services are needed in the current Operating Period;

(b)	There are insufficient Ancillary Services or Energy Offers in the DAM;

(c)	Market-based congestion management techniques embedded in SCED as specified in these Protocols will not be adequate to resolve transmission security violations;

(d)	Forced Outages or other abnormal operating conditions have occurred, or may occur that require operations with active violations of security criteria as defined in the Operating Guides unless a CMP exists;

(e)	ERCOT varies from timing requirements or omits one or more Day-Ahead or Adjustment Period and Real-Time procedures;

(f)	ERCOT varies from timing requirements or omits one or more scheduling procedures in the Real-Time process; or

(g)	The SCED process fails to reach a solution, whether or not ERCOT is using one of the measures specified in paragraph (3) of Section 6.5.9.2, Failure of the SCED Process.

(3)	With the issuance of a Watch pursuant to paragraph (2)(a) above, ERCOT may exercise its authority to immediately procure the following services from existing offers:

(a)	Regulation Services;

(b)	RRS services; and

(c)	Non-Spin services.

(4)	If ERCOT issues a Watch because insufficient Ancillary Service Offers were received in the DAM or Supplemental Ancillary Service Market (SASM), and if the Watch does not result in sufficient offers and the DAM or SASM is executed with insufficient offers, then ERCOT may acquire the insufficient amount of Ancillary Services as follows:

(a)	The SASM process shall be conducted in accordance with Section 6.4.9.2.2, SASM Clearing Process.  If the SASM process is not sufficient, then;

(b)	The HRUC process shall be conducted to commit planned Off-Line Resources qualified to provide the Ancillary Service(s) that are insufficient in accordance with Section 5.2.2.2, RUC Process Timeline After an Aborted Day-Ahead Market.  If the HRUC process is not sufficient, then;

(c)	If the insufficiency arose due to insufficient Ancillary Service Offers received in the DAM or ERCOT needs to increase the Ancillary Service requirements after DAM clearing, ERCOT may assign the insufficient amounts of Ancillary Service(s) to QSEs with planned On-Line Resources qualified to provide the insufficient Ancillary Service(s), even if there are no existing Ancillary Service Offers for those QSEs’ Resources.  ERCOT shall prorate the required Ancillary Service capacity among QSEs representing On-Line capacity not already reserved for Ancillary Services in the COP in a way that maximizes the distribution of the assignment.

(d)	A QSE may request cancellation of the assignment of Ancillary Services to its On-Line Resources if there are equipment or Resource control issues which limit the ability of the Resources to provide the Ancillary Services.  If ERCOT accepts the cancellation, ERCOT may require QSEs to submit supporting information describing the Resource control issues.

(5)	If ERCOT issues a Watch because market-based congestion management techniques embedded in SCED as specified in these Protocols will not be adequate to resolve one or more transmission security violations and, in ERCOT’s judgment, no approved CMP is adequate to resolve those violations, ERCOT may instruct Resources to change output and, if still necessary, curtail DC Tie Load on any DC Tie other than the North and East DC Ties to return the ERCOT System to a reliable condition.

(6)	ERCOT shall post the Watch message electronically to the MIS Public Area and shall provide verbal notice to all TSPs and QSEs via the Hotline.  Corrective actions identified by ERCOT must be communicated through Dispatch Instructions to all TSPs, DSPs and QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of the Watch.  To minimize the effects on the ERCOT System, each TSP or DSP shall identify and prepare to implement actions, including restoration of transmission lines as appropriate and preparing for Load shedding.  ERCOT may instruct TSPs or DSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notice of a Watch, each QSE, TSP, and DSP shall prepare for an Emergency Condition in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding the Resources’ fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven days from the date of the request.  The specific information that may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

- 6.5.9.3.4	Emergency Notice

(1)	Emergency Notice is the fourth of four levels of communication issued by ERCOT when operating in an Emergency Condition.

(2)	ERCOT shall issue an Emergency Notice for one or both of the following reasons:

(a)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market; or

(b)	Immediate action cannot be taken to avoid or relieve a Transmission Element operating above its Emergency Rating.

(3)	The actions ERCOT takes during an Emergency Condition depend on the nature and severity of the situation.

(4)	ERCOT is considered to be in an Emergency Condition whenever ERCOT Transmission Grid status is such that a violation of security criteria, as defined in the Operating Guides, presents the threat of uncontrolled separation or cascading Outages and/or large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of a Transmission Element, and no timely solution is obtainable through SCED or CMPs.

(5)	If the Emergency Condition is the result of a transmission problem, ERCOT shall act immediately to return the ERCOT System to a reliable condition, including instructing Resources to change output, curtailing DC Tie Load, and instructing TSPs or DSPs to drop Load.

(6)	If the Emergency Condition is the result of an Ancillary Service insufficiency, then ERCOT shall follow the EEA procedures.