DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 2, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers Brasher, Jennifer | E.ON |  |
| Bailey, Robert | Reliant Energy |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Galliguez, Percy | Brazos | Alt. Rep. for T. Kroskey |
| Goff, Eric | Citigroup |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant Generation |  |
| Helton, Bob | Dynegy | Alt. for H. Holloway; Via Teleconference |
| Koellner, Kris | LCRA |  |
| Koenig, Chris | Golden Spread |  |
| Kunkel, Dennis | AEP |  |
| Lee, Billy | Garland Power & Light | Via Teleconference |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Sandidge, Clint | Calpine Energy Solutions |  |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

Cyrus Reed to David DeTullio

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bowen, Ken | CPS Energy | Via Teleconference |
| Briscoe, Judy | BP Energy Company | Via Teleconference |
| Checkley, Jim | CTT |  |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| Davis, Anna | Schneider Engineering | Via Teleconference |
| Dietert, Cole | LCRA |  |
| Downey, Marty | Viridity Energy | Via Teleconference |
| Dumas, John | LCRA |  |
| English, Barksdale | Austin Energy |  |
| Foos, Richard | Calpine | Via Teleconference |
| Giffin, Blair | Lonestar |  |
| Gross, Blake | AEP |  |
| Henson, Martha | Oncor |  |
| Hughes, Darren | LCRA | Via Teleconference |
| Jablonski, Ward | Brazos | Via Teleconference |
| Jones, Randy | Calpine |  |
| Kee, David | CPS Energy | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Robert | Oncor | Via Teleconference |
| Lange, Clif | STEC | Via Teleconference |
| Loth, Justin | Oncor | Via Teleconference |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Markham, Craig | C Power | Via Teleconference |
| Matos, Christopher | PUCT | Via Teleconference |
| Moeller, Jason | LCRA | Via Teleconference |
| Morris, Sandy | Direct Energy | Via Teleconference |
| Mortensen, Mark | Rainbow Energy | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Peters, Patrick | CenterPoint |  |
| Ponce, Matt | Oncor | Via Teleconference |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Siddiqi, Shams | Crescent Power |  |
| Slagel, Ron | MICS | Via Teleconference |
| Solis, John | AEP | Via Teleconference |
| Spence, Daniel | Denton Municipal Electric | Via Teleconference |
| Thomas, Julie | Vistra Energy | Via Teleconference |
| Thompson, David | Pedernales |  |
| Totten, Jess | Stratus Energy |  |
| Turner, Daniel | Lonestar |  |
| Turner, Lucas | STEC | Via Teleconference |
| Urquidez, Omar | CenterPoint | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| White, Lauri | AEP |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butterfield, Lindsay |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Hartmann, Jimmy |  | Via Teleconference |
| Khan, Muhammad |  | Via Teleconference |
| Krein, Steve |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lasher, Warren |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Mago, Nitika |  |  |
| Morehead, Juliana |  | Via Teleconference |
| Phillips, Cory |  |  |
| Rajagopalan, Sidharth |  |  |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

- 2017 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes

February 2, 2017

David DeTullio moved to approve the February 2, 2017 ROS meeting minutes as submitted.  Brad Schwarz seconded the motion.  The motion carried unanimously.

2017 Working Group/Task Force Leadership

Brenda Hampton moved to confirm the 2017 leadership for the Black Start Working Group (BSWG), Dynamics Working Group (DWG), Operations Training Working Group (OTWG), and Outage Coordination Working Group (OCWG) as submitted.  Mr. Schwarz seconded the motion.  The motion carried unanimously.

2017 ROS Goals

Mr. Bern reviewed the 2017 ROS Goals.

Mr. DeTullio moved to approve the 2017 ROS Goals as submitted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago presented the January 2017 Operations Report.

System Planning Report

Jeff Billo presented the January 2017 System Planning Report.

Black Start Study Report

Sidharth Rajagopalan presented the Black Start Study Report.  Market Participants briefly discussed the metrics and results of the study.  Dan Woodfin stated that the goal of this study is to demonstrate that there are additional units available that may be able to restore the system more efficiently if they were Black Start capable.  Market Participants acknowledged that the new optimal Black Start capability tool is a step in the right direction, but stated that they would prefer to see the tool tested on a shorter cycle prior to being used for a five year procurement.

New Protocol Revision Subcommittee (PRS) Referrals to ROS

Nodal Protocol Revision Request (NPRR) 814, Modify Black Start Procurement Cycle

BSWG Chair John Solis reviewed BSWG discussion of the five year procurement cycle, adding that some stakeholders expressed concern that an August bid deadline does not allow enough time for generators to meet testing requirements.  Mr. Solis also noted concerns from some stakeholders for financial pressures on some units that may result from a five year procurement cycle, adding that some discussion was given to non-standard contract periods.  Mr. Woodfin stated that the proposed term increase was intended as an incentive for Market Participants to invest in adding Black Start capability to units.  Market Participants agreed that elements of the discussion are appropriately held with market-focused groups and requested a joint meeting between the BSWG and the Qualified Scheduling Entity Managers Working Group (QMWG).

Clayton Greer moved to request PRS continue to table NPRR814 for further review by BSWG.  Ms. Hampton seconded the motion.  The motion carried unanimously.

NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service

Market Participants discussed the removal of the 50 percent limitation on Load Resources providing RRS and requested a joint meeting between the DWG and the Performance, Disturbance, Compliance Working Group (PDCWG) to review NPRR815 and the associated dynamic studies referenced in the 2/24/17 ERCOT comments.

Mr. Greer moved to request PRS to table NPRR815 for one month for further review by the DWG and PDCWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

NPRR818, Allow Curtailment of DC Tie Load Prior to Declaring Emergency Condition

Market Participants reviewed the 2/24/17 Rainbow Energy Marketing Company (REMC) comments to NPRR818.  Mr. Kunkel requested clarification regarding priority of Planned Outages versus Direct Current Tie (DC Tie) transactions during a Watch.  Mr. Woodfin stated that ERCOT would include any ongoing Planned or Forced Outages in the calculation of the DC Tie limits, and added that for DC Ties subject to a Watch, if a scenario was presented in which ERCOT was unable to support the Load or export with a Planned Outage in place, the export would be cut prior to requesting restoration of a Planned Outage, with the exception of the North and East DC Ties.

Eric Goff moved to endorse NPRR818 as amended by the 2/27/17 REMC comments, and requested ROS continue to review and address the subject of curtailment during a Watch.  Mr. Greer seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS

There were no previously referred NPRRs awaiting ROS action.

Revision Requests Tabled at ROS

Nodal Operating Guide Revision Request (NOGRR) 166, Daily Grid Operations Summary Reports

Market Participants reviewed the 3/2/17 Wholesale Market Subcommittee (WMS) comments to NOGRR166.  Market Data Working Group (MDWG) Chair Julie Thomas opined that a more user-friendly, aggregate data source as outlined in previous versions of NOGRR166 could be a valuable tool for Market Participants.  Others argued that ERCOT currently provides data in such a way that Market Participants are able to utilize the information however it is most useful to them, and that an aggregate report containing specific information would benefit only a limited portion of the market.

Mr. Greer moved to recommend approval of NOGRR166 as amended by the 3/1/17 WMS comments.  Mr. Goff seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Matt Ponce reviewed recent OWG activity.

NOGRR167, Alignment with NPRR776, Voltage Set Point Communication

Ms. Hampton moved to recommend approval of NOGRR167 as recommended by OWG in the 2/15/17 OWG Report.  Mr. Greer seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Ken Bowen reviewed recent PLWG activity.

Planning Guide Revision Request (PGRR) 055, Planning Guide Revision Request Process

Wes Woitt moved to recommend approval of PGRR055 as recommended by PLWG in the 2/22/17 PLWG Report.  Trieu Vo seconded the motion.  The motion carried unanimously.

DWG (see Key Documents)

Cole Dietert reviewed recent DWG activity.

DWG Procedure Manual Updates

Mr. Dietert provided an overview of the updates to the DWG Procedure Manual.

Mr. Woitt moved to approve the DWG Procedure Manual as amended by DWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Dynamic Model Task Force

Mr. Dietert reviewed the proposed scope for the Dynamic Model Task Force.

Mr. Woitt moved to approve the formation of the Dynamic Model Task Force.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity.

Steady State Working Group (SSWG) (see Key Documents)

Justin Loth reviewed recent SSWG activity.

OCWG (see Key Documents)

Martha Henson reviewed recent OCWG activity.

Methodology to Develop the High Impact Transmission Elements (HITEs) List

Mr. Woitt moved to approve the Methodology to Develop the HITEs List as revised by ROS.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

BSWG

Mr. Solis reviewed recent BSWG activity.

Other Business

Review of Open Action Items

There were no changes made to the Open Action Items List.

No Report

- OTWG

- Network Data Support Working Group (NDSWG)

- Resource Data Working Group (RDWG)

- System Protection Working Group (SPWG)

Adjournment

Mr. Bern adjourned the March 2, 2017 ROS meeting at 12:06 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/3/2/108706-ROS