## Slide 1
Virtual Weather Zones Overview
Nikki McKenna
Load Forecasting & Analysis
WMS/ROS
April 5&6, 2017

## Slide 2: Outline of Today’s Presentation
History
Next Steps
Questions

## Slide 3
History
from COPS update to RMS 9/1/2015

## Slide 4: Valley Load Forecast Options
ERCOT staff determined a need for independent modeling of the Valley to facilitate more accurate load forecasting and address operational needs.
A supplemental Valley load forecast was created to meet immediate operational needs, e.g. Outage analysis.
For transparency, ERCOT staff is looking at providing the supplemental Valley load forecast data to Market Participants. The initial thought was to add a new Valley Weather Zone, because load forecasts are created by Weather Zone, however there is an alternative.

## Slide 5: Valley Load Forecast Options
Option1: Create new Valley Weather Zone
Impacts:
Processes and System modifications
  ERCOT, TDSPs, and CRs
  ERCOT Systems: LFC, STNET, CIM Importer, State Estimator, Short Term Load Forecast, Mid Term Load Forecast
  Retail Operations
  Settlements
Workforce Management
  814 Transactions to update customer information
    Depending on volume, will need to be in phases

## Slide 6: Valley Load Forecast Options
Option 2: Carve out Valley area for modeling and load forecasting purposes only (Virtual Weather Zone)
If no interest by Market Participants, ERCOT will not provide Valley load forecast data
  Impacts: None
If Market Participants want the Valley forecast, ERCOT will develop a mechanism to provide the load forecast data to the Market in a report/extract
  Impacts ERCOT and CRs, but to a much lesser degree
  An NPRR may not be required
Will work for future areas as well
Option 2 was supported at RMS and PWG

## Slide 7
Next Steps

## Slide 8: Next Steps
Which option is preferred?
Do Market Participants want to receive the Valley load forecast?

## Slide 9
Possible Options

## Slide 10: Fundamentals
There will be no changes to the existing forecasted and actual load values for our 8 weather zones
  The South forecasted load values will not be reduced by the Valley forecasted load values (same is true for the actual load values)
  Reason: This minimizes any changes to processes that Market Participants are currently using to consume this data
  If you’re interested in the South forecast or actual load not including the Valley, you have the data to perform the calculation
  This process would be used for any future “virtual weather zones”

## Slide 11: Possible solutions – Option 1
Add the Valley forecasted load values to the existing MTLF reports
  Seven-Day Load Forecast by Weather zone http://www.ercot.com/gridinfo/load
Add the Valley actual load values to the existing Weather Zone load reports
  Actual Loads of Weather Zones Display http://www.ercot.com/gridinfo/load

## Slide 12: Possible solutions – Option 2
Provide the Valley forecasted load values and actual load values in a new report
Are there other options to consider?

## Slide 13: Questions?