## Slide 1
Operations Training Working Group
Meeting Notes
Mark Spinner
Chairman
3/27/2017

## Slide 2: Black Start Training Completed
Black Start Report to be completed by the end of April.
There were simulator issues that were challenging to identify and require significant code changes to fix.
Most operators (>90% of respondents) liked the new format and the new emphasis.
Proposed an extra day of training.
A distinct pattern developed during the restoration.

## Slide 3: Restoration Framework
5
4
1
3
0
2
Restore Load
Start Black Start Unit
Finish
Start
Build Cranking Path
AGC/LFC
Isochronous
CFC
(Single TOP)
CFC
(Multi TOP)
Market Restoration
Partial Blackout
Start Next Start Unit
Build Corridor
Reach Synch Point
Start Black Start Unit
Build Cranking Path
Start Next Start Unit
Build Corridor
Reach Synch Point
Restore Load
Complete Blackout
Uncharted Territory

## Slide 4
Isochronous
AGC/LFC
Market Restoration
5
4
1
3
0
2
Blackout
Voltage Control
Frequency Control
Contingencies
Etc.
Dynamic/
Static
Dynamic/
Static
Dynamic/
Static
Dynamic
AVR
Dynamic/
Static
SCED
N-1: SCED
-
LFC
CFC
CFC
Generator
Isochronous
Load/Generation
Balance
MSSC/IROL
MSSC
Manual Calc.
N-1
Manual Calc.
N-1
Manual Calc.
-
-
-
-
-
-
CFC
(Single TOP)
CFC
(Multi TOP)

## Slide 5
3
1
3
2
Isochronous
CFC
(Single TOP)
CFC
(Multi TOP)
CFC
(Multi TOP)

## Slide 6
Area 1
Area 2
Area 4
Area 3
Heavy Power Flow

## Slide 7: 2017 Operator Training Seminar
Delivery Schedule
  Pilot January 17-19, 2017
  Session1 March 28-30, 2017
  Session2 April 4-6, 2017
  Session3 April 11-13, 2017
  Session4 April 18-20, 2017
  Session5 April 25-27
  Session6 May 2-4, 2017

## Slide 8: Virtual Instructor Led Training (Pilot)
The course will be offered twice in fall next year.
No costs to participate
Will be available to select group for pilot
OTWG will determine topic next meeting

## Slide 9: Winter Storm Drill
Winter Storm Drill Oct 18 – 19, 2017
  Initial Narrative
    Freezing temperatures and icing in West
      Natural Gas Well Heads icing
      Natural Gas Pipeline pressure issues
      Natural Gas Restrictions
    High winds and icing in Panhandle
      High Output from wind
      Large number of wind units tripping
    High winds and icing throughout the ERCOT region
      Line trips due to icing and high winds
      Unit trips due to low temperatures

## Slide 10: Winter Storm Drill
Winter Storm Drill Oct 18 – 19, 2017
  Goal
    Transmission events
    Localized blackout and restoration (West only)
    Capacity Emergency
  Event Input Due June 15, 2017
    Event Input Sheet

## Slide 11: Grid Ex IV
Grid Ex IV Nov 15 – 16, 2017
  Registration
    Send your organization’s Lead Planner name and email address to GridEx_Registration@bah.com
    Once vetted, Lead Planner will receive credentials for the Grid Ex IV Portal
  Will use the Winter Storm Drill events (lite)
  Specific Grid Ex IV events due June 15, 2017
  October all events fully implemented in simulator

## Slide 12: Sync and Beyond
Initial Restoration Outage(s) and Island Scenario Input from Participants due
When to transition to CFC
Operating Principles for Multi-TOP CFC island
All Hazards Restoration Stages Framework
Date TBD (Mid-August – Mid-October)

## Slide 13: 2018 OTS
Theme / Topic Suggestions April meeting
Theme / Topic voted
Input during the meeting
  Black Start Generator Control
  Line Voltage Control

## Slide 14: New Business
Training Building
  Black Start Training
  Operator Training Seminar (OTS)
  Winter Storm/Hurricane/Grid Ex Drills
  Coordinated Training with Market Participants
Combining OTS and Black Start Training

## Slide 15: Next Meeting
April 20th (Web Ex)