## Slide 1
4CP Calculation
COPS
April 12, 2017

## Slide 2: 4CP
Existing Section 9.17.1 (3) language
Settlement Interval coincidental MW peak is defined as the highest monthly 15-minute MW peak for the entire ERCOT Transmission Grid as captured by the ERCOT Settlement system, excluding Block Load Transfer (BLT) of Load to the ERCOT Control Area that are not reflected in a Non-Opt-In Entity’s (NOIE’s) 4-CP calculation, Direct Current Tie (DC Tie) exports, and Wholesale Storage Load (WSL).

## Slide 3: 4CP
A potential option that would capture actual DC Tie flows would be a calculation consistent with that used in the Demand & Energy (D&E) Report. The D&E Report calculation aligns MWh volumes with the NERC NEL (Net Energy for Load methodology.
Net Energy for Load =
+ All-Inclusive Generation Resources production
+ Block Load Transfer imports
- Block Load Transfer exports
+/- Actual metered net DC Tie flows (+ imports; - exports)
- Wholesale Storage Load
A draft NPRR will be published shortly.

## Slide 4: 4CP

## Slide 5: 4CP
Questions