## Slide 1
Emergency Operations Plans: Lessons Learned
Chad Thompson
Manager, Operations Support
Operations Working Group Meeting
April 20, 2017

## Slide 2: Background
EOP-011
  R1: TOP shall have an RC-reviewed plan
  R2: BA shall have an RC-reviewed plan
  R3: RC shall review the TOP & BA plans
  R4: TOP and BA address RC review issues

## Slide 3: Background
EOP-011 R3
3.1.1 Review each submitted plan on the basis of compatibility and inter-dependency with other plans
3.2.1 Review each submitted plan for coordination to avoid risk to Wide Area reliability
3.1.3 Notify TOP of results of review, specifying time frame for review if revisions are needed

## Slide 4: Background
NOGRR165
  Each TO sends its plans to ERCOT prior to 2/15
  ERCOT reviews and sends comments within 30 calendar days
  ERCOT and TOs review and update plans as necessary to ensure there are no reliability risks
  Section 8, Attachment L provides a template format for the plans

## Slide 5: Background
Market Notice W-C020317-01 issued on February 3, 2017
10 of 21 plans submitted within 2 calendar days of the February 15 deadline
ERCOT responses began going out on March 2; last ones sent on March 13

## Slide 6: Lessons Learned: Coordination
Contact information not being provided [R 1.1, 1.2]
Recognition of GTLs and IROLs in the TOP area [R 1.2.1]
Notification and Coordination of transmission outage restoration with ERCOT and neighbors [R 1.1, 1.2.2]
Outage Scheduler maintenance [R 1.1, 1.2.2]
Mitigation activities for severe weather events [R 1.2.6]

## Slide 7: Lessons Learned: Monitoring Flows and Limits
Identification of actions taken to monitor and report to ERCOT when flows exceed limits [R 1.2.1]
GTL and IROL monitoring and reporting [R 1.2.1]

## Slide 8: Lessons Learned: Load Shed Plans
UVLS & UFLS circuits not identified
Plans to minimize UVLS & UFLS circuits within manual load shed plans
Critical loads that are not operator-controlled
Coordination of load shed & restoration with ERCOT
[R 1.2.5]

## Slide 9: Lessons Learned: Format
Mix of brief and detailed plans submitted
References to internal TOP procedures
Follow Section 8 Attachment L guidelines