DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, April 6, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers Brasher, Jennifer | E.ON |  |
| Bailey, Robert | Reliant Energy |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC | Via Teleconference |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Goff, Eric | Citigroup |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant Generation |  |
| Helton, Bob | Dynegy | Alt. Rep. for H. Holloway |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEP |  |
| Lee, Billy | Garland Power & Light | Via Teleconference |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Wilson, Joe Dan | Golden Spread | Alt. Rep. for T. Burke |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

David DeTullio to Cyrus Reed

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bowen, Ken | CPS Energy | Via Teleconference |
| Brandt, Adrianne | CPS Energy | Via Teleconference |
| Burke, Tom | Golden Spread | Via Teleconference |
| Checkley, Jim | CTT |  |
| Chhajed, Pushkar | LCRA | Via Teleconference |
| Davis, Anna | Schneider Engineering | Via Teleconference |
| Dietert, Cole | LCRA | Via Teleconference |
| Downey, Marty | Enchanted Rock |  |
| English, Barksdale | Austin Energy |  |
| Galliguez, Percy | Brazos | Via Teleconference |
| Gross, Blake | AEP |  |
| Henson, Martha | Oncor |  |
| Henry, Mark | Texas RE | Via Teleconference |
| Indalecio, Samantha | AEP | Via Teleconference |
| Inamdar, Kapil | Exelon | Via Teleconference |
| Jablonski, Ward | Brazos | Via Teleconference |
| Jones, Randy | Calpine |  |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lange, Clif | STEC | Via Teleconference |
| Loth, Justin | Oncor |  |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Matos, Christopher | PUCT | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Palen, John | NRG | Via Teleconference |
| Penney, David | Texas RE |  |
| Peters, Patrick | CenterPoint |  |
| Ponce, Matt | Oncor | Via Teleconference |
| Powell, Christian | LCRA |  |
| Preas, Dylan | LCRA | Via Teleconference |
| Ritchie, Nick | AEP | Via Teleconference |
| Rochelle, Jennifer | CES | Via Teleconference |
| Stanfield, L. | Invenergy | Via Teleconference |
| Thompson, David | Pedernales |  |
| Totten, Jess | Osprey Energy |  |
| Turner, David | Lonestar |  |
| Turner, Lucas | STEC | Via Teleconference |
| Urquidez, Omar | CenterPoint |  |
| Walker, Mark | NRG | Via Teleconference |
| White, Lauri | AEP |  |
| Whittle, Brandon | Megawatt Analytics | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Woodruff, Taylor | Oncor |  |
| Woods, Brad | Texas RE | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Adams, John |  | Via Teleconference |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  | Via Teleconference |
| Giarratano, Alex |  |  |
| Landry, Kelly |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Manzanilla, Ray |  |  |
| Matevosjana, Julia |  | Via Teleconference |
| McKenna, Nikki |  |  |
| Pappu, Ajay |  | Via Teleconference |
| Phillips, Cory |  |  |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Simons, Diane |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Spinner, Mark |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2017 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes

March 2, 2017

Brad Schwarz moved to approve the March 2, 2017 ROS meeting minutes as submitted.  Jesse Dillard seconded the motion.  The motion carried with one abstention from the Independent Generator (Dynegy) Market Segment.

ERCOT Updates (see Key Documents)

Operations Report

Alex Giarratano presented the February 2017 Operations Report.

System Planning Report

Jeff Billo presented the February 2017 System Planning Report.

Technical Advisory Committee (TAC) Update/Assignments

Mr. Bern reviewed the events of the March 23, 2017 TAC meeting.

Transmission Loss Factors

Mr. Bern referred this topic to the Steady State Working Group (SSWG) for further review.

Virtual Weather Zones (see Key Documents)

Nikki McKenna delivered a presentation regarding modeling and load forecasting in the Valley area.  Market Participants agreed that the proposed option of a “Virtual Weather Zone” would be the most beneficial at this time, as it would allow Market Participants to receive Valley load forecast information with minimal impact to the market or ERCOT, and requested ERCOT provide the market with forecasted and actual values for the Valley in a format most convenient for ERCOT.

Mr. Schwarz moved to endorse Option 2.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Under-Frequency Load Shedding (UFLS) Survey

Mr. Bern stated that ERCOT intends to host a workshop regarding UFLS and encouraged Market Participants to attend.  Matt Mereness reported that ERCOT is in the process of developing a draft Nodal Operating Guide Revision Request (NOGRR) to be discussed at the workshop.  Market Participants agreed that the afternoon of April 20, 2017 following the Operations Working Group (OWG) meeting would be convenient for members in attendance and would encourage participation.

North American Electric Reliability Corporation (NERC) Emergency Energy Alert (EEA) Level 3/Reliability Standard EOP-011-01, Emergency Operations

Mr. Bern referred this item to the OWG, and requested the group work with ERCOT to ensure Protocol and Guide language is in alignment with the new NERC standard.

New Protocol Revision Subcommittee (PRS) Referrals to ROS

There were no items referred to ROS at the March 9, 2017 PRS meeting.

Revision Requests Tabled at PRS, Previously Referred to ROS

Nodal Protocol Revision Request (NPRR) 814, Modify Black Start Procurement Cycle

ROS took no action on NPRR814.

NPRR815, Revise the Limitation of Load Resources

Representatives of the Dynamics Working Group (DWG) and the Performance Disturbance Compliance Working Group (PDCWG) stated that Market Participants have submitted new questions following the joint meeting held on March 23, 2017, and requested additional time to review and discuss NPRR815.

Brenda Hampton moved to request PRS table NPRR815 for one month for further review by the DWG and PDCWG.  Bob Helton seconded the motion.  The motion carried unanimously.

Resource Data Working Group (RDWG)

Resource Registration Glossary Revision Request (RRGRR) 013, Resource Registration Glossary Revision Request Process

Some Market Participants expressed concern that paragraph (3) of Section 1.2.1, Introduction, creates obligations that may pose compliance challenges for ROS.

Clayton Greer moved to table RRGRR013 and refer the issue to RDWG for additional review.  Eric Goff seconded the motion.  The motion carried unanimously.

Planning Working Group (PLWG) (see Key Documents)

Ken Bowen reviewed recent PLWG activity.

Planning Guide Revision Request (PGRR) 056, Alignment with NPRR562, Subsynchronous Resonance

Mr. Helton moved to recommend approval of PGRR056 as recommended by PLWG in the 3/22/17 PLWG Report.  Ms. Hampton seconded the motion.  The motion carried unanimously.

PGRR057, Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments

Mr. Helton expressed concern that language in PGRR057 does not distinguish between corrective action requirements for 345kV versus 138kV systems.  Mr. Billo clarified that the modeling requirements are outlined in PGRR056 adding that language in PGRR057 specifically references the NERC Reliability Standards, so that the Planning Guides would not require further revision if the NERC standard should change.  Mr. Billo also reviewed the NERC requirements regarding impact assessment for transformers due to Geomagnetically-Induced Current (GIC) flows, which are limited to 200kV and above; and corrective action plans for Geomagnetic Disturbance (GMD) events that could cause voltage collapse on a system, which are not limited to systems 200kV and above.

Wes Woitt moved to recommend approval of PGRR057 as recommended by PLWG in the 3/22/17 PLWG Report.  Trieu Vo seconded the motion.  The motion carried unanimously.

OWG (see Key Documents)

Matt Ponce reviewed recent OWG activity.

OWG Scope

Mr. Helton moved to approve the revised OWG Scope as submitted.  Mr. Greer seconded the motion.  The motion carried unanimously.

DWG

Cole Dietert reviewed recent DWG activity.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity.  Market Participants requested PGDTF host an open meeting to discuss data collection and submission for GIC system modeling.

SSWG (see Key Documents)

Justin Loth reviewed recent SSWG activity and provided an overview of revisions to the SSWG procedures.

SSWG Procedures

Mr. Woitt moved to approve the revised SSWG Procedures as submitted.  Joe Dan Wilson seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activity.

System Protection Working Group (SPWG) (see Key Documents)

ROS reviewed the posted SPWG presentation.

Other Business

Review of Open Action Items

The assignment to PLWG, “Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints” was removed from the Open Action Items list.

Dynamic Model Task Force (DMTF) Meeting: April 13, 2017

ERCOT Staff announced the first DMTF meeting will take place on April 13, 2017 at ERCOT Austin, and that the DMTF landing page, scope documents, and listserv are now available on the ERCOT website.

Distributed Energy Resource (DER) Reliability Whitepaper

Bill Blevins informed Market Participants that the DER Reliability Whitepaper is now available on the ERCOT website.  Market Participants requested Mr. Blevins provide a more detailed overview of the information either at an upcoming ROS meeting or a separate workshop.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

Adjournment

Mr. Bern adjourned the April 6, 2017 ROS meeting at 11:57 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/4/6/108710-ROS