## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, WINTER PEAK SEASON
Winter Peak Ave. Wind Capacity Percentages |  |  | WINDPEAKPCT Values *
Top Twenty Peak Hours for Each year |  |  | Winter, Non-Coastal | Winter, Coastal
Year | Non-Coastal | Coastal | 19.63% | 41.9%
2016/2017 | 19.53% | 81.79%
2015/2016 | 29.54% | 27.02% | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-040517_Nodal.doc
2014/2015 | 11.36% | 42.28%
2013/2014 | 17.48% | 43.66%
2012/2013 | 17.01% | 32.47%
2011/2012 | 20.53% | 15.74%
2010/2011 | 23.76% | 50.34%
2009/2010 | 17.85%

## W16-17-NC
HOUR | 2016-12-19 HE7 | 2016-12-19 HE8 | 2016-12-19 HE9 | 2016-12-19 HE10 | 2017-1-6 HE11 | 2017-1-6 HE12 | 2017-1-6 HE16 | 2017-1-6 HE17 | 2017-1-6 HE18 | 2017-1-6 HE19 | 2017-1-6 HE20 | 2017-1-6 HE21 | 2017-1-6 HE22 | 2017-1-6 HE23 | 2017-1-7 HE6 | 2017-1-7 HE7 | 2017-1-7 HE8 | 2017-1-7 HE9 | 2017-1-7 HE10 | 2017-1-7 HE11
ERCOT LOAD (MW) | 56338 | 57932 | 57319 | 55891 | 55020 | 54918 | 55114 | 56043 | 57840 | 59636 | 59382 | 58931 | 57945 | 56156 | 55580 | 57199 | 58635 | 58793 | 57517 | 55276
WIND HSL (MW) | 2221.0268 | 1941.5882 | 1768.0357 | 1274.0072 | 4983.0323 | 5158.5905 | 5972.0814 | 5143.6931 | 4616.5803 | 3610.4606 | 3647.3315 | 3350.899 | 3025.3014 | 2853.3976 | 2809.8467 | 2422.6537 | 2232.0975 | 1921.3449 | 1545.6307 | 969.8317
WIND CAPACITY (MW) | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4 | 15739.4
CAPACITY FACTOR | 14.11% | 12.34% | 11.23% | 8.094% | 31.66% | 32.78% | 37.94% | 32.68% | 29.33% | 22.94% | 23.17% | 21.29% | 19.22% | 18.13% | 17.85% | 15.39% | 14.18% | 12.21% | 9.82% | 6.162%
CAPACITY FACTOR AVG | 19.53%
SEASON | WINTER 2016/2017
NON-COASTAL

## W16-17-C
HOUR | 2016-12-19 HE7 | 2016-12-19 HE8 | 2016-12-19 HE9 | 2016-12-19 HE10 | 2017-1-6 HE11 | 2017-1-6 HE12 | 2017-1-6 HE16 | 2017-1-6 HE17 | 2017-1-6 HE18 | 2017-1-6 HE19 | 2017-1-6 HE20 | 2017-1-6 HE21 | 2017-1-6 HE22 | 2017-1-6 HE23 | 2017-1-7 HE6 | 2017-1-7 HE7 | 2017-1-7 HE8 | 2017-1-7 HE9 | 2017-1-7 HE10 | 2017-1-7 HE11
ERCOT LOAD (MW) | 56338 | 57932 | 57319 | 55891 | 55020 | 54918 | 55114 | 56043 | 57840 | 59636 | 59382 | 58931 | 57945 | 56156 | 55580 | 57199 | 58635 | 58793 | 57517 | 55276
WIND HSL (MW) | 1182.6763 | 1044.8563 | 1036.3175 | 941.9544 | 1774.3888 | 1741.6639 | 1744.78 | 1791.8164 | 1857.5781 | 1888.1295 | 1904.2298 | 1867.461 | 1833.9717 | 1832.2896 | 1678.2032 | 1615.0543 | 1616.4996 | 1751.411 | 1730.3506 | 1511.0936
WIND CAPACITY (MW) | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4 | 1977.4
CAPACITY FACTOR | 59.81% | 52.84% | 52.41% | 47.64% | 89.73% | 88.08% | 88.24% | 90.61% | 93.94% | 95.49% | 96.3% | 94.44% | 92.75% | 92.66% | 84.87% | 81.68% | 81.75% | 88.57% | 87.51% | 76.42%
CAPACITY FACTOR AVG | 81.79%
SEASON | WINTER 2016/2017
COASTAL