- Section 2:

RRGRR003 – Modifications to Improve Wind Forecasting

This Resource Registration Glossary Revision Request (RRGRR) improves ERCOT wind forecasting during weather related shutdown events.

Revised Subsection:  2 [unboxed due to system implementation]

RRGRR006 – Clarification of Descriptions and Alignment with Resource Asset Registration Forms

This Resource Registration Glossary Revision Request (RRGRR) clarifies the descriptions for various data fields needed for the Resource Asset Registration Forms.

Revised Subsection:  2 [unboxed due to system implementation]

RRGRR007 – Adding Solar Resource Registration Inputs

This Resource Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with the Protocols as revised by Nodal Protocol Revision Request (NPRR) 588, Clarifications for PV Generation Resources, and NPRR615, PVGR Forecasting; and creates new fields to receive information pertinent to PhotoVoltaic Generation Resources (PVGR).

Revised Subsection:  2 [unboxed due to system implementation]

RRGRR009 – Adding Voltage Limit Sets, Relay Loadability, MLSE, and GMD Data

This Resource Registration Glossary Revision Request (RRGRR) adds new categories of data: Voltage limits, relay loadability limits, Most Limiting Single Element, and Geomagnetic Disturbance (GMD) data.

Revised Subsections:  2 [unboxed due to system implementation]

RRGRR010 – Seasonal Net Max Sustainability Rating Definitions

This Resource Registration Glossary Revision Request (RRGRR) better defines the Seasonal Net Met Sustainable Rating definitions by including ambient conditions assumptions that are representative of conditions that exist during the peak Load periods for the season and the region in which the Generation Resource operates.

Revised Subsection:  2 [unboxed due to system implementation]