## Summary
Reliability Action | Real Time Deployment Price Adder (RTRDPA) | ORDC Online Price Reserves (RTOLCAP) and Price Adder (RTORPA) | AS Imbalance Settlement Payment/Charge to QSE
RUC | R | I | R
RUC for AS | R | I | R
RUC Bought Back (i.e. ONOPTOUT) | I | I | N/A
RMR Resource | R | I | R
OFFNS Deployments | I | I | R
Emergency DC Tie Imports | I | I | N/A
Emergency DC Tie Exports | I | I | N/A
Emergency Curtailment of DC Tie Exports | I | I | N/A
ERS deployment | R | I | N/A
Deployed Load Resources - Manual RRS | R | I | R
Deployed Load Resources - UFR | I | I | R
Registered Block Load Transfers into ERCOT | I | I | N/A
Registered Block Load Transfers out of ERCOT | I | I | N/A
TSP/DSP Load Management (EEA 2) | I | I | N/A
Firm Load Shed - TSP/DSP Operating Manual Blocks (EEA 3) | I | I | N/A
LEGEND
(R) - Impact of MW from out of market action is removed from pricing calculations and payments/charges
(I) -Per some segments of Market Participants, there is still potential Impact of MW from these out of market action in pricing calculations
Red text are fields which MPs have expressed concerns
Bolded text are cases where protocol language was modified to address pricing impacts of reliability action
This list is created based on QMWG discussion and does not represent ERCOT's position or opinion
X in ORDC calculation might have been set to 2000MW to account for pricing impacts of out of market actions
The concern list was developed based on discussions at QMWG among participant present at May 1st meeting

## Explanation
Scenarios | Unit Status | Base Point (BP) or Action (MW) | High Sustained Limit (HSL) | Low Dispatch Limit (LDL) | REGUP + RRS Responsibility | NONSPIN Responsibility | GTBD Adjustment in Reliability Deployment Price Adder Pricing Run | Adjusted LDL in Reliability Deployment Price Adder | Direct MW Impact on ORDC Online Reserves | Indirect MW Impact on ORDC Online Reserves by Freeing up Capacity in Other Resources | Total Impact of Action on ORDC Online Reserves | AS Imbalance MW in Settlements (can be Charge or Payment) | Notes and Comments from MPs supporting design change based on discussion at QMWG
Normal Offline | OFF | 0 | 100 | 0 | 0 | 0 | N/A | N/A | 0 | 0 | 0 | 0
Normal Online | ON | 40 | 100 | 20 | 20 | 0 | N/A | N/A | 60 | 40 | 100 | 40
Normal Online with Deficient AS | ON | 40 | 100 | 40 | 80 | 0 | N/A | N/A | 60 | 40 | 100 | -20
RUC | ONRUC | 40 | 100 | 40 | 0 | 0 | N/A | 0 | 60 | 40 | 100 | 0 | HSL of ONRUC is out of market energy and hence needs to be removed from ORDC. | Capacity is available to avoid load shed and hence needs to stay in ORDC.
RUC for AS | ONRUC | 40 | 100 | 40 | 50 | 0 | N/A | 0 | 60 | 40 | 100 | 0
RUC bought back | ONOPTOUT | 40 | 100 | 40 | 0 | 0 | N/A | 40 | 60 | 40 | 100 | 60 | Even if resource is bought back, it was brought online by ERCOT instruction and hence its LSL is impacting the market based reserves. | Capacity is bought back and hence is market based.
RMR Resource | ONRUC | 40 | 100 | 40 | 0 | 0 | N/A | 0 | 60 | 40 | 100 | 0 | HSL of RMR is out of market energy and hence needs to be removed from ORDC. | It is a product that the market has already purchased, and its capacity is available to avoid load shed. Hence it needs to stay in ORDC.
OFFNS deployment | OFFNS -> ON | 40 | 100 | 40 | 0 | 50 | N/A | N/A | 60 | 40 | 100 | 10 | LSL of OFFNS is brought online by out of market action and hence needs to be price adjusted in RTRDPA. ORDC reserves need to be decreased since it is out of market action. | It is a product that the market has already purchased. Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
Emergency DC Tie Imports | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | 100 | 100 | N/A | GTBD needs to be increased in reliability deployment pricing run, and ORDC reserves need to be decreased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
Emergency DC Tie Exports | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | -100 | -100 | N/A | GTBD needs to be decreased in reliability deployment pricing run, and ORDC reserves need to be increased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
Emergency Curtailment of DC Tie Exports | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | 100 | 100 | N/A | GTBD needs to be increased in reliability deployment pricing run, and ORDC reserves need to be decreased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
ERS deployment | N/A | 100 | N/A | N/A | N/A | N/A | 100 | N/A | N/A | 100 | 100 | N/A | ORDC reserves need to be reduced since it is out of market action. However, it is a product that the market has already purchased, and its capacity is available to avoid load shed. Hence it needs to stay in ORDC.
Deployed Load Resources - Manual RRS | N/A | 100 | N/A | N/A | 100 | N/A | 100 | N/A | -100 | 100 | 0 | -100 | The impact to ORDC should be -100. The reduction in load should not offset the amount of RRS lost during the deployment | During RT Cooptimization discussion, there was some consensus on not charging AS imbalance to LR when it is deployed. If that is the case then RRS is still considered to be provided and hence should not be subtracted from ORDC
Deployed Load Resources - UFR | N/A | 100 | N/A | N/A | 100 | N/A | 0 | N/A | -100 | 100 | 0 | -100 | GTBD needs to be increased in reliability deployment pricing run. The impact to ORDC should be -100. The reduction in load should not offset the amount of RRS lost during the deployment | It is difficult to accurately determine the timing and amount of load tripped from UFR in real-time, and the timing and amount when load tripped from UFR is recalled.
Registered Block Load Transfers into ERCOT | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | -100 | -100 | N/A | GTBD needs to be decreased in reliability deployment pricing run, and ORDC reserves need to be increased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
Registered Block Load Transfers out of ERCOT | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | 100 | 100 | N/A | GTBD needs to be increased in reliability deployment pricing run, and ORDC reserves need to be decreased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
TSP/DSP Load Management (EEA 2) | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | 100 | 100 | N/A | GTBD needs to be increased in reliability deployment pricing run, and ORDC reserves need to be decreased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
Firm Load Shed - TSP/DSP Operating Manual Blocks (EEA 3) | N/A | 100 | N/A | N/A | N/A | N/A | 0 | N/A | N/A | 100 | 100 | N/A | GTBD needs to be increased in reliability deployment pricing run, and ORDC reserves need to be decreased since it is out of market action. | Capacity is available to avoid load shed and hence needs to stay in ORDC, and GTBD should accurately reflect system needs.
LEGEND
Red text are fields which MPs have expressed concerns
Bolded text are cases where protocol language was modified to address pricing impacts of reliability action
This list is created based on QMWG discussion and does not represent ERCOT's position or opinion
X in ORDC calculation might have been set to 2000MW to account for pricing impacts of out of market actions
The concern list was developed based on discussions at QMWG among participant present at May 1st meeting