## Slide 1
Dynamic Model in RARF
DMTF
May 09, 2017

## Slide 2: Dynamic Model in the Existing RARF
Optional
Free format
Limited reference or support document for Resource Entities
No NERC MOD-26, MOD-27 acknowledgement

## Slide 3: Improvements for Consideration
Mandatory
  Proper check rules?
Consistent format and template for each model
  REs can easily identify proper models and associated model formats that are acceptable in ERCOT
  Facilitate RARF review and update