## Slide 1: GIC Data Gathering Transformer and Shunt Reactor Direct Current Resistance Data Needed For GIC System Model
Kaleb Luce
GIC Data Workshop
5/10/2017

## Slide 2: Two Winding Transformer Examples

## Slide 3: GSU Example

## Slide 4: GSU Example Test Reports and Extracting Data

## Slide 5: Standard Two/Three Winding Transformer Example

## Slide 6: 2/3 Winding Example Test Reports and Extracting Data
H1-H0
H2-H0
H3-H0
X1-X0
X2-X0
X3-X0
(“H1-H0”)+(“H2-H0”)+(“H3-H0”)
(“X1-X0”)+(“X2-X0”)+(“X3-X0”)
**NOTE: This report has winding resistances referenced to neutral, therefore, no need to divided by 2.
**
**
**

## Slide 7: Example Test Reports and Extracting Data

## Slide 8: Autotransformer Examples

## Slide 9
Note: In this equivalence model, values are in direct current Ohms/Phase. This is the format required for the GIC system model.
Autotransformer Winding Resistance

## Slide 10: Example Test Reports and Extracting Data

## Slide 11: Example Test Reports and Extracting Data

## Slide 12: Example Test Reports and Extracting Data

## Slide 13: Transmission Shunt Reactor Example

## Slide 14: Example Test Report and Extracting Data

## Slide 15: Temperature Conversion

## Slide 16: Example Temperature Conversion To 75⁰C
Formula
Example
Assuming that there is a measurement of 0.001962 Ohms at 85°C, it would need to be converted to 75°C. Assuming that you are converting the temperature of something made of copper, the equation would be worked as follows.

## Slide 17: Vector Group

## Slide 18: How To Determine Vector Group
Steps To Determine Vector Group:
First Symbol: for High Voltage: Always capital letters. D=Delta, Y=Wye, YN=Wye-Nuetral, Z=Interconnected star, N=Neutral
Second Symbol: for Low voltage: Always Small letters. d=Delta, y=wye, yn=wye-nuetral, z=Interconnected star, n=Neutral.
Third Symbol: Phase displacement expressed as the clock hour number (1,6,11)
  0 =0° that the LV phasor is in phase with the HV phasor
  1 =30° lagging (LV lags HV with 30°) because rotation is anti-clockwise.
  11 = 330° lagging or 30° leading (LV leads HV with 30°)
  5 = 150° lagging (LV lags HV with 150°)
  6 = 180° lagging (LV lags HV with 180°)

## Slide 19: Vector Group Example
Vector Group: YNd0

## Slide 20: Questions?