## Slide 1
Item 4: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
May 25, 2017
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR796, Extended Character Set Clean Up*
NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition*
NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2*
(* denotes no impact)
Notes: <number>

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR562, Subsynchronous Resonance
  IA: Between $25k and $35k Priority 2017; Rank 1990
NPRR830, Revision of 4-Coincident Peak Methodology – URGENT
  IA: Between $120k and $160k Priority 2017; Rank 2010
NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations – URGENT
  IA: Between $100k and $150k Priority 2017; Rank 1568
(* denotes no impact)
Notes: <number>

## Slide 4: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price – URGENT
Revision Requests Withdrawn:
NPRR811, Two Day Cure Period for Foreign Market Participant Guarantee Agreements
NPRR816, Clarification of Definitions of FIP and FOP
(* denotes no impact)
Notes: <number>

## Slide 5: NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price
Purpose (Crescent Power) | This Nodal Protocol Revision Request (NPRR) disallows ERCOT from awarding Point-to-Point (PTP) Obligations in the Day-Ahead Market (DAM) where the corresponding clearing price is greater than the bid price for the PTP Obligation.
PRS Vote | On 4/13/17, PRS unanimously voted to grant NPRR827 Urgent status. PRS then unanimously voted to table NPRR827 for one month and refer the issue to WMS. On 5/11/17, PRS voted to recommend approval of NPRR827 as amended by the 5/4/17 WMS comments, as revised by PRS; and to forward to TAC. There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment and two abstentions from the Cooperative and Independent Power Marketer (IPM) Market Segments.
Effective Date/Priority | To be determined
ERCOT Impact | Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Market Management System (MMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices
Business Case Highlights | This NPRR prevents harm to Market Participants by disallowing ERCOT from awarding PTP Obligations in DAM where the corresponding clearing price is greater than the bid price for the PTP Obligation. This situation arises due to some modeling issues that need to be resolved and any resolution will take many months to implement. The language change in this NPRR does not need to be undone with final resolution of this issue as any resolution of this issue must honor the fact the PTP Obligation bid price reflects the maximum willingness to pay by the bidder.

## Slide 6: Appendix

## Slide 7: NPRR562, Subsynchronous Resonance [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1990
ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Energy Management System (EMS), Data Access & Transparency, and BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR creates a process for investigating and addressing Subsynchronous Resonance (SSR) risk and clarifies the responsibilities of the various Entities affected.
PRS Decision: On 3/9/17, PRS unanimously voted to recommend approval of NPRR562 as amended by the 3/3/17 ERCOT comments. On 4/13/17, PRS unanimously voted to endorse and forward to TAC the 3/9/17 PRS Report, as revised by PRS, and Revised Impact Analysis for NPRR562 with a recommended priority of 2017 and rank of 1990.

## Slide 8: NPRR796, Extended Character Set Clean Up [ERCOT]
Proposed Effective Date: July 1, 2017
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR specifies that character set validations are available within each Texas Standard Electronic Transaction (TX SET) Implementation Guide.
PRS Decision: On 4/13/17, PRS unanimously voted to recommend approval of NPRR796 as amended by the 12/14/16 ERCOT comments. On 5/11/17, PRS unanimously voted to endorse and forward to TAC the 4/13/17 PRS Report and Impact Analysis for NPRR796.

## Slide 9: NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition [ERCOT]
Proposed Effective Date: July 1, 2017
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR aligns the definition of an Aggregate Generation Resource (AGR) with paragraph (1) of Section 16.5, Registration of a Resource Entity, which allows a Resource Entity to submit a proposal to register the aggregation of generators, with the exception of Intermittent Renewable Resources (IRRs), as an AGR.
PRS Decision: On 3/9/17, PRS voted unanimously to recommend approval of NPRR820 as submitted. On 4/13/17, PRS voted unanimously to endorse and forward to TAC the 3/9/17 PRS Report and Impact Analysis for NPRR820.

## Slide 10: NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2 [ERCOT]
Proposed Effective Date: July 1, 2017
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR aligns Protocol language with North American Electric Reliability Corporation (NERC) Reliability Standards: Attachment 1, Energy Emergency Alerts, of EOP-011-1, Emergency Operations, and BAL-001-2, Real Power Balancing Control Performance.
PRS Decision: On 4/13/17, PRS voted unanimously to recommend approval of NPRR824 as submitted. On 5/11/17, PRS voted unanimously to endorse and forward to TAC the 4/13/17 PRS Report, as revised by PRS, and the Impact Analysis for NPRR824.

## Slide 11: NPRR830, Revision of 4-Coincident Peak Methodology – URGENT [ERCOT]
Proposed Effective Date: June 14, 2017 - Priority 2017; Rank 2010
ERCOT Impact Analysis: Between $120k and $160k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B) and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR revises the basis of ERCOT’s calculation of the 4-Coincident Peak (4-CP).
PRS Decision: On 5/11/17, PRS unanimously voted to grant NPRR830 Urgent status. PRS then unanimously voted to recommend approval of NPRR830 as revised by PRS; to forward NPRR830 and the Revised Impact Analysis to TAC with a priority of 2017 and rank of 2010; and a recommended effective date of upon ERCOT Board approval.

## Slide 12: NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1568
ERCOT Impact Analysis: Between $100k and $150k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS), Data Access & Transparency, DAIP, Market Management Systems (MMS), BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR updates market systems in order to calculate a net Load value for each Private Use Network that will be included in the Load Zone price for all markets, Congestion Revenue Rights (CRRs), Day-Ahead Market (DAM), and Real-Time Market (RTM), when the Load is a net consumer from the ERCOT Transmission Grid. This NPRR also clarifies that Private Use Network net Load will be redacted from the Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads that is posted to the Market Information System (MIS) Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations.
PRS Decision: On 5/11/17, PRS unanimously voted to grant NPRR831 Urgent status. PRS then unanimously voted to recommend approval of NPRR831 as revised by PRS; and to forward NPRR831 and the Impact Analysis to TAC with a priority of 2017 and rank of 1568.