## Example Results
Base Case Analysis
X Axis Variable | Y Axis Variable | Appendix: Include Full Distribution At Each Reserve Margin Level
Reserve Margin | Weighted Average* Total System Costs (CT marginal unit) | Y
Reserve Margin | Weighted Average Total System Costs (CC marginal unit) | Y
Reserve Margin | Weighted Average CC Energy Margin** | Y
Reserve Margin | Weighted Average CT Energy Margin** | Y
Reserve Margin | Weighted Average LOLH | Y
Reserve Margin | Weighted Average EUE | Y
*Weighted Average Results for reach metric represents the probability weighted average results of all scenarios at each reserve margin level. This takes into into account the probabilities assigned to weather year, load forecast uncertainty, and generator outages.
**Energy Margin = (annual energy revenues + annual ancillary service revenues - annual variable costs)/Capacity where annual variable costs = fuel costs + variable O&M costs + startup costs + emission costs
Base Case Analysis Examples
Reserve Margin | Weighted Average Total System Costs (CT marginal unit) | Weighted Average Total System Costs (CC marginal unit) | Weighted Average CC Energy Margin | Weighted Average CT Energy Margin | Weighted Average LOLH | Weighted Average EUE
% | M$ | M$ | $/kW-yr | $/kW-yr | Hours Per Year | MWh
8% | 26760.0081 | 26808.5302 | 160 | 116.2867 | 4.7213 | 10109.1463
9% | 26741.3951 | 26765 | 135 | 80 | 3.4178 | 7537.658
10% | 26737.7828 | 26741.3951 | 114.8539 | 60 | 2.4073 | 5473.6965
11% | 26749.0428 | 26737.7828 | 94.3944 | 45.4093 | 1.6023 | 4011.71
12% | 26770.788 | 26749.0428 | 78.7637 | 30.1967 | 1.1372 | 2892.4615
13% | 26806.8177 | 26770.788 | 66.7362 | 19.7288 | 0.66187 | 1928.0433
14% | 26852.3931 | 26806.8177 | 55.2527 | 13.0574 | 0.415 | 1302.8257
15% | 26920 | 26852.3931 | 47.5587 | 8.9968 | 0.27846 | 953.3958
16% | 27011.2869 | 26920 | 42.7472 | 5.4667 | 0.18801 | 625.6705
17% | 27136.7281 | 27011.2869 | 37.8638 | 3.1912 | 0.085096 | 330.5496
27731.2348

## Distribution Example (Appendix)
List of distributions to be reported in the Appendix at each reserve margin level:
1 | Total System Costs
2 | CT/CC Energy Margins
3 | LOLH
4 | EUE
Example: CT Energy Margins
Cumulative Probability | 6% Reserve Margin | 8% Reserve Margin | 10% Reserve Margin | 12% Reserve Margin
0.5553% | 8.7932 | 2.2903 | 1.3212 | 1.1128
2.253% | 9.1999 | 2.339 | 1.5447 | 1.1776
2.808% | 9.5436 | 3.8507 | 2.1034 | 1.6997
3.363% | 11.7601 | 5.1363 | 2.9966 | 1.729
3.919% | 12.9974 | 5.4649 | 3.497 | 1.8653
4.474% | 15.1983 | 5.6393 | 3.7027 | 2.0512
5.029% | 16.7497 | 5.9075 | 4.2029 | 2.3681
6.727% | 18.6119 | 6.0992 | 4.2614 | 2.5219
7.282% | 18.8326 | 7.3663 | 5.0042 | 2.9282
9.848% | 19.9288 | 7.6013 | 5.199 | 3.1573
11.55% | 20.3599 | 8.7741 | 5.3103 | 3.4227
13.24% | 28.6393 | 9.4178 | 5.9997 | 3.6745
13.8% | 30.697 | 10.8265 | 6.3989 | 4.0429
15.5% | 30.9563 | 11.045 | 6.4646 | 4.6484
17.19% | 31.7757 | 11.8568 | 7.123 | 4.8627
19.76% | 31.8771 | 12.84 | 8.175 | 5.1091
20.31% | 32.4164 | 13.517 | 8.6436 | 5.2418
22.01% | 33.0971 | 14.1886 | 9.1859 | 5.6373
22.57% | 35.8269 | 14.5735 | 10.4542 | 6.0447
24.26% | 37.7674 | 17.0654 | 11.238 | 6.1318
24.82% | 40.2014 | 17.7977 | 13.3426 | 7.3624
27.39% | 40.288 | 18.7921 | 14.5034 | 7.6157
27.94% | 52.0246 | 26.4206 | 14.693 | 7.9104
29.64% | 64.505 | 29.0382 | 15.4663 | 8.3595
32.2% | 65.0002 | 29.8887 | 17.7145 | 9.122
34.77% | 67.0419 | 31.1949 | 17.8892 | 9.5154
36.47% | 69.8612 | 32.5001 | 18.1749 | 10.4089
38.17% | 73.4826 | 32.7803 | 20.7503 | 10.8124
39.86% | 74.6674 | 34.9961 | 21.1636 | 13.556
41.56% | 77.6385 | 38.2308 | 21.2631 | 13.6528
42.12% | 82.3282 | 40.7192 | 23.2134 | 14.0016
42.67% | 84.3977 | 43.7708 | 25.6436 | 15.1141
45.24% | 86.54 | 45.0682 | 25.9953 | 16.0814
47.8% | 89.4002 | 55.5225 | 37.2758 | 20.389
48.36% | 111.4565 | 55.6683 | 39.5613 | 20.5678
50.06% | 112.034 | 62.5251 | 39.8172 | 24.3033
50.61% | 132.2793 | 62.9279 | 39.8372 | 26.0808
52.31% | 142.0526 | 63.7917 | 42.3117 | 26.673
52.86% | 149.68 | 64.8891 | 46.4867 | 31.6725
54.56% | 150.8632 | 64.9033 | 47.3159 | 31.9713
57.13% | 154.9687 | 73.937 | 48.8222 | 34.9518
58.82% | 156.5949 | 75.9104 | 49.5664 | 35.1
60.52% | 165.2098 | 85.5687 | 50.892 | 37.3985
63.09% | 179.2253 | 90.0631 | 55.3076 | 38.4243
64.79% | 186.9585 | 90.6192 | 56.2625 | 42.4286
67.35% | 197.8212 | 93.6772 | 56.9918 | 44.1136
69.05% | 199.1934 | 106.0906 | 58.0784 | 46.1814
70.75% | 212.9187 | 127.2316 | 80.2648 | 52.5736
73.31% | 218.8325 | 128.8181 | 85.9177 | 52.9152
73.87% | 223.1259 | 139.0568 | 86.1594 | 59.0117
74.42% | 234.5266 | 149.2251 | 91.9704 | 65.7074
76.99% | 253.8103 | 152.117 | 93.5414 | 72.415
78.69% | 268.7465 | 158.637 | 101.4125 | 72.4384
79.24% | 296.6886 | 189.8475 | 117.7505 | 74.2373
80.94% | 315.492 | 203.3112 | 118.235 | 76.574
82.64% | 333.1701 | 211.9779 | 126.6812 | 77.0853
85.2% | 362.2625 | 220.8628 | 131.9528 | 90.5486
87.77% | 366.5974 | 220.9867 | 143.34 | 100.5896
88.32% | 368.9142 | 247.745 | 184.4916 | 116.3179
90.02% | 454.2602 | 284.2454 | 191.8201 | 129.4902
90.1% | 514.6282 | 325.7024 | 208.4869 | 139.5164
91.8% | 533.1858 | 332.9171 | 226.4685 | 149.0756
92.35% | 537.2441 | 337.9515 | 251.9804 | 150.4647
94.05% | 558.518 | 373.4041 | 261.8315 | 175.1549
95.75% | 614.1995 | 394.972 | 274.8027 | 182.0469
96.3% | 620.7176 | 413.0497 | 297.3444 | 210.0026
96.86% | 669.317 | 423.5259 | 308.3104 | 241.0535
97.41% | 766.7083 | 512.3395 | 323.2164 | 265.0604
97.97% | 811.7773 | 554.4788 | 381.5763 | 269.5702
98.52% | 825.3945 | 556.6219 | 449.5825 | 277.8733
99.08% | 870.5778 | 588.3309 | 467.7163 | 386.0347
99.32% | 929.7503 | 663.2053 | 495.5717 | 427.5077
99.68% | 1365.2117 | 987.8047 | 812.6676 | 555.7517
99.92% | 1832.6373 | 1467.256 | 1223.6654 | 981.6125
100% | 2414.6872 | 1964.1601 | 1634.6112 | 1361.4095