Date:	May 25, 2017

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR796, Extended Character Set Clean Up [ERCOT] - NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition [ERCOT] - NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2 [ERCOT] - NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price – URGENT [Crescent Power] - NPRR830, Revision of 4-Coincident Peak Methodology – URGENT [ERCOT] - NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR562, Subsynchronous Resonance [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1990 ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP), Energy Management System (EMS), Data Access & Transparency, and BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR creates a process for investigating and addressing Subsynchronous Resonance (SSR) risk and clarifies the responsibilities of the various Entities affected. PRS Decision: On 3/9/17, PRS unanimously voted to recommend approval of NPRR562 as amended by the 3/3/17 ERCOT comments. On 4/13/17, PRS unanimously voted to endorse and forward to TAC the 3/9/17 PRS Report, as revised by PRS, and Revised Impact Analysis for NPRR562 with a recommended priority of 2017 and rank of 1990. - NPRR796, Extended Character Set Clean Up [ERCOT] Proposed Effective Date: July 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR specifies that character set validations are available within each Texas Standard Electronic Transaction (TX SET) Implementation Guide. PRS Decision: On 4/13/17, PRS unanimously voted to recommend approval of NPRR796 as amended by the 12/14/16 ERCOT comments. On 5/11/17, PRS unanimously voted to endorse and forward to TAC the 4/13/17 PRS Report and Impact Analysis for NPRR796. - NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition [ERCOT] Proposed Effective Date: July 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns the definition of an Aggregate Generation Resource (AGR) with paragraph (1) of Section 16.5, Registration of a Resource Entity, which allows a Resource Entity to submit a proposal to register the aggregation of generators, with the exception of Intermittent Renewable Resources (IRRs), as an AGR. PRS Decision: On 3/9/17, PRS voted unanimously to recommend approval of NPRR820 as submitted. On 4/13/17, PRS voted unanimously to endorse and forward to TAC the 3/9/17 PRS Report and Impact Analysis for NPRR820. - NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2 [ERCOT] Proposed Effective Date: July 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR aligns Protocol language with North American Electric Reliability Corporation (NERC) Reliability Standards: Attachment 1, Energy Emergency Alerts, of EOP-011-1, Emergency Operations, and BAL-001-2, Real Power Balancing Control Performance. PRS Decision: On 4/13/17, PRS voted unanimously to recommend approval of NPRR824 as submitted. On 5/11/17, PRS voted unanimously to endorse and forward to TAC the 4/13/17 PRS Report, as revised by PRS, and the Impact Analysis for NPRR824. - NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price – URGENT [Crescent Power] Proposed Effective Date: To be determined ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Market Management System (MMS); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR disallows ERCOT from awarding Point-to-Point (PTP) Obligations in the Day-Ahead Market (DAM) where the corresponding clearing price is greater than the bid price for the PTP Obligation. PRS Decision: On 4/13/17, PRS unanimously voted to grant NPRR827 Urgent status. PRS then unanimously voted to table NPRR827 for one month and refer the issue to WMS. On 5/11/17, PRS voted to recommend approval of NPRR827 as amended by the 5/4/17 WMS comments, as revised by PRS; and to forward to TAC. There was one opposing vote from the Independent Retail Electric Provider (IREP) Market Segment and two abstentions from the Cooperative and Independent Power Marketer (IPM) Market Segments. Credit WG Review: See 5/17/17 Credit WG comments. - NPRR830, Revision of 4-Coincident Peak Methodology – URGENT [ERCOT] Proposed Effective Date: June 14, 2017 - Priority 2017; Rank 2010 ERCOT Impact Analysis: Between $120k and $160k; no impacts to ERCOT staffing; impacts to Settlements and Billing (S&B) and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the basis of ERCOT’s calculation of the 4-Coincident Peak (4-CP). PRS Decision: On 5/11/17, PRS unanimously voted to grant NPRR830 Urgent status. PRS then unanimously voted to recommend approval of NPRR830 as revised by PRS; to forward NPRR830 and the Revised Impact Analysis to TAC with a priority of 2017 and rank of 2010; and a recommended effective date of upon ERCOT Board approval. - NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations – URGENT [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1568 ERCOT Impact Analysis: Between $100k and $150k; no impacts to ERCOT staffing; impacts to EMS, Data Access & Transparency, DAIP, Market Management Systems (MMS), BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR updates market systems in order to calculate a net Load value for each Private Use Network that will be included in the Load Zone price for all markets, Congestion Revenue Rights (CRRs), DAM, and Real-Time Market (RTM), when the Load is a net consumer from the ERCOT Transmission Grid. This NPRR also clarifies that Private Use Network net Load will be redacted from the Electrical Bus Load distribution factors and other information necessary to forecast Electrical Bus Loads that is posted to the Market Information System (MIS) Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations. PRS Decision: On 5/11/17, PRS unanimously voted to grant NPRR831 Urgent status. PRS then unanimously voted to recommend approval of NPRR831 as revised by PRS; and to forward NPRR831 and the Impact Analysis to TAC with a priority of 2017 and rank of 1568. Revision Requests Rejected None Revision Requests Withdrawn - NPRR811, Two Day Cure Period for Foreign Market Participant Guarantee Agreements [Dynegy] - NPRR816, Clarification of Definitions of FIP and FOP [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the June 15, 2017 PRS Meeting - NPRR822, Designate Resource Node Procedure an Other Binding Document and Adjust the Process for Retiring Resource Nodes [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR814, Modify Black Start Procurement Cycle [ERCOT] - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] - NPRR817, Create a Panhandle Hub [DC Energy] - NPRR819, Resettlement Clean-Ups [ERCOT] - NPRR821, Elimination of the CRR Deration Process [DC Energy] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR825, Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load [REMC] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve [E.ON] - NPRR829, Incorporate Real-Time Non-Modeled Telemetered Net Generation by Load Zone into the Estimate of RTL [Enchanted Rock] New Revision Requests Scheduled for Consideration at the June 15, 2017 PRS Meeting - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor [Luminant] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr