| PGRR Number | 058 | PGRR Title | Clarification of Generation to be Included in the Planning Models |
| --- | --- | --- | --- |
| Date of Decision |  | May 25, 2017 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | July 1, 2017 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Guide Sections Requiring Revision |  | 6.9, Addition of Proposed Generation to the Planning Models |  |
| Related Documents Requiring Revision/Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) clarifies the specific generation intended to be included in the Planning Guide revisions of PGRR053, Addition of Proposed Generation Resources to the Planning Models, without the use of the term “All-Inclusive Generation Resource”. Section 5.1.1, Applicability, specifies the applicability requirements for proposed generation that must submit Generation Interconnection or Change Requests (GINRs) following the process described in Section 5, Generation Resource Interconnection or Change Request. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | - Clarifies requirements for adding applicable generation meeting conditions of paragraph (1) of Section 5.1.1 to the planning models, providing enhanced data transparency. - Provides the Steady State Working Group (SSWG) with greater flexibility in creating a reasonable generation Dispatch and reduces the need to resort to using extraordinary Dispatch conditions. - Facilitates the modeling of generation in a faster timeframe and eliminates the possibility of not modeling proposed generation in the planning cases until just prior to or after actual energization. |  |
| PLWG Decision |  | On 3/22/17, the Planning Working Group (PLWG) was in consensus to recommend approval of PGRR058 as revised by PLWG. On 4/19/17, PLWG was in consensus to endorse and forward to ROS the 3/22/17 PLWG Report and Impact Analysis for PGRR058. |  |
| Summary of PLWG Discussion |  | On 3/22/17, participants debated the applicability and sufficiency of paragraph (1) of Section 5.1.1 in describing generation to be included in base cases created and maintained by SSWG. On 4/19/17, there was no discussion. |  |
| ROS Decision |  | On 5/4/17, ROS voted unanimously to recommend approval of PGRR058 as recommended by PLWG in the 4/19/17 PLWG Report. The Independent Retail Electric Provider (IREP) Market Segment was not present for the vote. |  |
| Summary of ROS Discussion |  | On 5/4/17, participants reviewed paragraph (1) of Section 5.1.1, Applicability, of the Planning Guide. |  |
| TAC Decision |  | On 5/25/17, TAC voted unanimously to recommend approval of PGRR058 as recommended by ROS in the 5/4/17 ROS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 5/25/17, participants noted that the complexity of Resource definitions, including that for “All-Inclusive Generation Resource” persists, and that a holistic effort to clarify Resource definitions should be taken up sooner rather than later. |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR058 as it clarifies which Generation Resources must meet the requirements of Section 6.9, Addition of Proposed Generation Resources to the Planning Models. |  |

| Sponsor |  |
| --- | --- |
| Name | Kenneth Bowen on behalf of PLWG |
| E-mail Address | kbowen@cpsenergy.com |
| Company | CPS Energy |
| Phone Number | 210-353-4142 |
| Cell Number | 210-288-5437 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

6.9	Addition of Proposed Generation to the Planning Models

(1)	For generation meeting the conditions of paragraph (1) of Section 5.1.1, Applicability, ERCOT will include applicable generation in the base cases created and maintained by the Steady State Working Group (SSWG) once each of the following has occurred:

(a) 	The Interconnecting Entity (IE) provides all data required in the Security Screening Study, if the Full Interconnection Study (FIS) has not started, or the FIS, if the FIS has started;

(b) 	ERCOT determines that the IE has received all necessary Texas Commission on Environmental Quality (TCEQ)-approved air permits or that no such permits are required;

(c) 	The IE submits a completed Declaration of Adequate Water Supplies (Section 8, Attachment B, Declaration of Adequate Water Supplies; generation types exempt from this requirement are cited in Attachment B); and

(d) 	ERCOT receives one of the following:

(i)	A signed Standard Generation Interconnection Agreement (SGIA) from the Transmission Service Provider (TSP) and a written notice from the TSP that the IE has provided:

(A)	A notice to proceed with the construction of the interconnection; and

(B)	The financial security required to fund the interconnection facilities; or

(ii)	A public, financially binding agreement between the IE and the TSP under which the interconnection for the applicable generation will be constructed along with:

(A)	A written notice from the TSP that the IE has provided notice to proceed with the construction of the interconnection; and

(B)	The required financial security; or

(iii)	A letter from a duly authorized official from a Municipally Owned Utility (MOU) or Electric Cooperative (EC) confirming the Entity’s intent to construct and operate applicable generation and interconnect such generation to its own transmission system.

(2)	Upon receiving notice from ERCOT that the IE has met the requirements of paragraph (1) above, the IE shall provide within 60 days the remaining required data as specified in the Resource Registration Glossary, Planning Model column, using the applicable Resource Registration process.  The purpose of submitting the data is for modeling of the applicable generation in the base cases created and maintained by the System Protection Working Group (SPWG) and the Dynamics Working Group (DWG).

(3)	Once the IE has met these requirements, ERCOT will notify the SSWG, SPWG, and DWG that the applicable generation will be included in the base cases created and maintained by these working groups.