## Slide 1: RDWG Update to ROS
June 8, 2017

## Slide 2: Apr 24 RDWG Meeting
The RDWG met on May 26, and reviewed RRGRR014 and its Impact Analysis.
Also discussed the potential need to provide RARF Glossary guidance on reference voltages for reactive capability submittals.

## Slide 3: RRGRR014 As-Built Clarification for RRGRRs 006, 007, and 009
RRGRR014 is sponsored by ERCOT, and is the result of development of the 5.4 version of the RARF.
During the RARF form development, it was discovered that the glossary did not capture baseline updates prior to approval of RRGRR006.
It does not add or remove any data requirements, but merely incorporates all previously-approved changes to the glossary.
The RDWG is in consensus to recommend approval of RRGRR014, and the associated Impact Analysis

## Slide 4: Reference Voltages for Reactive Capabilities
Nodal Protocol 8.1.1.2.1.4 was revised as part of NPRR713 (Reactive Power Testing Requirements), and states that reactive capability limits should be specified referencing the voltage profiles at different times of the year.
The link to the RARF Glossary was overlooked at the time that NPRR713 was passed, so the glossary does not currently provide guidance to market participants.

## Slide 5: Reference Voltages for Reactive Capabilities
Review of 8.1.1.2.1.4 language has raised concerns over the appropriateness and feasibility of the existing language.
The RDWG is requesting that the OWG review Protocol 8.1.1.2.1.4 to determine if the existing language should remain as-is.
The RDWG will then initiate a NPRR or RRGRR (as appropriate), based on their recommendation.

## Slide 6: Calendar
Next RDWG meeting is scheduled for June 30, 2017.