## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Lei Ye, Austin Energy
ROS
June 8th, 2017

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    0 FME in the month of April
  Frequency Control Report
  April Responsive Reserve Deployments

## Slide 3: Meeting Minutes
PDCWG Meeting 5/10/17
  GIC Model Workshop
    GIC System Model Procedure Manual Walkthrough
    Transformer Data Presentation
    Substation Grounding Resistance Presentation
    GIC System Model Supplemental Guidance
  Regulation & Frequency Control Reports
  GREDP Performance Analysis
  NPRR 815 Discussion
  MOD-026-1 & MOD-027-1 Discussion
    NOGRR Proposal/Review Status

## Slide 4: Frequency Measurable Events Performance
April 2017

## Slide 5: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1009.57 MW/0.1Hz

## Slide 6: Frequency Control Report
April 2017

## Slide 7: CPS1 Performance
CPS1 12 Month Rolling Average = 175.47%

## Slide 8: RMS1 Performance of ERCOT Frequency

## Slide 9: Frequency Profile Analysis
Year | Mean | Standard Deviation (from 60Hz)
2016 | 59.99979 | 0.015179
2017 | 59.99996 | 0.015838
Year | Low Side (<60Hz) | High Side (>60Hz)
2016 | 170.87 | 177.12
2017 | 167.99 | 175.06

## Slide 10: Time Error Corrections
There were no Time Error Corrections (TEC) in April
Notes: TEC occurred on 12/03/2016 at 23:30. Time Error was 30.06

## Slide 11: Wind Generation Performance

## Slide 12: Wind Generation Performance

## Slide 13: Wind Generation Performance

## Slide 14: Responsive Reserve Deployments Deployed(3x) and Recalled(2x)
RRS Deployed(3x)-Usually from Regulation Up Exhaustion
1) Apr 26 2017 18:29:33 CST ERCOT Responsive Reserve Has Been Deployed Operational Information Active (No message of deployment recall cancelled)
2) Apr 14 2017 08:57:30 CST ERCOT Responsive Reserve Has Been Deployed Operational Information Active
-Apr 14 2017 08:59:30 CST ERCOT Responsive Reserve Has Been Recalled Operational Information Cancelled
3) Apr 10 2017 03:26:00 CST ERCOT Responsive Reserve Has Been Deployed Operational Information Active
-Apr 10 2017 03:28:16 CST ERCOT Responsive Reserve Has Been Recalled Operational Information Cancelled
RRS Recalled(2x)
1)Apr 16 2017 08:49:20 CST ERCOT Responsive Reserve Has Been Recalled Operational Information Cancelled
2)Apr 13 2017 09:18:04 CST ERCOT Responsive Reserve Has Been Recalled Operational Information Cancelled

## Slide 15
Questions?