## Slide 1
Summary of GIC Data Submission on 03/31/2017
Presentation to PGDTF
Qiuli Yu and Jay Teixeira
ERCOT
June 09, 2017

## Slide 2: Background – GIC Data Submission to ERCOT
Based on the schedule published by PGDTF, 12/31/2016 was the deadline for TSPs (PGDTF members) to submit their GIC input data for their 345kV devices.
03/31/2017 was the deadline for TSPs (PGDTF members) to submit their GIC input data for their 345/138/69kV devices.
ERCOT has received 15 submissions for 345kV devices.
ERCOT received 16 submissions for 345/138/69kV devices by early April.
One TSP requested using default values for its 138/69kV devices.

## Slide 3
TSP | ACRONYM | MODELING ENTITY | SUBMISSION @03/31/2017
BRAZOS ELECTRIC POWER COOP. | TBREC | TBREC | Default
DENTON MUNICIPAL UTILITIES, CITY OF | TDME | TDME | √
GARLAND, CITY OF | TGAR | GPL&TMPA | √
TEXAS MUNICIPAL POWER AGENCY | TTMPA |  | 
ONCOR | TONCOR | TONCOR | √
COLLEGE STATION, CITY OF | TCOLGS | TCOLGS | √
TEXAS NEW MEXICO POWER CO. | TTNMP | TTNMP | √
CENTERPOINT | TCNPE | TCNPE | √
SOUTH TEXAS POWER PLANT | TCNPE |  | 
CPS ENERGY | TCPSE | TCPSE | √
SOUTH TEXAS ELECTRIC COOP | TSTEC | TSTEC | √
LCRA TRANSMISSION SERVICES CORPORATION (TSC) | TLCRA | TLCRA | √
BANDERA ELECTRIC COOP | TBDEC |  | 
BLUEBONNET ELECTRIC COOP | TBBEC |  | 
CENTRAL TEXAS ELECTRIC COOP | TCTEC |  | 
GUADALUPE VALLEY ELECTRIC COOP | TGVEC |  | 
NEW BRAUNFELS UTILITIES | TNBRUT |  | 
PEDERNALES ELECTRIC COOP | TPDEC0 |  | 
SAN BERNARD ELECTRIC COOP | TSBEC |  | 
AMERICAN ELECTRIC POWER - TCC | TAEPTC | TAEPTC | √
EAST HIGH VOLTAGE DC TIE |  |  | 
SHARYLAND | TSLND1 | TSLND1 | √
AUSTIN ENERGY | TAEN | TAEN | √
WIND ENERGY TRANSMISSION TEXAS | WETT | WETT | √
GOLDENSPREAD ELECTRIC COOP | TGSEC | TGSEC | √
BRYAN, CITY OF | TBTU | TBTU | ?

## Slide 4: Summary of Submission on 03/31/2017
ERCOT has received 16 submissions.
One submission (BEPC) requested using default values for 138/69kV devices.
8 submissions have been successfully converted to their GIC input files.
6 submissions have been modified and converted to GIC input files.
One submission (BRYAN) was unable to be converted to its GIC input file, and ERCOT sent the template EXCEL sheet to the TSP.
Three TSPs (TCROS, TGEUS, and TLSTR) sent submissions for their 345kV devices, but didn’t for their 138/69kV devices. Please confirm that the first submissions will be used as final submissions.

## Slide 5: Issues with Submission on 03/31/2017
Missing the GIC version Tab:
This Tab is necessary for PSSE Ver34 GIC Module.
This Tab was not in Version 1 and 2 of our PGDTF Procedure Manual.
This Tab has been added into Version 3 of our PGDTF Procedure Manual.

## Slide 6: Issues with Submission on 03/31/2017
Missing the explanation and title rows:
Correct Transformer Tab
Incorrect Transformer Tab

## Slide 7: Issues with Submission on 03/31/2017
Using wrong names for Earth Model:
  Correct Names—CP2, IP1, IP4
  Incorrect Names—CP-2, IP-1, IP-4, CIP2
Vector Group (VECGRP) for Auto Transformers
  Correct format—YNa0d1
  Incorrect format—YyN(auto)d1
  Will not cause issues for GIC input file creation. However, not sure for GIC calculation
Substation Number
  TSPs should use the numbers assigned to them: Appendix A - Station Number Range

## Slide 8: Issues with Submission on 03/31/2017
Using inappropriate format for substation name:
  Correct format:
  Incorrect format:
  Will not cause issues for GIC input file creation. However, we want all TSPs to use the same format.