## Slide 1: May 25, 2017 TAC Update to COPS
Michelle Trenary
June 14, 2017

## Slide 2: TAC Omnibus Motion (Approved)
<number>
NPRR562, Subsynchronous Resonance, Effective Date: Upon system implementation, Priority 2017, Rank 1990
NPRR796, Extended Character Set Clean Up, Effective Date: July 1, 2017
NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition, Effective Date: July 1, 2017
NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2, Effective Date: July 1, 2017
RRGRR013, Resource Registration Glossary Revision Request Process, Effective Date: June 1, 2017
NOGRR168, Nodal Operating Guide Revision Request Process, Effective Date: June 1, 2017
RMGRR145, Appendix for a Mass Customer List (MCL), Effective Date: June 1, 2017
RMGRR146, Retail Market Guide Revision Request Process, June 1, 2017
RMGRR147, Stand-Alone Discretionary Meter Tampering Charges, Effective Date: June 1, 2017
RMS 2017 Goals
COPMGRR046, Commercial Operations Market Guide Revision Request Process, June 1, 2017
LPGRR062, Load Profiling Guide Revision Request Process, Effective Date: June 1, 2017
VCMRR018, Verifiable Cost Manual Revision Request Process, Effective Date: June 1, 2017
WMS Procedures
Notes: <number>

## Slide 3: PRS Update
<number>
NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price by $0.25/MW per hour, Effective Date: Upon system implementation Approved
NPRR830, Revision of 4-Coincident Peak Methodology, Urgent, Effective Date: June 14, 2017, Priority 2017, Rank 2010 Approved
NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations, Urgent, Effective Date: Upon system implementation, Priority 2017, Rank 1568 Approved
Notes: <number>

## Slide 4: ROS Update
<number>
PGRR056, Alignment with NPRR562, Subsynchronous Resonance, Effective Date: Upon system implementation of NPRR562 Approved
PGRR057, Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability, Effective Date: Upon system implementation, Priority 2017, Rank 150 Approved
  PGRR058, Clarification of Resources to be Included in the Planning Models, Effective Date: July 1, 2017 Approved

## Slide 5: WMS Update
<number>
SMOGRR021, Settlement Metering Operating Guide Revision Request Process, Effective Date: June 1, 2017 Approved

## Slide 6: ERCOT Reports
<number>
Far West Texas RPG Project, Prabhu Gnanam Endorsed
  Project submitted by Oncor and AEPSC on 4/20/2017 to the RPG
  Needed to address transmission needs both in Culberson Loop area and the Barilla Junction area
  ERCOT recommends Option 2 to meet reliability requirements
  Estimated cost $336 million
Rayburn Country Electric Cooperative (RCEC) Load Integration Study, Prabhu Gnanam
  RCEC is considering connecting the remainder of its load (Approx. 190 MW) to the ERCOT Grid as early as December, 2019
  PUCT requested ERCOT to study the impact of integrating the RCEC load
  ERCOT recommends Option 2 to meet the planning criteria
  Estimated cost $38 million
  Presented for information only, TAC took no action

## Slide 7: ERCOT Reports
<number>
ERCOT-SPP Coordinated Lubbock Power and Light Integration Impact Study Results, Jeff Billo
  Coordinated Study requested by the PUCT
  ERCOT recommends Option 4ow
  Estimated cost for transmission facilities $364 million
  Final and detailed information will be available in the study report to be filed with the PUCT in June, 2017
  Presented for information only, TAC took no action

## Slide 8: ERCOT Reports
<number>
Series Capacitors Update, Fred Huang
  NPRR562, Subsynchronous Resonance (SSR), Effective July, 2017
  Series capacitors will improve Panhandle Generic Transmission Constraint (GTC) export capability (Approx. 150 MW)
  ERCOT will coordinate with TSPs to identify transmission options for generators with Subsynchronous Resonance (SSR) vulnerability within N-4 outage
  ERCOT Energy Management System (EMS) will be used to monitor transmission outages; ERCOT Operations will bypass the Series Capacitors if necessary
  ERCOT will take this to the Board on June 13, 2017
  Presented for information only, TAC took no action

## Slide 9: ERCOT Reports
<number>
Southern Cross Transmission (SCT) Project (#46304), Dan Woodfin
  ERCOT presented a list of directives to resolve issues related to the implementation of the SCT;
    For example, below are some of the directives:
    Determine the type of Market Participant
    Ramp rate restrictions, if any, to accommodate the interconnection
    Determine how to model
    Determine any necessary transmission upgrades
    Determine whether some or all DC ties should be economically dispatched or whether implementing a congestion management plan or Special Protection Scheme (SPS) would be better in managing congestion caused by the DC tie flows
    Possible voltage support requirement and possible modifications to existing Ancillary Services
  TAC Leadership directed ROS and WMS to conduct a joint Workshop to assist ERCOT in addressing the SCT directives

## Slide 10: ERCOT Reports
<number>
DER Reliability Impacts and Recommended Changes, Bill Blevins
  Whitepaper issued 3/22/2017 http://www.ercot.com/content/wcm/lists/121384/DERs_Reliability_Impacts_FINAL.pdf
  DER penetration in ERCOT continues to trend upward and has the potential to affect grid operations in multiple ways
    Increased error in Load Forecasting
    Less accurate inputs to the State Estimator and Load Adaptation
    Uncoordinated system restoration
  Grid visibility is key; More detailed collection of static DER data from DSPs and TSPs; ERCOT does not propose to model or operate the distribution system
  ERCOT will work with DSPs and TSPs to develop a method of providing and collecting data for mapping current and future registered DER units to the CIM Loads (This will affect 85 existing units, all of which are at least 1 MW and export power to the grid)
  ERCOT will work with stakeholders to develop a process for Competitive Choice and NOIE DSPs to monitor the accumulation of clusters of Unregistered DER units, >50kW and <1MW, connected to specific CIM Loads
  TAC Leadership asked ERCOT to begin the DER discussion at the ROS

## Slide 11: ERCOT Reports
<number>
Virtual Weather Zone (Sub-Area Forecast) Update, Nikki McKenna
  Option 2, Keep the forecast as a “virtual” weather zone used for forecasting purposes only, endorsed by WMS and ROS
  Post within the Seven-Day Load Forecast by Weather Zone report, noting this is a sub-area forecast
  Include in the Actual Loads of Weather Zone Display and Actual System Load by Weather Zone reports, noting this is a sub-area forecast
  TAC approved moving forward with Option 2; ERCOT will draft at least one NPRR
  Heads up to the MDWG: There will be changes to reports
Unregistered Distributed Generation (DG) Report, Pete Warnken
  Reporting requirements moved to Protocol Section 3.2.5.3 (2)
  Q: What Subcommittee does ERCOT need to report to? A: WMS

## Slide 12: Other Business
<number>
Resource Definition(s) Protocol and Guide Clean Up, Adrianne Brandt
  TAC Leadership requested that a Task Force be formed under the PRS, to be Co-Chaired by ERCOT
Extended Electric Transmission Texas, LLC (ETT) Outages on Certain CREZ 345 kV Transmission Lines in Northwest Texas Workshop
  May 19, 2017, Market Operations Notice W-A051917-03, Extended Outages on Certain CREZ 345 kV Transmission Lines in Northwest Texas; Now through November 2018; Replacing transmission structure components as part of a warranty claim
  ERCOT will host a WebEx on June 15, 2017, 2:00 PM – 5:00 PM
  ERCOT requests comments and questions ahead of the WebEx (Send through Client Services) so they can better prepare for the discussion
  Question submitted are being posted to the Workshops Webpage

## Slide 13: Questions?
14