## Slide 1: Alternative Approach for Loads in SCED v.2
Demand-Side Working Group
June 16, 2017

## Slide 2: Obstacles to DR Participation in RTM
Registration
Aggregation
Telemetry
Operating Requirements
Settlement—DR-only QSE cannot be settled in RTM under existing rules
  Loads in SCED v. 1 does not address third-party DR

## Slide 3: Settlement for DR in RTM
TAC approved LMP-G approach for third-party DR providers
DSWG refined this approach as LMP-Proxy $G
Under this approach, a DR provider would be paid LMP-Proxy $G for a load reduction in SCED
The REP of the customers in the DR resource would have the amount of load shed added back to its settlement, and would be paid Proxy $G

## Slide 4: Original LMP-Proxy $G Approach
Advantages:
  Avoids double compensation issue
  Generates revenue for payment to DR by charging load to REP
Disadvantages:
  Would require notification of REPs whose customers are in a DR resource
  Raises customer-REP issues related to non-metered usage estimated by ERCOT
  Requires changes to settlement

## Slide 5: Alternative LMP-$G Approach
As in Original LMP-Proxy $G proposal, a DR provider would be paid LMP-Proxy $G for a load reduction in SCED
Payments to DR providers would be generated by uplift to all loads
No load would be added back to the responsibility of the REP with customers in a DR resource
REP would not be paid Proxy $G

## Slide 6: Advantages of Alternative Approach
Practical method for integrating demand into RTM
Settlement changes are simpler
Would not require notification of REPs whose customers are in a DRP resource
Avoids potential customer-REP billing issue
REPs without DR program would benefit from customers’ participation
Similar model is used in FERC-regulated markets

## Slide 7: Disadvantages of Alternative Approach
Double compensation may still occur for certain customers
General opposition to uplifts
Still may need a system for resolving competing claims to represent a customer
Settlement changes, although less complex, are still required to include DRP

## Slide 8: Double Compensation
Double compensation arises when a customer gets paid for participating in SCED and receives a lower bill for energy consumed
One approach to address issue is to limit participation in SCED to DRP aggregations of residential and small commercial customers
  Magnitude of customers’ benefit would be lower for most mass-market customers, who are not likely to be on retail rates that are close to wholesale market rates

## Slide 9: Double Incentives
Issues can also arise if a customer is provided an incentive from a REP to modify its load and also from a DR Provider
  Both REP and DRP could benefit from the load reduction, but both cannot receive the SCED payment
  REPs may not be willing to pay both a DRP uplift charge and an incentive to customer for same event
  Requires a process for resolving competing claims to represent a customer

## Slide 10: Benefits of Load Participation in SCED
Visible participation of loads in price formation
  Increased efficiency of wholesale market as loads sometimes set marginal price, sometimes reduce price
Participation in wholesale market provides policy-makers clear indication of prices at which customers are willing to have service interrupted

## Slide 11: Settlement Example: Original LMP – Proxy $G
Assume 1 mw load reduction; LMP = $1000; G = $200
DRP would be paid 1 * (1000-200) = $800
REP of customers in DR resource would be paid 1 * 200 = $200
1 mw load reduction would be added back to REP’s load obligation, increasing it by $1000
ERCOT payment of $800 to DRP would be offset by increased REP obligation of $800

## Slide 12: Settlement under Alternative LMP-Proxy $G Approach
Assume 1 mw load reduction; LMP = $1000; G = $200
DRP would be paid 1 * (1000-200) = $800
No payment to REP of customers in DR resource
REP’s load obligation would decrease by 1 mw, resulting in reduced obligation by $1000
Payment of $800 to DRP would be recovered through uplift

## Slide 13: Contacts
Jess Totten
Osprey Energy
totten@ospreyenergy.com
512-800-2664
Rob Bevill
SPEER
rbevill@eepartnership.org
512-657-0237