| SCR Number | 791 | SCR Title | Correction of 60-day SCED GRD Disclosure Report |
| --- | --- | --- | --- |
| Date Posted |  | May 15, 2017 |  |
| Requested Resolution |  | Normal |  |
| Supporting Protocol or Guide Sections/Related Documents |  | 3.2.5, Publication of Resource and Load Information |  |
| System Change Description |  | This System Change Request populates unused Megawatt (MW) and price values in Security-Constrained Economic Dispatch (SCED) Generation Resource Data (GRD) Energy Offer Curves with null values rather than zeroes. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The 60-day SCED GRD report currently contains values of 0, rather than nulls, for MW/price values that are not used in the Energy Offer Curves. These zero values make the Curves non-monotonic and are indistinguishable from valid zero values in the curves. This error makes the data difficult to use and interpret. |  |

| Sponsor |  |
| --- | --- |
| Name | Julie Thomas, on behalf of the Market Data Working Group (MDWG) |
| E-mail Address | Julie.Thomas@VistraEnergy.com |
| Company | Vistra Energy |
| Phone Number | 214-875-9378 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

Proposed System Change

Issue:

60-day Disclosure Report for SCED GRD data contains zeroes instead of nulls for unused values in Energy Offer Curves.

Resolution:

In the following representative data (resource names and types have been removed and curves have been truncated), the zero values after the highest value on the Energy Offer Curve (highlighted in yellow) should be null values.

| SCED Time Stamp | SCED1 Curve-MW1 | SCED1 Curve-Price1 | SCED1 Curve-MW2 | SCED1 Curve-Price2 | SCED1 Curve- MW3 | SCED1 Curve-Price3 | SCED1 Curve- MW4 | SCED1 Curve-Price4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12/31/2016 0:00 | 0 | -250 | 30 | -250 | 30 | 34.490001 | 35 | 35.159999 |
| 12/31/2016 0:00 | 0 | -250 | 85 | -250 | 85 | 27.770000 | 99 | 28.600000 |
| 12/31/2016 0:00 | 0 | -250 | 0.01 | 8999.9902 | 30 | 9000 | 0 | 0 |
| 12/31/2016 0:00 | 0 | -250 | 0 | 9000 | 0 | 0 | 0 | 0 |
| 12/31/2016 0:00 | 0 | -250 | 232 | -250 | 232.38241 | -249.9900 | 232.38241 | 9000 |
| 12/31/2016 0:00 | 0 | -250 | 0 | -30.14999 | 99.800003 | -30.1000 | 99.800003 | -30.10000 |
| 12/31/2016 0:00 | 0 | -250 | 5 | -250 | 5 | 74 | 20 | 75 |
| 12/31/2016 0:00 | 0 | -250 | 0.9900000 | -249.9905 | 1 | 9000 | 8.1199998 | 9000 |
| 12/31/2016 0:00 | 0 | -250 | 0.01 | 8999.9902 | 8.6099996 | 9000 | 0 | 0 |