ERCOT Planning Guide

- Table of Contents

- July 1, 2017

1	Overview	1

1.1	Purpose	1

1.2	Process for Planning Guide Revision	1

1.2.1	Introduction	1

1.2.2	Submission of a Planning Guide Revision Request	2

1.2.4	Planning Guide Revision Procedure	4

1.2.3.1	Review and Posting of Planning Guide Revision Requests	4

1.2.3.2	Withdrawal of aPlanning Guide Revision Request	4

1.2.3.3	ROS Review and Action	5

1.2.3.4	Comments to the ROS Report	6

1.2.3.5	Planning Guide Revision Request Impact Analysis	6

1.2.3.6	ROS Review of Impact Analysis	7

1.2.3.7	Wholesale Market Subcommittee Review	7

1.2.3.8	ERCOT Impact Analysis Based on ROS Report	9

1.2.3.9	PRS Review of Project Prioritization	9

1.2.3.10	Technical Advisory Committee Vote	9

1.2.3.11	ERCOT Impact Analysis Based on Technical Advisory Committee Report	10

1.2.3.12	ERCOT Board Vote	11

1.2.3.13	Appeal of Action	11

1.2.5	Urgent Requests	12

1.2.6	Planning Guide Revision Implementation	13

2	Definitions and Acronyms	2-1

2.1	Definitions	2-1

2.2 	Acronyms	2-3

3	Regional Planning	3-1

3.1	Communications	1

3.1.1	Overview of Major Transmission Planning Activities	1

3.1.1.1	Long-Term System Assessment	1

3.1.1.2	Regional Transmission Plan	1

3.1.1.3	Regional Planning Group Project Reviews	2

3.1.1.4	Generation Interconnection Process	2

3.1.2	Regional Planning Group Project Submission	3

3.1.2.1	All Projects	3

3.1.2.2	Projects That Are Not Included in the Current Regional Transmission Plan	4

3.1.2.3	Other Information	5

3.1.3	Project Evaluation	5

3.1.3.1	Definitions of Reliability-Driven and Economic-Driven Projects	6

3.1.3.2	Reliability-Driven Project Evaluation	6

3.1.4	Regional Transmission Plan Development Process	6

3.1.4.1	Development of Regional Transmission Plan	7

3.1.4.2	Use of Regional Transmission Plan	8

3.1.5	Regional Planning Group Comment Process	8

3.1.6	Notify PUCT of Recommended Transmission Projects	9

4	Transmission Planning Criteria	4-1

4.1	Introduction	1

4.1.1	Reliability Criteria	2

4.1.1.1	Planning Assumptions	2

4.1.1.2	Reliability Performance Criteria	2

4.1.1.3	Voltage Stability Margin	4

4.1.2	ERCOT Application of NERC Standards for System Assessments	4

4.1.2.1	Category C	4

4.1.2.2	Category D	5

5	Generation Resource Interconnection or Change Request	5-1

5.1	Introduction	1

5.1.1	Applicability	1

5.1.2	Responsibilities	2

5.2	Generation Interconnection Process	3

5.2.1	Generation Interconnection or Change Request Application	3

5.2.2	Generation Interconnection or Change Request Submission Requirements	4

5.3	Full Interconnection Study Request	5

5.3.1	Full Interconnection Study Submission Requirements	6

5.3.2	Modifications to Request Declarations of Resource Data Accuracy	7

5.4	Study Processes and Procedures	8

5.4.1	Security Screening Study	8

5.4.2	Full Interconnection Study	9

5.4.2.1	Full Interconnection Study Process Overview	Error: Reference source not found

5.4.2.2	Full Interconnection Study Elements	12

5.4.3	Steady-State Analysis	13

5.4.4	System Protection (Short-Circuit) Analysis	14

5.4.5	Dynamic and Transient Stability (Unit Stability, Voltage, Subsynchronous Resonance) Analysis	15

5.4.5.1	Subsynchronous Resonance Studies	Error: Reference source not found

5.4.6	Facility Study	18

5.4.7	Economic Study	18

5.4.8	FIS Study Report and Follow-up	19

5.4.9	Proof of Site Control	21

5.4.10	Confidentiality	22

5.5	Interconnection Agreement	23

5.5.1	Standard Generation Interconnection Agreement	23

5.5.2	Other Arrangements for Transmission Service	24

5.5.3	Provisions for Municipally Owned Utilities and Cooperatives	24

5.5.4	Notification to ERCOT Concerning Certain Project Developments	24

5.6	Compliance with Operational Standards	25

5.7	Interconnection Data, Fees, and Timetables	25

5.7.1	Generation Resource Data Requirements	25

5.7.2	Interconnection Study Fees	28

5.7.3	Stability Modeling Fee	28

5.7.4	Full Interconnection Study Fee/Cost	28

5.7.5	Interconnection Process Timetables	29

5.8	General and Technical Standards	32

5.8.1	Other Standards	32

5.8.2	Transformer Tap Position	32

5.8	Quarterly Stability Assessment	32

6	Data/Modeling	6-1

6.1	Steady-State Model Development	1

6.2	Dynamics Model Development	2

6.2.1	Dynamics Data Requirements for Resources	3

6.2.2	Dynamics Data Requirements for Load Resources	4

6.2.3	Dynamics Data Requirements for and Transmission and/or Distribution Service Providers	4

6.2.4 	Dynamics Data Screening and Maintenance	5

6.2.5 	Dynamics Data Recorder	5

6.3	Process for Developing Short Circuit Cases	5

6.4	Transmission Project Information and Tracking Report and Data Requirements	6

6.4.1	Transmission Project Information and Tracking Report	6

6.4.2	ERCOT Responsibilities	7

6.4.3	TSP Responsibilities	7

6.4.4 	Regional Transmission Plan Projects in Transmission Project Information and Tracking Report	7

6.5	Annual Load Data Request	8

6.6	Intentionally Left Blank	9

6.7	Data Dictionary	9

6.8	Resource Registration Procedures	9

6.8.1	Resource Registration	9

6.8.2	Resource Registration Process	10

6.9	Addition of Proposed Generation to the Planning Models	11

6.10	Contingency Filing Requirements	12

6.11	Process for Developing Geomagnetically-Induced Current (GIC) System Models	13

7	Market Data Transparency	7-1

7.1	Planning Data and Information	1

8	Attachments	8-1

Declaration of Resource Data Accuracy	8(A)

Declaration of Adequate Water Supplies	8(B)

Declaration of Department of Defense Notification	8(C)

9	RESERVED	9-1