## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2017
QMWG 07/10/2017

## Slide 2: Non-IRR GREDP < 85% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 268 | 234 | 277 | 1.33 | 84.48
Unit 312 | 4 | 6 | 0.30 | 66.67
Unit 313 | 2 | 3 | 0.77 | 66.67
Totals | 240 | 286 | 1.31 | 83.92

## Slide 3: IRR Summary June 2017
IRR | Fleet | <95% | >100 INT, <95%
GREDP Average (%) | 84.15 | 65.64 | 85.70
GREDP Median (%) | 96.17 | 77.80 | 89.38
Average MW Error | 3.57 | 3.52 | 3.70
Median MW Error | 2.85 | 2.85 | 3.42
Total Intervals Scored | 15,548 | 2,919 | 1,846
100+ Intervals Scored | 28 | 108 | 1,846
Total Intervals Scored Average | 146.68 | 62.11 | 205.11

## Slide 4: IRR GREDP ≥ 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,088 | 2,088 | 0.54 | 100
Unit 2 | 1,536 | 1,596 | 4.57 | 96.24
Unit 3 | 1,333 | 1,387 | 5.17 | 96.11
Unit 4 | 1,255 | 1,287 | 2.60 | 99
Unit 5 | 1,031 | 1,057 | 3.06 | 96
Unit 6 | 859 | 899 | 6.70 | 95.57
Unit 7 | 610 | 633 | 4.20 | 96
Unit 8 | 570 | 576 | 3.76 | 98.96
Unit 9 | 348 | 348 | 4.80 | 99
Unit 11 | 329 | 339 | 4.65 | 97.05
Unit 12 | 316 | 327 | 3.97 | 96.64
Unit 13 | 315 | 322 | 1.64 | 97.83

## Slide 5: IRR GREDP ≥ 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 14 | 297 | 298 | 2.73 | 99.8
Unit 19 | 177 | 180 | 1.15 | 98.33
Unit 21 | 171 | 180 | 5.36 | 95.00
Unit 22 | 146 | 148 | 1.18 | 98.65
Unit 23 | 137 | 144 | 3.29 | 95.14
Unit 24 | 128 | 130 | 1.32 | 98.46
Unit 26 | 109 | 111 | 5.43 | 98.20
Unit 30 | 68 | 70 | 5.79 | 97.14
Unit 32 | 64 | 66 | 1.25 | 96.97
Unit 33 | 64 | 65 | 2.90 | 98.46
Unit 36 | 57 | 58 | 2.75 | 98.28
Unit 40 | 48 | 49 | 5.46 | 97.96

## Slide 6: IRR GREDP ≥ 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 42 | 47 | 47 | 2.05 | 100
Unit 43 | 46 | 47 | 5.03 | 97.87
Unit 45 | 40 | 41 | 5.99 | 97.56
Unit 46 | 37 | 37 | 4.85 | 100
Unit 52 | 21 | 24 | 0.42 | 98
Unit 57 | 14 | 14 | 4.54 | 100
Unit 63 | 6 | 6 | 1.46 | 100
Unit 66 | 5 | 5 | 3.68 | 100
Unit 67 | 5 | 5 | 2.61 | 100
Unit 69 | 4 | 4 | 2.64 | 100
Unit 71 | 3 | 3 | 2.56 | 100
Unit 72 | 3 | 3 | 1.03 | 100

## Slide 7: IRR GREDP ≥ 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 73 | 3 | 3 | 6.01 | 100.00
Unit 74 | 3 | 3 | 5.76 | 100.00
Unit 75 | 2 | 2 | 5.19 | 100.00
Unit 76 | 2 | 2 | 2.89 | 100.00
Unit 78 | 2 | 2 | 4.18 | 100
Unit 79 | 2 | 2 | 4.20 | 100
Unit 80 | 2 | 2 | 3.76 | 100.00
Unit 81 | 2 | 2 | 3.46 | 100.00
Unit 82 | 2 | 2 | 5.23 | 100.00
Unit 84 | 2 | 2 | 4.40 | 100.00
Unit 85 | 1 | 1 | 3.92 | 100.00
Unit 91 | 1 | 1 | 3.43 | 100

## Slide 8: IRR GREDP ≥ 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 92 | 1 | 1 | 3.85 | 100
Unit 93 | 1 | 1 | 3.93 | 100
Unit 94 | 1 | 1 | 4.65 | 100
Unit 95 | 1 | 1 | 4.93 | 100
Unit 96 | 1 | 1 | 2.61 | 100
Unit 97 | 1 | 1 | 1.99 | 100
Unit 98 | 1 | 1 | 2.65 | 100
Unit 99 | 1 | 1 | 3.85 | 100
Unit 101 | 1 | 1 | 3.64 | 100
Unit 102 | 1 | 1 | 3.94 | 100
Unit 103 | 1 | 1 | 3.60 | 100
Totals | 12,322 | 12,629 | 3.61 | 98.88

## Slide 9: IRR GREDP < 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 10 | 339 | 357 | 2.69 | 94.96
Unit 15 | 264 | 285 | 4.50 | 92.63
Unit 16 | 202 | 226 | 4.72 | 89.38
Unit 17 | 188 | 198 | 1.72 | 94.95
Unit 18 | 184 | 200 | 2.01 | 92.00
Unit 20 | 173 | 200 | 2.02 | 86.50
Unit 25 | 124 | 147 | 3.42 | 84.35
Unit 27 | 98 | 120 | 6.78 | 81.67
Unit 28 | 83 | 90 | 2.83 | 92.22
Unit 29 | 82 | 90 | 3.10 | 91.11
Unit 31 | 67 | 72 | 5.88 | 93.06
Unit 34 | 62 | 113 | 5.48 | 54.87

## Slide 10: IRR GREDP < 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 35 | 57 | 61 | 3.49 | 93.44
Unit 37 | 56 | 66 | 2.87 | 92
Unit 38 | 54 | 60 | 1.42 | 93
Unit 39 | 53 | 83 | 2.61 | 63.86
Unit 41 | 47 | 60 | 2.30 | 78.33
Unit 44 | 45 | 48 | 2.20 | 94
Unit 47 | 35 | 40 | 3.00 | 87.50
Unit 48 | 34 | 46 | 2.19 | 73.91
Unit 49 | 34 | 39 | 3.10 | 87.18
Unit 50 | 34 | 36 | 2.62 | 94.44
Unit 51 | 29 | 31 | 1.51 | 93.55
Unit 53 | 19 | 34 | 2.63 | 90

## Slide 11: IRR GREDP < 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 54 | 18 | 19 | 4.04 | 94.74
Unit 55 | 17 | 27 | 3.97 | 62.96
Unit 56 | 17 | 19 | 4.22 | 89.47
Unit 58 | 9 | 28 | 3.96 | 32.14
Unit 59 | 8 | 20 | 1.67 | 40.00
Unit 60 | 7 | 9 | 2.63 | 77.78
Unit 61 | 7 | 10 | 4.53 | 70.00
Unit 62 | 7 | 10 | 2.01 | 70.00
Unit 64 | 5 | 7 | 6.06 | 71.43
Unit 65 | 5 | 9 | 2.00 | 55.56
Unit 68 | 4 | 7 | 7.41 | 57.14
Unit 70 | 3 | 5 | 3.28 | 60.00

## Slide 12: IRR GREDP < 95% June 2017
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 77 | 2 | 3 | 2.80 | 33
Unit 83 | 2 | 4 | 3.56 | 50.00
Unit 86 | 1 | 7 | 5.43 | 14.29
Unit 87 | 1 | 7 | 5.56 | 14.29
Unit 88 | 1 | 7 | 4.77 | 14.29
Unit 89 | 1 | 7 | 5.02 | 14.29
Unit 90 | 1 | 4 | 3.01 | 25.00
Unit 100 | 1 | 2 | 4.47 | 50.00
Totals | 2,480 | 2,913 | 3.53 | 70.12