## Process_Assumptions
Process & Assumptions
1) This process utilizes 867 reads with a stop date ending in the prior month
2) Data selected from database for analysis as per dates noted on Read Statistics tab
3) Selected all AMS reads (where ESI ID has AMS profile & status = 'A' or 'D') with start times within 60 days of the first of the reporting month to the last day of the reporting month
4) Both estimated and actual 867 and AMS reads were selected
5) Selected 867 records that have AMS reads (if an ESI ID has an 867 but no AMS read then the 867 record is dropped)
6) Sum up AMS totals for the period of the coinciding 867 read
7) Calculate the delta between 867 and AMS kWh
a) (Delta kWh) = [(867 kWh) - round(AMS kWh)] / (867 kWh)
b) If both the 867 kWh and AMS kWh are zero, then Delta kWh = 0
c) If 867 kWh is zero and AMS kWh is non-zero, then the comparison cannot be performed and the record is removed from further reporting analysis
Disconnect Type Breakout
Data separated into three groups based on disconnect type
a) AMSR - Remote disconnect type, thought to have a meter multiplier of 1
b) AMSM - Manual disconnect type, may not have a meter multiplier of 1
c) Unknown - Remote disconnect type not designated

## Read_Stats_Data
Data Description | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01
Date of Data Pull | 2014-10-27 | 2014-10-27 | 2014-10-27 | 2014-11-07 | 2015-01-14 | 2015-01-30 | 2015-02-16 | 2015-03-25 | 2015-04-20 | 2015-05-18 | 2015-06-16 | 2015-07-16 | 2015-08-17 | 2015-09-15 | 2015-10-15 | 2015-11-16 | 2015-12-15 | 2016-01-15 | 2016-02-15 | 2016-03-18 | 2016-04-15 | 2016-05-16 | 2016-06-15 | 2016-07-15 | 2016-08-15 | 2016-09-15 | 2016-10-17 | 2016-11-15 | 2016-12-15 | 2017-01-16 | 2017-02-15 | 2017-03-15 | 2017-04-17 | 2017-05-15 | 2017-06-15
Starting Reads | 7111155 | 6489299 | 7434052 | 7256268 | 6459392 | 6918452 | 6818892 | 6692558 | 7613534 | 7021042 | 6745714 | 7395326 | 7096479 | 7466307 | 7097403 | 7061810 | 6749192 | 6911745 | 7104789 | 7114703 | 7112003 | 7476210 | 6774185 | 7550788 | 7534683 | 6907450 | 7771494 | 6892248 | 7603394 | 6874661 | 6700377 | 7775926 | 6939541 | 7451099 | 7003103
Removed due to zero kWh 867 and non-zero AMS total | 7196 | 6678 | 6780 | 7300 | 6057 | 6286 | 6044 | 6234 | 6895 | 6409 | 6813 | 7022 | 6793 | 5684 | 5576 | 5709 | 5138 | 5318 | 5737 | 5790 | 6142 | 6520 | 5872 | 6606 | 7173 | 6088 | 6815 | 5830 | 5902 | 5803 | 5211 | 6357 | 5560 | 5928 | 5307
All analyzed reads | 7103959 | 6482621 | 7427272 | 7248968 | 6453335 | 6912166 | 6812848 | 6686324 | 7606639 | 7014633 | 6738901 | 7388304 | 7089686 | 7460623 | 7091827 | 7056101 | 6744054 | 6906427 | 7099052 | 7108913 | 7105861 | 7469690 | 6768313 | 7544182 | 7527510 | 6901362 | 7764679 | 6886418 | 7597492 | 6868858 | 6695166 | 7769569 | 6933981 | 7445171 | 6997796
Removed due to AMS reads being within (inclusive) 2kWh or 2% of 867 | 6983663 | 6395122 | 7333601 | 7159498 | 6369910 | 6831928 | 6738150 | 6617800 | 7536301 | 6943520 | 6667525 | 7307531 | 7015192 | 7392415 | 7035793 | 6997781 | 6672933 | 6823529 | 7051072 | 7057252 | 7060054 | 7422597 | 6724970 | 7490354 | 7472330 | 6852499 | 7713337 | 6839409 | 7547132 | 6818144 | 6654278 | 7727518 | 6894080 | 7401120 | 6948208
Analyzed reads (subset with deltas greater than 2kWh and 2%) | 120296 | 87499 | 93671 | 89470 | 83425 | 80238 | 74698 | 68524 | 70338 | 71113 | 71376 | 80773 | 74494 | 68208 | 56034 | 58320 | 71121 | 82898 | 47980 | 51661 | 45807 | 47093 | 43343 | 53828 | 55180 | 48863 | 51342 | 47009 | 50360 | 50714 | 40888 | 42051 | 39901 | 44051 | 49588
% Counts Greater Than 2 kWh and 2% | 1.693% | 1.35% | 1.261% | 1.234% | 1.293% | 1.161% | 1.096% | 1.025% | 0.9247% | 1.014% | 1.059% | 1.093% | 1.051% | 0.9142% | 0.7901% | 0.8265% | 1.055% | 1.2% | 0.6759% | 0.7267% | 0.6446% | 0.6305% | 0.6404% | 0.7135% | 0.733% | 0.708% | 0.6612% | 0.6826% | 0.6629% | 0.7383% | 0.6107% | 0.5412% | 0.5754% | 0.5917% | 0.7086%
Absolute Sum of kWh Greater Than 2 kWh and 2% | [6 empty] | 17900925.892 | 15622183.676 | 14936361.2 | 12380977.83 | 14609562.602 | 18598675.474 | 15924114.266 | 17104859.994 | 14488437.434 | 12042770.716 | 9585069.514 | 8288240.444 | 8749931.184 | 7157863.639 | 5625571.639 | 5664436.69 | 4998846.036 | 7033891 | 8488511 | 9679291 | 7935283 | 6513722 | 6277768 | 6860569 | 5744832 | 6068941 | 4894185 | 5048904 | 6562350
[20 empty] | 15-day lag | 45-day lag

## Counts_Above_Threshold
ERCOT - Count of AMSR Cycle Reads Above Threshold
| 2014-10-01 | 2015-01-01 | 2015-04-01 | 2015-07-01 | 2015-12-01 | 2016-03-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01
>1000 | 1387 | 827 | 376 | 1132 | 259 | 37 | 369 | 237 | 194 | 107 | 135 | 119 | 150 | 60 | 77 | 112
>500 |  | 2196 | 1440 | 2703 | 573 | 120 | 963 | 570 | 467 | 286 | 560 | 424 | 444 | 209 | 293 | 292
>250 |  | 4381 | 3659 | 5586 | 1187 | 299 | 1910 | 1223 | 921 | 740 | 1490 | 1031 | 987 | 594 | 750 | 947
>2 |  | 32272 | 25909 | 32050 | 44492 | 10326 | 11617 | 9947 | 9832 | 11484 | 15081 | 10420 | 8228 | 7325 | 8595 | 14137
[5 empty] | 15-day lag | 45-day lag

## Analyzed Reads by SO
Analyzed Reads by Service Order
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01
AMSR - All Analyzed Reads | 96160 | 67930 | 71014 | 65780 | 60534 | 57687 | 53576 | 48787 | 48101 | 49264 | 49684 | 59824 | 56063 | 50744 | 39995 | 40262 | 49054 | 61965 | 29654 | 32381 | 26060 | 24413 | 33190 | 36480 | 33841 | 35308 | 32598 | 32741 | 32674 | 23594 | 22594 | 21491 | 23557 | 30457
AMSR - Cycle Read | 58356 | 35789 | 35648 | 37610 | 37409 | 37631 | 32273 | 25746 | 23125 | 25908 | 27656 | 28966 | 32053 | 26158 | 18677 | 21863 | 27281 | 44540 | 14346 | 14687 | 10525 | 10410 | 14894 | 15911 | 11624 | 9946 | 9883 | 11468 | 15081 | 10406 | 8234 | 7783 | 8596 | 14126
AMSR - Move In/Out | 29634 | 25302 | 27857 | 21242 | 17901 | 15792 | 16927 | 17450 | 19442 | 17841 | 17804 | 27232 | 21811 | 21739 | 19376 | 16953 | 19351 | 15943 | 14249 | 15853 | 14319 | 13056 | 16845 | 19147 | 20393 | 22927 | 20235 | 19602 | 16378 | 12630 | 13732 | 13147 | 14367 | 15308
AMSR - Switch | 8170 | 6839 | 7509 | 6928 | 5224 | 4264 | 4376 | 5591 | 5534 | 5515 | 4224 | 3626 | 2199 | 2847 | 1942 | 1446 | 2422 | 1482 | 1059 | 1841 | 1216 | 947 | 1451 | 1422 | 1824 | 2435 | 2480 | 1671 | 1215 | 558 | 628 | 561 | 594 | 1023
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01
AMSM - All Analyzed Reads | 23405 | 18904 | 21858 | 22940 | 22215 | 21904 | 20453 | 19185 | 21745 | 21420 | 21149 | 20408 | 17866 | 17336 | 15923 | 17961 | 21968 | 20821 | 18240 | 19179 | 20974 | 18869 | 20575 | 18614 | 14931 | 15937 | 14327 | 17501 | 17936 | 17185 | 19343 | 18299 | 20406 | 19046
AMSM - Cycle Read | 19069 | 15663 | 18231 | 19307 | 18618 | 18995 | 17286 | 16100 | 18094 | 18066 | 17566 | 16875 | 15197 | 15105 | 13868 | 16146 | 19760 | 18821 | 15669 | 16704 | 18629 | 16881 | 17780 | 15668 | 12508 | 13635 | 12490 | 15479 | 16066 | 15399 | 16367 | 15981 | 18110 | 16829
AMSM - Move In/Out | 2885 | 2414 | 2690 | 2599 | 2167 | 2000 | 2280 | 2311 | 2760 | 2427 | 2347 | 2135 | 1707 | 1562 | 1577 | 1427 | 1531 | 1363 | 1474 | 1483 | 1504 | 1321 | 1544 | 1544 | 1448 | 1536 | 1354 | 1542 | 1375 | 1171 | 1736 | 1400 | 1524 | 1365
AMSM - Switch | 1451 | 827 | 937 | 1034 | 1430 | 909 | 887 | 774 | 891 | 927 | 1236 | 1398 | 962 | 669 | 478 | 388 | 677 | 637 | 1097 | 992 | 841 | 667 | 1251 | 1402 | 975 | 766 | 483 | 480 | 495 | 615 | 1240 | 918 | 772 | 852
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | 2017-03-01 | 2017-04-01
Unknown - All Analyzed Reads | 731 | 665 | 799 | 750 | 676 | 647 | 669 | 552 | 492 | 429 | 543 | 541 | 565 | 128 | 116 | 97 | 99 | 112 | 86 | 101 | 59 | 61 | 63 | 86 | 91 | 97 | 84 | 118 | 104 | 109 | 114 | 111 | 88 | 85
Unknown - Cycle Read | 352 | 316 | 393 | 374 | 317 | 279 | 254 | 205 | 183 | 169 | 225 | 217 | 156 | 62 | 67 | 45 | 37 | 69 | 38 | 53 | 21 | 24 | 30 | 35 | 50 | 45 | 33 | 52 | 57 | 68 | 57 | 61 | 35 | 37
Unknown - Move In/Out | 374 | 347 | 400 | 367 | 355 | 365 | 412 | 344 | 306 | 257 | 312 | 321 | 408 | 65 | 49 | 52 | 62 | 40 | 46 | 47 | 37 | 37 | 33 | 49 | 41 | 52 | 47 | 65 | 47 | 40 | 57 | 50 | 51 | 47
Unknown - Switch | 5 | 2 | 6 | 9 | 4 | 3 | 3 | 3 | 3 | 3 | 6 | 3 | 1 | 1 | 0 | 0 | 0 | 3 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 4 | 1 | 0 | 1 | 0 | 0 | 2 | 1