## Slide 1
TDSP AMSR Cycle Read Analysis
AMWG Meeting
July 20, 2017

## Slide 2: AMSR Cycle Read Analysis
Scope limited to March 2017 AMSR Cycle Reads where the kWh delta was greater than +/- 500 kWh
  293 ESI IDs identified
  289 ESI IDs root cause determined
  4 ESI IDs still under investigation
TDSPs performed root cause analysis and grouped outliers into buckets
  One new category added

## Slide 3: Counts by Category

## Slide 4: Timing and Content of Next Report
Below is the proposed schedule if TDSP detailed analysis is still necessary
Limit scope to July 2017 AMSR Cycle Reads where the kWh delta is greater than 500 kWh
ERCOT Pull July data the week of September 18th and provide files to each TDSP, no later than September 22nd
TDSP’s perform detailed analysis and provide results to ERCOT with groupings into categories, no later than October 30th
ERCOT compiles TDSP analysis for the November 16th AMWG meeting