# DRAFT

# Minutes of the Technical Advisory Committee (TAC) Meeting

# ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Thursday, May 25, 2017 – 9:30 a.m.

Attendance Members: Adair, Marshall Residential Consumer Allen, Thresa AvanGrid Renewables Bailey, Dan Garland Power and Light Barnes, Bill Reliant Energy Retail Services Blakey, Eric Just Energy Texas Boyd, Phillip City of Lewisville Brandt, Adrianne CPS Energy Brewster, Chris City of Eastland Burke, Tom Golden Spread Electric Cooperative Alt. Rep. for M. Wise Coleman, Diana OPUC Comstock, Read Direct Energy Day, Smith Denton Municipal Electric Alt. Rep. for L. Cunningham Dumas, John LCRA English, Barksdale Austin Energy Flowers, BJ Sharyland Utilities Frazier, Amanda Luminant Generation Goff, Eric Citigroup Energy Greer, Clayton Morgan Stanley Hassan, Mohsin Discount Power Hellinghausen, Bill EDF Energy Services Helton, Bob GDF Suez Lange, Clif STEC Martin, Collin Oncor Meehan, Colin First Solar Messer, Tayaun Rayburn Country Electric Cooperative Pridgeon, Marcus CMC Steel Texas Ross, Richard AEP Service Corporation Smith, Bill Air Liquide Thurnher, Greg Shell Energy North America Via Teleconference The following Proxies were assigned: Valentine Emesih to Collin Martin Greg Thurnher to Clayton Greer Guests: Abbott, Kristin PUCT Via Teleconference Allen, Travis Enbridge Via Teleconference Anson, Tom SPPG Arrigo, Garrett Shell Via Teleconference Bern, Alan Oncor Blevins, Chad Grid Economics Via Teleconference Bone, Gavin CPS Energy Borkar, Sandeep University of Texas Via Teleconference Bruce, Mark Cratylus Advisors Bryant, Mark PUCT Via Teleconference Bunch, Kevin EDF Trading Via Teleconference Cantwell, Teresa LCRA Via Teleconference Checkley, Jim CTT Cherry, Derrick Southern Via Teleconference Cook, Tim Cross Texas Transmission Via Teleconference Cripe, Ramsey Schneider Engineering Via Teleconference Detelich, David CPS Energy Via Teleconference Downey, Marty Enchanted Rock/Viridity Energy Elliot, Andrew Engie Via Teleconference Elliot, Christopher BA/ML Via Teleconference Engelby, Ben ACES Power Via Teleconference Evans, Doug STEC Via Teleconference Fernandes, John Invenergy Via Teleconference Foos, Richard Calpine Via Teleconference Gibune, Charles DNVGL Via Teleconference Gomes, Matt Origis Energy Gross, Blake AEPSC Handfelt, Ian EDF Trading Via Teleconference Henderson, Norris FERC Via Teleconference Henson, Martha Oncor Hudis, Gabriella Gabel Associates Via Teleconference Hurst, Jay Schneider Engineering Via Teleconference Ingraham, Deborah Texas Electric Coops Jerrard, Molly EnerNOC Via Teleconference Kee, David CPS Energy Kim, Judith Dynegy Kremling, Barry GVEC Kroskey, Tony Brazos Via Teleconference Lee, Jim AEP Lee, Tyler Koch Industries Via Teleconference Lugo, Luis Shell Via Teleconference McCalla, David Lubbock Power and Light Via Teleconference McConnell, Jeremy Oncor McKeever, Debbie Oncor Via Teleconference Ming, Tim EDF Trading Via Teleconference Natti, Satish DNVGL Via Teleconference Owens, Frank Cross Texas Transmission Powell, Christian LCRA Reedy, Steve IMM Rehfeldt, Diana TNMP Via Teleconference Robertson, Jennifer LCRA Rose, Matt Lubbock Power and Light Via Teleconference Rothschild, Eric GDS Via Teleconference Sams, Bryan NRG Sandidge, Clint Calpine Solutions Scott, Kathy CenterPoint Energy Shaw, Marka Exelon Via Teleconference Siddiqi, Shams Crescent Power Sithuraj, Murali Austin Energy Smith, Caitlin Jewell & Associates Via Teleconference Smith, Tom “Smitty” Public Citizen Tabrizi, Mehriar DNVGL Via Teleconference Thompson, David PEC Thurnher, Greg Shell Via Teleconference Trenary, Michelle Tenaska Power Services Via Teleconference Verduzco, Miguel Mercuria Via Teleconference Von Pinho, Fred NextEra Energy Via Teleconference Walker, Mark NRG White, Lauri AEP Texas Whittle, Brandon Megawatt Analytics Whitworth, Doug Texas Reliability Entity Via Teleconference Wittmeyer, Bob DME Woodruff, Taylor Oncor Via Teleconference Woods, Brad Texas Reliability Entity Via Teleconference Zake, Diana Lone Star Transmission ERCOT Staff: Albracht, Brittney Bernecker, John Via Teleconference Billo, Jeff Bivens, Carrie Blevins, Bill Boren, Ann Boswell, Bill Via Teleconference Bracy, Phillip Butterfield, Lindsay Via Teleconference Clifton, Suzy Day, Betty Via Teleconference Dovalina, Julio Via Teleconference Farley, Karen Via Teleconference Fleming, Lauren Via Teleconference Hanson, Kevin Via Teleconference Gnanam, Prabhu Gonzalez, Ino Via Teleconference Hailu, Ted Via Teleconference Landry, Kelly Via Teleconference Lightener, Debbie Via Teleconference Mele, Cheryl Morehead, Juliana Via Teleconference Phillips, Cory Reed, Bobby Via Teleconference Richardson, Ben Via Teleconference Richardson, Jana Via Teleconference Roberts, Randy Via Teleconference Rosel, Austin Via Teleconference Ruane, Mark Sharma, Sandip Via Teleconference Shaw, Pamela Via Teleconference Solis, Stephen Via Teleconference Teixeira, Jay Via Teleconference Townsend, Aaron Via Teleconference Warnken, Pete Via Teleconference Wattles, Paul Via Teleconference Weaver, Eileen Via Teleconference Unless otherwise indicated, all Market Segments were present for a vote. Adrianne Brandt called the May 25, 2017 TAC meeting to order at 9:30 a.m. Antitrust Admonition Ms. Brandt directed attention to the displayed Antitrust Admonition, and noted that the Antitrust Guidelines are available for review the ERCOT website.

Approval of TAC Meeting Minutes March 23, 2017 This item was postponed.

April ERCOT Board Update Ms. Brandt noted the disposition of revision requests considered at the April 4, 2017 ERCOT Board meeting.

Protocol Revision Subcommittee (PRS) Report (see Key Documents) Ms. Brandt proposed TAC consider many voting items in a single motion, including those items advanced to TAC unanimously by the TAC subcommittees, items not requiring an ERCOT project, and items not requiring additional language revisions at TAC. Tom Burke moved to approve the Retail Market Subcommittee (RMS) Goals and the Wholesale Market Subcommittee (WMS) Procedures, and to recommend approval of: Nodal Protocol Revision Request (NPRR) 562, Subsynchronous Resonance, and NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition, as recommended by PRS in the respective 4/13/17 PRS Reports; NPRR796, Extended Character Set Clean Up, and NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2, as recommended by PRS in the respective 5/11/17 PRS Reports; Resource Registration Glossary Revision Request (RRGRR) 013, Resource Registration Glossary Revision Request Process, and Nodal Operating Guide Revision Request (NOGRR) 168, Nodal Operating Guide Revision Request Process, as recommended by ROS in the respective 5/4/17 ROS Reports; Retail Market Guide Revision Request (RMGRR) 145, Appendix for a Mass Customer List (MCL), and RMGRR147, Stand-Alone Discretionary Meter Tampering Charges, as recommended by RMS in the respective 3/28/17 RMS Reports; RMGRR146, Retail Market Guide Revision Request Process, as recommended by RMS in the 5/2/17 RMS Report; Commercial Operations Market Guide Revision Request (COMPGRR) 046, Commercial Operations Market Guide Revision Request Process, and Load Profiling Guide Revision Request (LPGRR) 062, Load Profiling Guide Revision Request Process, as recommended by the Commercial Operations Subcommittee (COPS) in the respective 5/10/17 COPS Reports; and Verifiable Cost Manual Revision Request (VCMRR) 018, Verifiable Cost Manual Revision Request Process, as recommended by WMS in the 4/5/17 WMS Report. Richard Ross seconded the motion. The motion carried unanimously. NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price by $0.25/MW per hour – URGENT Carrie Bivens reported that discussions with stakeholders continue for a long-term solution to the issue contemplated in NPRR827, and that should NPRR827 be approved by the ERCOT Board at its June 2017 meeting, a June 2017 implementation is anticipated. Ms. Bivens noted that a long-term solution requires additional coding that will require extensive testing. Eric Goff recommended a revised title for NPRR827 to reflect the $0.25/MW per hour threshold. Market Participants discussed potential continuing impacts in the Day-Ahead Market (DAM) and Real-Time Market (RTM). Mr. Goff moved to recommend approval of NPRR827 as recommended by PRS in the 5/11/17 PRS Report as revised by TAC, with a recommended effective date of upon system implementation. Amanda Frazier seconded the motion. The motion carried with one abstention from the Independent Retail Electric Provider (IREP) (Direct Energy) Market Segment. NPRR830, Revision of 4-Coincident Peak Methodology – URGENT Market Participants reviewed the Impact Analysis for NPRR830 and offered revisions to the Business Case. Ms. Frazier moved to recommend approval of NPRR830 as recommended by PRS in the 5/11/17 PRS Report and as revised by TAC. Mr. Ross seconded the motion. The motion carried unanimously. NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations – URGENT Ms. Frazier moved to recommend approval of NPRR831 as recommended by PRS in the 5/11/17 PRS Report as revised by TAC. Bill Barnes seconded the motion. Mr. Barnes requested that ERCOT accelerate the implementation of NPRR831 as much as possible. Mr. Comstock questioned whether the assigned priority and rank were sufficiently high. ERCOT Staff offered that NPRR831 is the fastest and most accurate solution to congestion being created at a Private Use Network site. Market Participants debated revisions to the Business Case. The motion carried with one objection from the Independent Power Marketer (IPM) (Shell) Market Segment, and one abstention from the IPM (Morgan Stanley) Market Segment.

Revision Request Previously Tabled by TAC (see Key Documents) Update on Appeal of NOGRR149, Revision to Definition of Transmission Operator (Tabled until August TAC Meeting) Tom Anson reported that three cities have submitted conditional requests to LCRA. TAC took no action on NOGRR149.

ROS Report (see Key Documents) Planning Guide Revision Request (PGRR) 056, Alignment with NPRR562, Subsynchronous Resonance Ann Boren noted baseline changes to PGRR056 due to the incorporation of PGRR054, Stability Limits in the Full Interconnect Study. Ms. Frazier moved to recommend approval of PGRR056 as recommended by ROS in the 4/6/17 ROS Report and as revised by TAC. Clif Lange seconded the motion. The motion carried unanimously. PGRR057, Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments Alan Bern reviewed the Revised Impact Analysis and the Business Case for PGRR057. Clayton Greer moved to recommend approval of PGRR057 as recommended by ROS in the 4/6/17 ROS Report. Mr. Lange seconded the motion. The motion carried unanimously. PGRR058, Clarification of Resources to be Included in the Planning Models Ms. Frazier expressed support for PGRR058 but noted that use of the term “All-Inclusive Generation Resource” persists in other ERCOT documents, and that additional work is required to clarify Resource definitions. Ms. Frazier moved to recommend approval of PGRR058 as recommended by ROS in the 5/4/17 ROS Report. Mr. Ross seconded the motion. The motion carried unanimously.

RMS Report (see Key Documents) There were no questions regarding the posted RMS Report.

COPS Report (see Key Documents) There were no questions regarding the posted COPS Report.

WMS Report (see Key Documents) Settlement Metering Operating Guide (SMOGRR) 021, Settlement Metering Operating Guide Revision Request Process Ms. Boren offered additional revisions to remove invalid references to “Alignment SMOGGRs”. Mr. Barnes moved to approve SMOGGRR021 as recommended by WMS in the 5/3/17 WMS Report and as revised by TAC. Mr. Ross seconded the motion. The motion carried unanimously.

ERCOT Reports (see Key Documents) Far West Texas Regional Planning Group (RPG) Project Prabu Gnanam presented the ERCOT independent review, a comparison of options, and the ERCOT recommendation for Option 2. Ms. Brandt reminded Market Participants that TAC has the opportunity to vote, but is not required. Mr. Greer moved to endorse the ERCOT recommendation for Option 2. Mr. Lange seconded the motion. The motion carried unanimously. Rayburn Country Electric Cooperative Load Integration Study Mr. Gnanam reviewed ERCOT’s criteria for the evaluation of 12 options, and presented ERCOT recommendation for Option 2. Ms. Brandt noted that Mr. Gnanam’s presentation was for TAC’s information only and required no TAC action. ERCOT-SPP Coordinated Lubbock Power and Light Integration Impact Study Results Jeff Billo presented information regarding the completed Lubbock Power and Light integration study. Mr. Billo noted that the study considers societal impacts, as requested, but that consumer impacts are likely to be minimal. Mr. Billo added that ERCOT has not concluded its independent review. Series Capacitor Update Fred Huang presented an update regarding NPRR562 and series capacitor operation. Market Participants thanked Mr. Huang for his leadership and efforts. Southern Cross Project Dan Woodfin provided an overview of the Southern Cross Transmission project and Public Utility Commission of Texas (PUCT) directives to ERCOT. Ms. Brandt opined that a majority of the directives will be of interest to both ROS and WMS and suggested, for efficiency, that the bodies host joint meetings, should issues require voting. Market Participants added that the PUCT directives do not limit the scope of discussion. Distributed Energy Resources Reliability White Paper Bill Blevins presented an overview of the Distributed Energy Resource white paper, a discussion of reliability impacts, and ERCOT recommendations. Ms. Brandt requested that Mr. Blevins begin discussions of concepts at ROS, and to the extent there are commercial impacts, move the discussions to WMS. Virtual Weather Zone Update Nikki McKenna reported that a Rio Grande Valley region forecast was created for internal studies, and that after discussions at stakeholder bodies, ERCOT will maintain the study area as virtual only, rather than creating an additional Weather Zone, and provide the forecast data to Market Participants in the form of a display. Ms. McKenna noted that a revision request would be submitted to effectuate the posting. Unregistered Distributed Generation Report Pete Warnken noted that paragraph (2) of Protocol Section 3.2.5.3, Unregistered Distributed Generation Reporting Requirements, requires ERCOT to update the appropriate TAC subcommittee on an as-needed basis on the unregistered Distributed Generation (DG) report required pursuant to paragraph (1) of that Section. Market Participants suggested that WMS be updated quarterly.

Other Business Resource Definitions Ms. Brandt requested that PRS form a task force for the review of Resource definitions, and that a member of ERCOT Staff be a member of task force leadership. Market Notices Ms. Frazier raised to TAC’s attention the May 19, 2017 Market Notice regarding extended Outages on certain Competitive Renewable Energy Zone (CREZ) 345kV Transmission Lines in Northwest Texas, and asked for an update on the basis for the extended Outages and plans to mitigate impacts. ERCOT Staff offered that it would host a WebEx on June 15, 2017 and requested that Market Participants provide advance questions through their Client Services representatives. Market Participants noted that useful questions may come as a result of the WebEx, requested that the WebEx notice and available advance questions be provided to the TAC listserv, and that a periodic updates be provided to TAC. ERCOT Staff also noted that it was informed by a third party that the third party is able to view other parties’ information in the issue tracking system of ERCOT’s Market Management System (MMS) vendor; that the vendor disabled the tool; and that ERCOT continues to gather information, but that it appears that only other customers of the vendor, using the same issue tracking tool, had access to other customers’ issues.

Adjournment Ms. Brandt adjourned the May 25, 2017 TAC meeting at 11:56 a.m.

# Footnotes

Unless otherwise indicated, Key Documents referenced herein may be accessed at the TAC meeting page.