| SCR Number | 792 | SCR Title | Enhance Communications of BAAL Exceedances |
| --- | --- | --- | --- |
| Date of Decision |  | July 20, 2017 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2017; Rank – 2060 |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 6.5.9.4, Energy Emergency Alert Protocol Section 6.5.9.4.1, General Procedures Prior to EEA Operations Protocol Section 6.5.9.4.2, EEA Levels |  |
| System Change Description |  | This System Change Request (SCR) allows ERCOT to send, via Inter-Control Center Communications Protocol (ICCP) to the appropriate Entities, the consecutive clock-minute average exceedances of Balancing Authority ACE Limit (BAAL). This SCR also creates a situational awareness display in the Market Information System (MIS) Public Area that displays consecutive clock-minute average exceedances of BAAL. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This SCR increases Market Participant awareness by providing the consecutive clock-minute average exceedances of BAAL via ICCP and in the MIS Public Area. |  |
| PRS Decision |  | On 6/15/17, PRS unanimously voted to recommend approval of SCR792 as submitted. All Market Segments were present for the vote. On 7/20/17, PRS unanimously voted to endorse and forward to TAC the 6/15/17 PRS Report and Impact Analysis for SCR792 with a recommended priority of 2017 and rank of 2060. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 6/15/17, the sponsor reviewed the proposed system changes described in SCR792, including the ICCP communication of clock-minute average exceedances of BAAL. On 7/20/17, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen Solis |
| E-mail Address | Stephen.solis@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6772 |
| Cell Number | 512-426-4721 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed System Change

Issue:

Per North American Electric Reliability Corporation (NERC) Reliability Standard EOP-011-1, Emergency Operations, as of April 1, 2017, ERCOT will enter an Energy Emergency Alert (EEA) Level 3 whenever system-wide Physical Responsive Capability (PRC) falls below 1375 MW, which is the minimum contingency reserve requirement for ERCOT.  ERCOT studies have shown that firm Load shed will be needed if PRC falls below 1000 MW threshold and is not expected to recover above 1000 MW within 30 minutes.

During discussion of Nodal Protocol Revision Request (NPRR) 824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2, April 13, 2017 Protocol Revision Subcommittee (PRS) meeting, participants suggested that providing the market with additional visibility into system conditions during an EEA Level 3 would aid the market as a whole in monitoring the changing system conditions during the event.

Resolution:

The proposed system changes will:

- Display consecutive clock-minute average exceedances of BAAL on the MIS Public Area under the existing display, “Real-Time System Conditions”; and

- Communicate consecutive clock-minute average exceedances of BAAL via ICCP to certain Entities, as appropriate.