Date:	July 27, 2017

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] - NPRR821, Elimination of the CRR Deration Process [DC Energy] - NPRR822, Designate Resource Node Procedure an Other Binding Document and Adjust the Process for Retiring Resource Nodes [ERCOT] - NPRR833, Modify PTP Obligation Bid Clearing Change – URGENT [ERCOT] - SCR792, Enhance Communications of BAAL Exceedances [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 2050 ERCOT Impact Analysis: Between $100k and $150k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Energy Management System (EMS), Data and Information Products (DAIP), Data Management; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR revises the categories of ERCOT initiated actions that trigger the Real-Time On-Line Reliability Deployment Price Adder pricing run in order for prices to reflect current system conditions. PRS Decision: On 6/15/17, PRS voted to recommend approval of NPRR768 as amended by the 6/1/17 TIEC Comments and as revised by PRS. There was one opposing vote from the Consumer (Occidental Chemical) Market Segment and one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 7/20/17, voted to endorse and forward to TAC the 6/15/17 PRS Report and Impact Analysis for NPRR768 with a recommended priority of 2017 and rank of 2050. There was one opposing vote from the Consumer (Occidental Chemical) Market Segment. - NPRR821, Elimination of the CRR Deration Process [DC Energy] Proposed Effective Date: Upon system implementation - Priority 2019; Rank 2500, but no earlier than July 1, 2019 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B), MMS, Integration, and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR eliminates the Congestion Revenue Right (CRR) deration process. PRS Decision: On 6/15/17, PRS voted to recommend approval of NPRR821 as amended by the 5/31/17 ERCOT comments. There were five opposing votes from the Consumer (Occidental Chemical), Independent Generator (Luminant), Independent Retail Electric Provider (IREP) (2) (Reliant Energy Retail Services, Discount Power), and Municipal (Austin Energy) Market Segments; and two abstentions from the IPM (Citigroup) and Investor Owned Utility (IOU) (CenterPoint) Market Segments. On 7/20/17, PRS voted via roll call to endorse and forward to TAC the 6/15/17 PRS Report and Impact Analysis for NPRR821 with a recommended rank of 2019 and priority of 2500, and a proposed effective date of upon system implementation but no earlier than July 1, 2019. There were six opposing votes from the Consumer (Occidental Chemical), Independent Generator (Luminant), IREP (2) (Direct Energy, Source Power and Gas), IOU (AEPSC), and Municipal (Austin Energy) Market Segments; and three abstentions from the IPM (Citigroup), IREP (Reliant Energy Retail Services), and IOU (CenterPoint) Market Segments. - NPRR822, Designate Resource Node Procedure an Other Binding Document and Adjust the Process for Retiring Resource Nodes [ERCOT] Proposed Effective Date: September 1, 2017 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR designates the “Procedure for Identifying Resource Nodes” an Other Binding Document and adjusts the process for handling Resource Nodes for retired Resources by allowing ERCOT to move a retired Resource’s Resource Node to a different, nearby energized Electrical Bus. PRS Decision: On 5/11/17, PRS unanimously voted to recommend approval of NPRR822 as amended by the 4/18/17 ERCOT comments. On 6/15/17, PRS unanimously voted to endorse and forward to TAC the 5/11/17 PRS Report as revised by PRS and the Impact Analysis for NPRR822. - NPRR833, Modify PTP Obligation Bid Clearing Change – URGENT [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1945 ERCOT Impact Analysis: Between $325k and $425k; no impacts to ERCOT staffing; impacts to MMS, EMS, Data Access & Transparency, and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adjusts the language introduced by NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price by $0.25/MW per hour, to account for the steady state that will result when ERCOT implements the long-term, automated change affecting Point-to-Point (PTP) Obligation bid clearing. PRS Decision: On 7/20/17, PRS unanimously voted to grant NPRR833 Urgent status. PRS then unanimously voted to recommend approval of NPRR833 as amended by the 6/29/17 ERCOT comments and to forward to TAC with a recommended priority of 2017 and rank of 1945. - SCR792, Enhance Communications of BAAL Exceedances [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 2060 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B), MMS, Integration, and DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR allows ERCOT to send, via Inter-Control Center Communications Protocol (ICCP) to the appropriate Entities, the consecutive clock-minute average exceedances of Balancing Authority ACE Limit (BAAL). This SCR also creates a situational awareness display in the Market Information System (MIS) Public Area that displays consecutive clock-minute average exceedances of BAAL. PRS Decision: On 6/15/17, PRS unanimously voted to recommend approval of SCR792 as submitted. On 7/20/17, PRS unanimously voted to endorse and forward to TAC the 6/15/17 PRS Report and Impact Analysis for SCR792 with a recommended priority of 2017 and rank of 2060. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the August 11, 2017 PRS Meeting - NPRR815, Revise the Limitation of Load Resources Providing Responsive Reserve (RRS) Service [Morgan Stanley] - NPRR817, Create a Panhandle Hub [DC Energy] - NPRR829, Incorporate Real-Time Non-Modeled Telemetered Net Generation by Load Zone into the Estimate of RTL [Enchanted Rock] - NPRR836, Incorporation of Other Binding Document Forms into Protocol Section 23 [ERCOT] - SCR791, Correction of 60-day SCED GRD Disclosure Report [MDWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR814, Modify Black Start Procurement Cycle [ERCOT] - NPRR819, Resettlement Clean-Ups [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR825, Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load [REMC] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve [E.ON] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR834, Clarifications for Repossessions of CRRs by ERCOT [ERCOT] - NPRR835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS) [E.ON] - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] New Revision Requests Scheduled for Consideration at the August 11, 2017 PRS Meeting - NPRR839, Clarification of ERCOT Forwarding of Consumption and Other Data [ERCOT] - NPRR840, Implementation of Infeasible Ancillary Service Protocol Revisions [ERCOT] - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] - NPRR842, Study Area Load Information [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr