| NPRR Number |  | NPRR Title | Exceptional Fuel Cost Included in the Mitigated Offer Cap |
| --- | --- | --- | --- |
| Date Posted |  |
| Requested Resolution | Normal |
| Nodal Protocol Sections Requiring Revision | 2.1, Definitions 2.2, Acronyms and Abbreviations 4.4.9.4.1, Mitigated Offer Cap |
| Related Documents Requiring Revision/Related Revision Requests | None |
| Revision Description | This Nodal Protocol Revision Request (NPRR) provides for the inclusion of exceptional fuel cost in the Mitigated Offer Cap (MOC) and proposes the following:  Allowing Qualified Scheduling Entities (QSEs) to submit weighted average fuel prices in the MOC for Real-Time mitigation, and  Consolidation of the calculation of the MOC into a single equation for clarification. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |
| Business Case | This NPRR incorporates an intraday or same-day weighted average fuel price (WAFP) into the Mitigated Offer Cap (MOC) to ensure Resources are capped at the appropriate cost during high fuel price events. Allowing exceptional fuel prices to be included into the MOC helps ensure that Locational Marginal Prices (LMPs) reflect the true incremental cost of fuel. This NPRR is the result of a collaborative effort between the Resource Cost Working Group and ERCOT with input from members of WMS and other stakeholders. |

| Sponsor |
| --- |
| Name | Ino González / Austin Rosel |
| E-mail Address | igonzalez@ercot.com / Austin.Rosel@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6800 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |
| --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Proposed Protocol Language Revision

2.1	DEFINITIONS

## Exceptional Fuel Cost

Exceptional Fuel Cost is the hourly volume-weighted price of natural gas purchased during an Operating Day or after the Day-Ahead nomination deadline of 1300 Central Prevailing Time (CPT) on the prior Operating Day.  Swing gas purchases may also be included as Exceptional Fuel Cost.  Fixed cost (Fees, penalties and similar non-gas costs) are excluded from Exceptional Fuel Cost.

2.2	ACRONYMS AND ABBREVIATIONS

MOC	Mitigated Offer Cap

##### 4.4.9.4.1	Mitigated Offer Cap

(1)	Energy Offer Curves may be subject to mitigation in Real-Time operations under Section 6.5.7.3, Security Constrained Economic Dispatch, using a Mitigated Offer Cap (MOC).  ERCOT shall construct an incremental MOC curve in accordance with Section 6.5.7.3 such that each point on the MOC curve is calculated as follows:

MOC q,r,h  =  Max [GIHR q,r * FIP, (IHR q,r * FPRC q,r + OM q,r ) * CFMLT q,r]

[NPRR664: Replace the equation above with the following upon system implementation:] MOC q,r,h = Max [GIHR q,r * FIPRr , (IHR q,r * FPRC q,r + OM q,r ) * CFMLT q,r]

Where,

If a QSE has submitted an Energy Offer Curve on behalf of a Generation Resource and the Generation Resource has approved verifiable costs, then

FPRC q,r = (FIP + FA q,r) * RTPERFIP q,r / 100 + (FOP + FA q,r) * RTPERFOP q,r / 100

[NPRR664: Replace the equation above with the following upon system implementation:] FPRC q,r = (FIPRr + FA q,r) * RTPERFIP q,r / 100 + (FOP + FA q,r) * RTPERFOP q,r / 100

If a QSE has not submitted an Energy Offer Curve on behalf of a Generation Resource and the Generation Resource has approved verifiable costs, then

FPRC q,r = (FIP + FA q,r) * GASPEROL q,r / 100 + (FOP +FA q,r) * OILPEROL q,r / 100 + (SFP + FA q,r) * SFPEROL q,r / 100

[NPRR664: Replace the equation above with the following upon system implementation:] FPRC q,r = (FIPRr + FA q,r) * GASPEROL q,r / 100 + (FOP +FA q,r) * OILPEROL q,r / 100 + (SFP + FA q,r) * SFPEROL q,r / 100

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| MOCq,r,h | $/MWh | Mitigated Offer Cap per Resource—The MOC for Resource r, for the hour. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| GIHR q,r | MMBtu/MWh | Generic Incremental Heat Rate—The generic, single-value, incremental heat rate. For Generation Resources with a Commercial Operations Date on or before January 1, 2004, the generic incremental heat rate shall be set to 10.5. For Generation Resources that have a Commercial Operations Date after January 1, 2004, this value shall be set to 14.5. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| IHR, q,r | MMBtu/MWh | Verifiable Incremental Heat Rate per Resource —The verifiable incremental heat rate curve for Resource r, as approved in the verifiable cost process. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| FIP | $/MMBtu | Fuel Index Price—The natural gas index price as defined in Section 2.1, Definitions. |
| [NPRR664: Replace the variable FIP above with the following upon system implementation:] FIPRr $/MMBtu Fuel Index Price per Resource—The natural gas index price as defined in Section 2.1, Definitions. |
| RTPERFIP q,r | none | Fuel Index Price Percentage—The percentage of natural gas used by Resource r to operate above LSL, as submitted with the energy offer curve. |
| FOP | $/MMBtu | Fuel Oil Price—The fuel oil index price as defined in Section 2.1. |
| RTPERFOP q,r | none | Fuel Oil Price Percentage—The percentage of fuel oil used by Resource r to operate above LSL, as submitted with the energy offer curve. |
| SFP | $/MMBtu | Solid Fuel Price—The solid fuel index price is $1.50. |
| FPRC q,r | $/MMBtu | Fuel Price Calculated per Resource—The calculated index price for fuel for the Resource based on the Resources fuel mix. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| GASPEROL q,r | none | Percent of Natural Gas to Operate Above LSL—The percentage of natural gas used by Resource r to operate above LSL, as approved in the verifiable cost process. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| OILPEROL q,r | none | Percent of Oil to Operate Above LSL—The percentage of fuel oil used by Resource r to operate above LSL, as approved in the verifiable cost process. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| SFPEROL q,r | none | Percent of Solid Fuel to Operate Above LSL—The percentage of solid fuel used by Resource r to operate above LSL, as approved in the verifiable cost process. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. |
| FA q,r | $/MMBtu | Fuel Adder—The fuel adder is the average cost above the index price Resource r has paid to obtain fuel. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. See the Verifiable Cost Manual for additional information. |
| OM q,r | $/MWh | Variable Operations and Maintenance Cost above LSL—The O&M cost for Resource r to operate above LSL, including an adjustment for emissions costs, as approved in the verifiable cost process. Where for a Combined Cycle Train, the Resource r is a Combined Cycle Generation Resource within the Combined Cycle Train. See the Verifiable Cost Manual for additional information. |
| CFMLT q,r | none | Capacity Factor Multiplier—A multiplier based on the corresponding monthly capacity factor as described in paragraph (1)(e) below. |
| WAFPq,r,h | $/MMBtu | Weighted Average Fuel Price—The volume-weighted average intraday, same-day and spot price of fuel submitted to ERCOT during the Adjustment Period for a specific Resource and specific hour within the Operating Day, as described in paragraph (1)(g) below. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| h | none | The Operating Hour. |

(a)	If a QSE representing a Resource has submitted Exceptional Fuel Cost according to the requirements described in paragraph (g) below, the WAFP q,r,h submitted will replace the FIP and the (FIP + FA q,r) in the MOC equations above.

(b)	For a Resource contracted by ERCOT under paragraph (2) of Section 6.5.1.1, ERCOT Control Area Authority, ERCOT shall increase the O&M cost such that every point on the MOC curve is greater than the SWCAP in $/MWh.

(c) The MOC for Energy Storage Resources shall be calculated in accordance with Appendix 10, Procedures for Evaluating Costs and Caps for Energy Storage Resources, of the Verifiable Cost Manual.

(d)	For Quick Start Generation Resources (QSGRs) the MOC shall be adjusted  in accordance with Verifiable Cost Manual Appendix 7, Calculation of the Variable O&M Value and Incremental Heat Rate used in Real Time Mitigation for Quick Start Generation Resources (QSGRs).

(e)	The multipliers for the MOC calculation above are as follows:

(i)	1.10 for Resources running at a ≥ 50% capacity factor for the previous 12 months;

(ii)	1.15 for Resources running at a ≥ 30 and < 50% capacity factor for the previous 12 months;

(iii)	1.20 for Resources running at a ≥ 20 and < 30% capacity factor for the previous 12 months;

(iv)	1.25 for Resources running at a ≥ 10 and < 20% capacity factor for the previous 12 months;

(v)	1.30 for Resources running at a ≥ 5 and < 10% capacity factor for the previous 12 months;

(vi)	1.40 for Resources running at a ≥ 1 and < 5% capacity factor for the previous 12 months; and

(vii)	1.50 for Resources running at a less than 1% capacity factor for the previous 12 months.

(f)	The previous 12 months’ capacity factor must be updated by ERCOT by the 20th day of each month using the most recent data for use in the next month.  ERCOT shall post to the MIS Secure Area the capacity factor for each Resource before the start of the effective month.

(g)	During the Adjustment Period, a QSE representing a Resource may submit Exceptional Fuel Costs as a volume-weighted average fuel price for use in the MOC calculation for that Resource.

(i)	Exceptional Fuel Costs must exceed the FIP for the applicable Operating Day, plus $2/MMBtu, plus the applicable Fuel Adder for the Resource.

(ii)	The Exceptional Fuel Cost shall apply to at least 10% of the total fuel burned for the applicable hour.  Lesser volumes shall not be eligible for Exceptional Fuel Costs

(iii)	Exceptional Fuel Costs must be submitted individually for each Operating Hour for which they are applicable.  Values submitted outside of the Adjustment Period will be rejected and not used in the calculation of the MOC for the designated Operating Hour.

(iv)	Submission of fuel price for a Off-Line Resource???

(h)	No later than five Business Days after an Operating Day for which an Exceptional Fuel Costs submission is accepted by ERCOT systems, ERCOT shall issue a Market Notice indicating the affected Operating Hours and number of Resources, if more than one, that submitted Exceptional Fuel Costs for a particular Operating Day.

(i)	No later than 1700 Central Prevailing Time (CPT) on the 30th day following an Exceptional Fuel Costs submission, the submitting QSE shall provide ERCOT with documentation supporting the intraday or same-day fuel purchases.  Such information may include, but are not be limited to, documents of the following nature:  relevant contracts between the QSE or Resource Entity and fuel supplier, fuel purchase invoices, transportation, storage, balancing and distribution agreements, calculation of the Weighted Average Fuel Price, or any other documentation necessary to support the Exceptional Fuel Cost price and volume for the applicable period(s).

(j)	The accuracy of submitted Exceptional Fuel Costs and the need for  purchasing intraday or same-day gas must be attested to by a duly authorized officer or agent of the QSE representing the Resource.  The attestation must be provided in a standardized format acceptable to ERCOT and submitted with the other documentation described in paragraph (i) above.

(k)	ERCOT will use the submitted data to validate the Exceptional Fuel Costs for the applicable period.  In connection with the validation process ERCOT may request additional documentation or clarification of previously submitted documentation.  Such requests must be honored within ten Business Days.  ERCOT shall notify the Independent Market Monitor (IMM) if sufficient documentation is not submitted, or if documentation is not submitted in a timely manner, or if ERCOT determines that submitted documentation does not support the Exceptional Fuel Cost

(l)	At ERCOT’s sole discretion, submission and follow-up information deadlines may be extended on a case-by-case basis.

(m)	Failure of the QSE representing the Resource to comply with these requirements may result in ERCOT limiting the ability of the QSE representing the Resource from submitting Exceptional Fuel Costs for the specific Resource for a period of up to 12 months from the Operating Day of the original submission of Exceptional Fuel Costs.

# Comments

Does this need a 664 greybox to change this to FIPRr?

(10%) - Possible revision.

Move this Para to above (h) as it is not a check on the MOC calc.

“As soon as practicable” or “No later than 2 Bus days”

Possible delete.

Address applicability/value of this sentence.