| NPRR Number | 825 | NPRR Title | Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load |
| --- | --- | --- | --- |
| Date |  | July 7, 2017 |  |
| Submitter’s Information |  |  |  |
| Name |  | Dan Woodfin |  |
| E-mail Address |  | dwoodfin@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3115 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT provides these comments for two purposes: to provide information on some specific operating conditions that have occurred in recent weeks which cause ERCOT concern with the proposed requirements of Nodal Protocol Revision Request (NPRR) 825; and, to provide a potential compromise that will address ERCOT’s concerns with this proposed NPRR while allowing more market flexibility than what would be available under the proposed NPRR.

I. Recent Issues

Under the current Protocols, as amended by NPRR818, Allow Curtailment of Certain DC Tie Load Prior to Declaring Emergency Condition, ERCOT posts Direct Current Tie (DC Tie) limits for each hour of the day prior to 0600 in the Day Ahead.  The calculation of these limits for the Railroad tie is based solely on the Valley Import Generic Transmission Limit and does not include local transmission constraints or temporal constraints on generating units.  ERCOT then approves DC Tie export schedules up to the currently posted limits and is obligated to declare a Watch if a DC Tie Schedule needs to be cut.

In the brief time since NPRR818 was implemented, ERCOT has had to curtail DC Tie Schedules nine times by issuing a Watch.  Four of those times were due to problems on the CENACE (the grid operator on the Mexico side of the tie) system, one was due to the trip of a DC Tie, one was due to a Forced Outage on the ERCOT System and three were due to local constraints on the ERCOT System.

While improvements to the DC Tie limit tool that is expected to be developed under the proposed NPRR825 (to include consideration of localized constraints and temporal constraints on generating units) could potentially have avoided three of these curtailments, six of these Watches in the last two months would have required an Emergency Condition to be declared in order to cut the DC Tie export if NPRR825 had already been implemented as proposed.

ERCOT is particularly concerned with having to declare an Emergency Condition in order to cut DC Tie Schedules due to reasons that are not actually associated with conditions on the ERCOT Transmission Grid, but are instead due to a problem on the non-ERCOT side of the DC Tie that limits the ability of the non-ERCOT Control Area to accept power transfers over the tie.  Under NPRR825 as currently proposed, if CENACE experiences a transmission issue on their system that limits their ability to accept DC Tie import schedules, similar to what has occurred several times in the last few weeks, ERCOT would have to declare an Emergency Condition in the ERCOT Region in order to curtail the DC Tie export schedules on CENACE’s behalf.  This does not appear to be a true Emergency Condition, because this situation does not involve a threat to “the safety or reliability of the ERCOT System,” as required by the definition of Emergency Condition in Section 2.1, Definitions.

ERCOT is also concerned about having to declare an Emergency Condition when the DC Tie itself (or serially-connected equipment) is outaged.  If the DC Ties themselves experience a Forced Outage, ERCOT should not have to declare an Emergency Condition to cut DC Tie Schedules, as that Outage does not, by itself, threaten “the safety or reliability of the ERCOT System.”  It is simply a consequential Load loss, similar to an interruption of Load on a radial line.

Under the proposed language of NPRR825, if a Forced Outage occurs that lowers the limit on a DC Tie for a future hour after a tag is approved for that future hour, ERCOT will have to declare an Emergency Condition to cut a DC Tie export schedule, even if that schedule is not already flowing.  Similarly, if a Forced Outage lowers the limit on a DC Tie for the current hour plus multiple future hours, ERCOT will have to declare an Emergency Condition for the duration of the Outage, even if ERCOT is not experiencing an actual emergency at that point in time.  ERCOT believes this requirement is overbroad, as the Outage, again, does not threaten “the safety or reliability of the ERCOT System.”  ERCOT should be able to update DC Tie limits for future hours and curtail the future schedules without declaring an Emergency Condition.

II. Proposed Solution

ERCOT has had several discussions with representatives for Rainbow Energy Marketing Corporation – the sponsor of NPRR825 – to try to develop an alternative solution that would meet the needs of the market while addressing ERCOT’s concerns.  As a result of those discussions, ERCOT proposes an alternative solution below that will meet ERCOT’s requirements in a more market-oriented way than what is currently proposed in NPRR825.

ERCOT generally supports the concept of allowing market conditions to regulate the scheduling and flow of power over the DC Ties as a preferred mechanism for limiting the transfer of power across the DC Ties to a reliable level.  Therefore under the proposed solution, ERCOT would approve Electronic Tags (e-Tags) up to the lower of the available capacity of the DC Ties and any limits provided by the non-ERCOT Control Area.

However, ERCOT recognizes that Market Participants may not have access in a timely manner to all of the relevant information (e.g. upcoming unit outages that affect the limit) that is necessary in order for this mechanism to work sufficiently well to meet ERCOT’s reliability obligations.  Therefore ERCOT continues to recommend the development of the automated tool described in the 5/4/17 ERCOT comments and the posting of projected DC Tie limits on a rolling 48-hour-ahead basis (including consideration of localized transmission constraints, temporal constraints on generation units, derates/outages of DC Tie equipment, and any limits provided by the non-ERCOT Control Area).  These DC Tie limits would only be advisory in nature and would not be used to assess whether or not to approve e-Tags, but would inform the market when expected conditions may lower the amount that can be reliably transferred over the ties.

Under this proposal, since ERCOT will be approving e-Tags that may exceed its’ currently calculated DC Tie limits for a future hour and may have to curtail DC Tie exports on a more frequent basis or curtail DC Tie transfers due to derates/Outages of the tie or problems in the non-ERCOT Control Area, ERCOT does not believe it is appropriate to declare an Emergency Condition to cut DC Tie Schedules.  Therefore, ERCOT is proposing a new notification, called a DC Tie Curtailment Notice (DCTCN).  Whenever a DC Tie Schedule is curtailed by ERCOT, a DCTCN will be issued.  The DCTCN will be cancelled when the conditions requiring curtailment of the DC Tie Schedule pass.  This notice should satisfy Market Participants’ needs for ERCOT issuing public notices when DC Tie Schedules are curtailed without requiring ERCOT to declare an Emergency Condition when one does not exist, on the ERCOT System or when conditions requiring the DC Tie Load to be cut could have been avoided.

Revised Cover Page Language

| NPRR Number | 825 | NPRR Title | Require ERCOT to Issue a DC Tie Curtailment Notice Prior to Curtailing any DC Tie Load |
| --- | --- | --- | --- |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.10.7.7, DC Tie Limits 4.4.4, DC Tie Schedules 6.5.9.3.3, Watch 6.5.9.3.4, Emergency Notice |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) requires ERCOT to issue a Direct Current Tie (DC Tie) Curtailment Notice prior to curtailing Direct Current Tie Load. |  |

Revised Proposed Protocol Language

  - DEFINITIONS

DC Tie Curtailment Notice

A notification issued by ERCOT indicating the need for curtailment of Direct Current Tie (DC Tie) import or export schedules due to current system conditions.

3.10.7.7	DC Tie Advisory Limits

(1) 	Every hour, ERCOT shall post DC Tie advisory limits for each hour of the next 48 hours to the MIS Secure Area.  ERCOT may update these limits as system conditions change.  Any updated DC Tie advisory limits shall be posted to the MIS Secure Area as soon as practicable.

(2)	DC Tie advisory limits shall be based on expected, or actual system conditions, including Outages, for each hour of the Operating Day and shall be calculated as the lower of the available physical capacity of the DC Tie, the amount of DC Tie import and export that could flow without resulting in transmission security violations that would not be resolved by SCED, or, for the DC Ties with Mexico, any limits supplied by the Mexican system operator.  In setting these limits for a given hour, ERCOT shall assume that any Generation Resource shown to be available in its COP for a given hour will be self-committed or committed at the appropriate time through the Reliability Unit Commitment (RUC) process to resolve any transmission security violations resulting from DC Tie Schedules.  DC Tie Schedules are subject to the actual availability of that generation at the time the Generation Resource is needed, as well as other system conditions.

4.4.4	DC Tie Schedules

(1)	All schedules between the ERCOT Control Area and a non-ERCOT Control Area(s) over Direct Current Tie(s) (DC Ties(s)), must be implemented under these Protocols, any applicable North American Electric Reliability Corporation (NERC) Reliability Standards, North American Energy Standards Board (NAESB) Practice Standards, and operating agreements between ERCOT and the Comision Federal de Electricidad (CFE).

(2)	A DC Tie Schedule for hours in the Operating Day corresponding to an Electronic Tag (e-Tag) that is reported to ERCOT before 1430 in the Day-Ahead creates a capacity supply for the equivalent Resource or an obligation for the equivalent Load of the DC Tie in the DRUC process.  DC Tie Schedules corresponding to e-Tags approved after 1430 in the Day-Ahead for the Operating Day create a capacity supply or obligation in any applicable HRUC processes.  DC Tie Schedules corresponding to e-Tags approved after the Reliability Unit Commitment (RUC) snapshot are considered in the Adjustment Period snapshot in accordance with the market timeline.

(3)	A QSE that is an importer into ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Resource at that DC Tie Settlement Point for that Settlement Interval.

(4)	A QSE that is an exporter from ERCOT through a DC Tie in a Settlement Interval under an approved e-Tag must be treated as a Load at the DC Tie Settlement Point for that Settlement Interval and is responsible for allocated Transmission Losses, Unaccounted for Energy (UFE), System Administration Fee, and any other applicable ERCOT fees.  This applies to all exports across the DC Ties except those that qualify for the Oklaunion Exemption.

(5)	ERCOT shall approve any e-Tag that does not exceed the available physical capacity of the DC Tie and any limits supplied the non-ERCOT Control Area for the time period for which the e-Tag is requested unless a DC Tie Curtailment Notice is in effect for the particular DC Tie for which the e-Tag request is made.  While a DC Tie Curtailment Notice is in effect, ERCOT will deny any additional e-Tag requests that would exacerbate the transmission security violations that led to that DC Tie Curtailment Notice.

(6)	ERCOT shall perform schedule confirmation with the applicable non-ERCOT Control Area(s) and shall coordinate the approval process for the e-Tags for the ERCOT Control Area.  An e-Tag for a schedule across a DC Tie is considered approved if:

(a)	All Control Areas and Transmission Service Providers (TSPs) with approval rights approve the e-Tag (active approval); or

(b)	No Entity with approval rights over the e-Tag has denied it, and the approval time window has ended (passive approval).

(7)	Using the DC Tie Schedule information corresponding to e-Tags submitted by QSEs, ERCOT shall update and maintain a Current Operating Plan (COP) for each DC Tie for which the aggregated DC Tie Schedules for that tie show a net export out of ERCOT for the applicable interval.  When the net energy schedule for a DC Tie indicates an export, ERCOT shall treat the DC Tie as an Off-Line Resource and set the High Sustained Limit (HSL) and Low Sustained Limit (LSL) for that DC Tie Resource to zero.  ERCOT shall monitor the associated Resource Status telemetry during the Operating Period.  When the net energy schedule for a DC Tie shows a net import, the Resource HSL, High Ancillary Service Limit (HASL) and LSL must be set appropriately, considering the resulting net import.

(8)	A QSE exporting from ERCOT and/or importing to ERCOT through a DC Tie shall:

(a)	Secure and maintain an e-Tag service to submit e-Tags and monitor e-Tag status according to NERC requirements;

(b)	Submit e-Tags for all proposed transactions; and

(c)	Implement backup procedures in case of e-Tag service failure.

(9)	ERCOT shall post a notice to the MIS Certified Area when a confirmed e-Tag is downloaded, cancelled, or curtailed by ERCOT’s systems.

(10)	ERCOT shall use the DC Tie e-Tag MW amounts for Settlement.  The DC Tie operator shall communicate deratings of the DC Ties to ERCOT and other affected regions and all parties shall agree to any adjusted or curtailed e-Tag amounts.

(11)	DC Tie Load is considered as Load for daily and hourly reliability studies, and settled as Adjusted Metered Load (AML).  DC Tie Load is curtailed prior to other Load on the ERCOT System as described below , and during Energy Emergency Alert (EEA) events as set forth in Section 6.5.9.4.2, EEA Levels.

(12)	DC Tie Load shall neither be curtailed by ERCOT during the Adjustment Period, nor for more than one hour at a time, except for the purpose of maintaining reliability, or as indicated in paragraphs (13), (14) and (15) below.

(13)	If a system operator in a non-ERCOT Control Area requests curtailment of a DC Tie Schedule due to an actual or anticipated emergency in its Control Area, ERCOT may curtail the DC Tie Schedule.  If the DC Tie Schedule is curtailed, ERCOT shall post a DC Tie Curtailment Notice to the MIS Public Area as soon as practicable.

(14)	If a DC Tie experiences an Outage, ERCOT may curtail DC Tie Schedules that are, or that are expected to be, affected by the Outage based on system conditions and expected restoration time of the Outage.  ERCOT shall post a post a DC Tie Curtailment Notice to the MIS Public Area as soon as practicable.  Updated DC Tie limits shall be posted as required in paragraph (1) of Section 3.10.7.7, DC Tie Limits.

(15)	If market-based congestion management techniques embedded in SCED as specified in these Protocols will not be adequate to resolve one or more transmission security violations that would be fully or partially resolved by the curtailment of DC Tie Load and, in ERCOT’s judgment, no approved CMP is adequate to resolve those violations, ERCOT may instruct Resources to change output and, if still necessary, curtail DC Tie Load to maintain reliability and shall post a DC Tie Curtailment Notice to the MIS Public Area as soon as practicable.

6.5.9.3.3	Watch

(1)	A Watch is the third of four levels of communication issued by ERCOT in anticipation of a possible Emergency Condition.

(2)	ERCOT shall issue a Watch when ERCOT determines that:

(a)	Conditions have developed such that additional Ancillary Services are needed in the current Operating Period;

(b)	There are insufficient Ancillary Services or Energy Offers in the DAM;

(c)	Market-based congestion management techniques embedded in SCED as specified in these Protocols will not be adequate to resolve transmission security violations;

(d)	Forced Outages or other abnormal operating conditions have occurred, or may occur that require operations with active violations of security criteria as defined in the Operating Guides unless a CMP exists;

(e)	ERCOT varies from timing requirements or omits one or more Day-Ahead or Adjustment Period and Real-Time procedures;

(f)	ERCOT varies from timing requirements or omits one or more scheduling procedures in the Real-Time process; or

(g)	The SCED process fails to reach a solution, whether or not ERCOT is using one of the measures specified in paragraph (3) of Section 6.5.9.2, Failure of the SCED Process.

(3)	With the issuance of a Watch pursuant to paragraph (2)(a) above, ERCOT may exercise its authority to immediately procure the following services from existing offers:

(a)	Regulation Services;

(b)	RRS services; and

(c)	Non-Spin services.

(4)	If ERCOT issues a Watch because insufficient Ancillary Service Offers were received in the DAM or Supplemental Ancillary Service Market (SASM), and if the Watch does not result in sufficient offers and the DAM or SASM is executed with insufficient offers, then ERCOT may acquire the insufficient amount of Ancillary Services as follows:

(a)	The SASM process shall be conducted in accordance with Section 6.4.9.2.2, SASM Clearing Process.  If the SASM process is not sufficient, then;

(b)	The HRUC process shall be conducted to commit planned Off-Line Resources qualified to provide the Ancillary Service(s) that are insufficient in accordance with Section 5.2.2.2, RUC Process Timeline After an Aborted Day-Ahead Market.  If the HRUC process is not sufficient, then;

(c)	If the insufficiency arose due to insufficient Ancillary Service Offers received in the DAM or ERCOT needs to increase the Ancillary Service requirements after DAM clearing, ERCOT may assign the insufficient amounts of Ancillary Service(s) to QSEs with planned On-Line Resources qualified to provide the insufficient Ancillary Service(s), even if there are no existing Ancillary Service Offers for those QSEs’ Resources.  ERCOT shall prorate the required Ancillary Service capacity among QSEs representing On-Line capacity not already reserved for Ancillary Services in the COP in a way that maximizes the distribution of the assignment.

(d)	A QSE may request cancellation of the assignment of Ancillary Services to its On-Line Resources if there are equipment or Resource control issues which limit the ability of the Resources to provide the Ancillary Services.  If ERCOT accepts the cancellation, ERCOT may require QSEs to submit supporting information describing the Resource control issues.

(5)	ERCOT shall post the Watch message electronically to the MIS Public Area and shall provide verbal notice to all TSPs and QSEs via the Hotline.  Corrective actions identified by ERCOT must be communicated through Dispatch Instructions to all TSPs, DSPs and QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of the Watch.  To minimize the effects on the ERCOT System, each TSP or DSP shall identify and prepare to implement actions, including restoration of transmission lines as appropriate and preparing for Load shedding.  ERCOT may instruct TSPs or DSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notice of a Watch, each QSE, TSP, and DSP shall prepare for an Emergency Condition in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding the Resources’ fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven days from the date of the request.  The specific information that may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

- 6.5.9.3.4	Emergency Notice

(1)	Emergency Notice is the fourth of four levels of communication issued by ERCOT when operating in an Emergency Condition.

(2)	ERCOT shall issue an Emergency Notice for one or both of the following reasons:

(a)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market; or

(b)	Immediate action cannot be taken to avoid or relieve a Transmission Element operating above its Emergency Rating.

(3)	The actions ERCOT takes during an Emergency Condition depend on the nature and severity of the situation.

(4)	ERCOT is considered to be in an Emergency Condition whenever ERCOT Transmission Grid status is such that a violation of security criteria, as defined in the Operating Guides, presents the threat of uncontrolled separation or cascading Outages and/or large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of a Transmission Element, and no timely solution is obtainable through SCED or CMPs.

(5)	If the Emergency Condition is the result of a transmission problem, ERCOT shall act immediately to return the ERCOT System to a reliable condition, including instructing Resources to change output, curtailing any remaining DC Tie Load, and instructing TSPs or DSPs to drop Load.

(6)	If the Emergency Condition is the result of an Ancillary Service insufficiency, then ERCOT shall follow the EEA procedures.