## Slide 1: RDWG Update to ROS
Aug 3, 2017

## Slide 2: July 19 RDWG Meeting
The RDWG met on July 19, and discussed an ERCOT desire for changes to the Resource Registration Glossary to improve data for solar facilities.
Also discussed the status of the RARF v5.4 rollout, including business rule validations.

## Slide 3: Draft Solar RRGRR
RRGRR language is still being developed, but the focus of the proposed changes is primarily on improving the data quality for solar facilities.
Also will consider language enhancements to the glossary which would provide more guidance to market participants in different areas
Anticipate finishing language at the next RDWG meeting, then ERCOT will put it through internal review before generating an official RRGRR.

## Slide 4: RARF v5.4 Rollout
The latest RARF revision was due back into ERCOT on June 30, and 297 RARFs were expected: As of 6/30/17
    217 were received by the deadline
    79 of those passed initial validation, 138 rejected
  As of 7/26/17
    149 RARFs have been approved
    94 are still in a rejected status
    54 have still not been received

## Slide 5: RARF v5.4 Rollout cont.
During initial receipt of the RARFs, several errors were discovered in the business validation rules, causing initial rejection of the received RARFs.
The majority of the errors were identified and fixed within a few days
Occasional issues with the validation rules continue to appear, and the RDWG is working with Resource Registration to identify and fix the problems as they appear.

## Slide 6: Calendar
Next RDWG meeting is scheduled for Aug 28, 2017.