## Slide 1
Market Update
QSE Managers Working Group
Market Analysis
7/31/2017

## Slide 2: Supplemental Ancillary Services Market (SASM) Update
Insufficiency shown above and in MIS reports caused by rounding
There was no actual insufficiency with ~300+ MW RRS quantity offered for each hour

## Slide 3: Manual Overrides
No manual overrides

## Slide 4: SASM Summary since 2015
Chart: 39 SASMs since 2015
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 2015 | 2016 | 2017
# of SASMs | 0 | 2 | 2 | 2 | 6 | 0 | 0 | 0 | 1 | 2 | 3 | 0 | 4 | 1 | 2 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 2 | 2 | 2 | 1 | 0 | 1 | 1

## Slide 5: SASM Summary since 2015
Chart: 303 SASM-Hours since 2015
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 2015 | 2016 | 2017
# of SASM-Hours | 0 | 2 | 21 | 14 | 17 | 0 | 0 | 0 | 8 | 2 | 42 | 0 | 10 | 7 | 26 | 0 | 3 | 3 | 21 | 7 | 0 | 3 | 0 | 0 | 43 | 35 | 24 | 3 | 0 | 3 | 9

## Slide 6: SASM Cleared MWhs
Chart: REGUP=1575, REGDN=2202.5, RRS=3063.1, NSPIN=3675.2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 2015 | 2016 | 2017
REGUP Cleared MWh | 0 | 0 | 248.3 | 239.6 | 54.2 | 0 | 0 | 0 | 18.6 | 12 | 245 | 0 | 0 | 70 | 56.3 | 0 | 0 | 0 | 0 | 112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 519 | 0 | 0
REGDN Cleared MWh | 0 | 0 | 105 | 264 | 150 | 0 | 0 | 0 | 0 | 12 | 138.7 | 0 | 0 | 0 | 53.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1016 | 108 | 355.7 | 0 | 0 | 0 | 0
RRS Cleared MWh | 0 | 126 | 553.5 | 0 | 553.4 | 0 | 0 | 0 | 120 | 0 | 427.8 | 0 | 330.3 | 0 | 53 | 0 | 95.8 | 24 | 0 | 0 | 0 | 150.1 | 0 | 0 | 192.5 | 0 | 219.5 | 82.2 | 0 | 0 | 135
NSPIN Cleared MWh | 0 | 0 | 726.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2440.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 420 | 0

## Slide 7: SASM Offered MWhs
Chart: REGUP=9607, REGDN=14563, RRS=48574.2, NSPIN=13534.1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 2015 | 2016 | 2017
REGUP Offer MWh | 0 | 0 | 424.5 | 771.8 | 269 | 0 | 0 | 0 | 184.6 | 145.2 | 531.5 | 0 | 0 | 1818.8 | 881 | 0 | 0 | 0 | 0 | 1983.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2597 | 0 | 0
REGDN Offer MWh | 0 | 0 | 345 | 1482 | 223 | 0 | 0 | 0 | 0 | 129 | 625 | 0 | 0 | 0 | 642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5337.6 | 730 | 5049.4 | 0 | 0 | 0 | 0
RRS Offer MWh | 0 | 744.5 | 3305.9 | 0 | 2894.3 | 0 | 0 | 0 | 2684.7 | 0 | 4509.6 | 0 | 5458.6 | 0 | 6613.6 | 0 | 1063.4 | 2263.1 | 0 | 0 | 0 | 1857.9 | 0 | 0 | 8684 | 0 | 4159.5 | 978.7 | 0 | 0 | 3356.4
NSPIN Offer MWh | 0 | 0 | 2298.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8109.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1731 | 0

## Slide 8: Cost for SASM Cleared since 2015
Chart: SASM=$3,128,046, DAM=$174,918
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 2015 | 2016 | 2017
Cleared MWh * SASM MCPC | 0 | 10541.6 | 1099805.7 | 134204.2 | 492639.1 | 0 | 0 | 0 | 17632 | 6283.56 | 187155.75 | 0 | 44914 | 7642.3 | 29734.26 | 0 | 4790 | 0 | 839450 | 3770.4 | 0 | 5996 | 0 | 0 | 49154.56 | 118853.69 | 30104 | 0 | 0 | 42000 | 3375
Cleared MWh * DAM MCPC | 0 | 514.49 | 118230.32 | 7460.39 | 4017.14 | 0 | 0 | 0 | 268.2 | 784.08 | 9647.35 | 0 | 2404.95 | 595.1 | 1602.2 | 0 | 706 | 196.56 | 5729.05 | 1138.08 | 0 | 1182.89 | 0 | 0 | 4893.51 | 7292.44 | 2718.52 | 574.41 | 0 | 2417.8 | 2544.6