## Slide 1: LCRA Comments regarding NPRR 821
August 2, 2017

## Slide 2: CRR Cash Flow
CRR Auction Revenue
  100% of revenue is given to loads
DAM revenue from loads and PTP purchases
  Used to pay generators
  Then remaining revenue is used to fund CRR holders
  Excess revenue after CRR holder is paid goes into the CRR balancing account
  If there is not enough revenue to fund CRR holders, CRR holders are short paid on a prorated basis
  Balancing account is used to cover short paid CRRs

## Slide 3: Day Ahead Clearing process
Initial Step of DAM clearing runs Simultaneous Feasibility Test (SFT)
  SFT determines de-rating by stacking up CRRs and determining if enough transmission capacity exists to support CRR flow. If not enough transmission capacity exists in this power flow, then CRRs are de-rated.
  Problem with SFT is it does not include all of the Generation offers and load bids to buy or PTP obligation bids. Thus the power flow in SFT is incomplete and thus inaccurate
Next Step is the DAM clearing process run
  Considers all the generator offers, virtual offers, bids to buy load and bids to buy PTP obligations

## Slide 4: De-rating Process Hurts Loads that use Resources to Hedge in Real-Time
CRRs can be de-rated in the SFT portion of DAM clearing but the PTP Obligation mechanism that is used to carry the hedge to real-time is not de-rated.
  SFT does not see the complete spectrum of offers and bids because it only considers CRR flow.
  The complete power flow in the DAM clearing process can result in 100% purchase of a bid to buy a PTP obligation
  The incomplete power flow in SFT can result in a de-rated revenue from the CRR
  The result is a net cost to a load that is trying to hedge their resource in real-time

## Slide 5: Proposed Solution
CRR holders that are purchasing a PTP obligation in order to hedge in real-time
  When there is a bid to buy on the same path, wait until the PTP obligation is purchased
  Then De-rate the CRR to equal the amount of PTP obligation that is purchased
  This allows loads that are just trying to hedge in real-time to remain net 0 in DAM
  Remains neutral in regards to balancing account (i.e. Revenue from CRR equals costs from PTP obligation purchase