## Slide 1: Congestion Management Working Group
August 2, 2017

## Slide 2
July 10
Weather Scenarios in Economic Planning
  ERCOT presented a deck on the proposal of utilizing economic models with three weather scenarios
Generic Limits for the Panhandle Generic Transmission Constraint
  W-A-51917-04

## Slide 3
July 31
CRR Framework Update
  Requalification will take place September 18 – December 8, 2017
MVA/MW conversion process
  The group asked ERCOT for other possibilities and a quantification of the occurrences when constraints bind during high MVAR flows to determine next steps

## Slide 4
July 31
Discussion about the Panhandle GTC and the potential for masked generation scenarios like current Laredo GTC study
  The group asked ERCOT to identify “low hanging fruit” which would be meaningful to market participants

## Slide 5
July 31
Process for economic consideration for Outage Scheduling
  What dollar magnitude is needed to trigger
    Market? Stakeholder? Technology?
  A process
    Can TDSPs communicate outages earlier to ERCOT?
    Will this impact market certainty?
  Explore if TDSPs should be able to recover additional costs if outages are taken in a way that saves the Market multiples of that additional cost