APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, June 8, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers Brasher, Jennifer | E.ON |  |
| Bailey, Robert | Reliant Energy |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread Electric Coop |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant Generation |  |
| Helton, Bob | Dynegy | Alt. Rep. for H. Holloway |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEP |  |
| Lee, Billy | Garland Power & Light | Via Teleconference |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Tzartzev, Rouslan | EDP Renewables | Via Teleconference |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

- Clint Sandidge to Robert Bailey

| Guests: |  |  |
| --- | --- | --- |
| Brandt, Adrianne | CPS Energy |  |
| Checkley, Jim | Cross Texas Transmission |  |
| Detelich, David | CPS Energy | Via Teleconference |
| Dietert, Cole | LCRA | Via Teleconference |
| Dotson-Westphalen, Peter | C Power | Via Teleconference |
| Downey, Marty | Enchanted Rock | Via Teleconference |
| English, Barksdale | Austin Energy |  |
| Galliguez, Percy | Brazos |  |
| Gedrich, Brian | Gridliance |  |
| Gillean, Rick | Cross Texas Transmission |  |
| Graham, Greg | Texas RE | Via Teleconference |
| Gross, Blake | AEP |  |
| Harvey, Julia | PUCT | Via Teleconference |
| Henderson, Norris | FERC | Via Teleconference |
| Henson, Martha | Oncor |  |
| Hourihan, Mike | C Power | Via Teleconference |
| Jablonski, Ward | Brazos | Via Teleconference |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Lange, Clif | STEC | Via Teleconference |
| Matos, Christopher | PUCT | Via Teleconference |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Mejia, Arnulfo | Brownsville PUB |  |
| Moss, Steven | E.ON |  |
| Mueller, Paula | Texas RE | Via Teleconference |
| Palen, John | NRG |  |
| Penney, David | Texas RE |  |
| Ranaweera, Aruna | E.ON | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Santos, Juan | Garland Power & Light | Via Teleconference |
| Shaw, Marka | Exelon | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. |  |
| Turner, David | Lone Star Transmission |  |
| Turner, Lucas | STEC | Via Teleconference |
| Urquidez, Omar | CenterPoint Energy | Via Teleconference |
| Wagner, Marguerite | ITC |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | DME |  |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Bernecker, John |  | Via Teleconference |
| Billo, Jeff |  |  |
| Blevins, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  | Via Teleconference |
| Deller, Art |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Giarratano, Alex |  | Via Teleconference |
| Jin, Julie |  | Via Teleconference |
| Krein, Steve |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Mago, Nitika |  |  |
| Manzanilla, Ray |  |  |
| Phillips, Cory |  |  |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Spinner, Mark |  |  |
| Stice, Clayton |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2017 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order in which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

May 4, 2017

Brad Schwarz moved to approve the May 4, 2017 ROS meeting minutes as submitted.  Bob Helton seconded the motion.  The motion carried unanimously.

2017 Operations Working Group (OWG) Leadership

Vice Chair: Rick Gillean

Clayton Greer moved to approve the 2017 OWG leadership as submitted.  Mr. Helton seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update/Assignments

Mr. Bern reviewed activities of the May 25, 2017 TAC meeting, and noted that Market Participants should anticipate a joint meeting between the ROS and the Wholesale Market Subcommittee (WMS) to discuss the Southern Cross Project.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago presented the April 2017 Operations Report.  Market Participants discussed Wind-powered Generation Resource (WGR) response to frequency events and contribution to system inertia.

System Planning Report

Jeff Billo presented the April 2017 System Planning Report.

Revision Requests Tabled at ROS

There were no revision requests tabled at ROS at the time of this meeting.

New Protocol Revision Subcommittee (PRS) Referrals to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 825, Require ERCOT to Declare an Emergency Condition Prior to Curtailing any DC Tie Load

Kevin Bunch moved to request PRS continue to table NPRR825 for further review by ROS.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve

Steven Moss provided an overview of NPRR828.  Market Participants reviewed requirements for Load Resources providing Fast Frequency Response.

Brenda Hampton moved to request PRS table NPRR828 for further review by the Performance, Disturbance, Compliance Working Group (PDCWG).  Tom Burke seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR 814, Modify Black Start Procurement Cycle

ROS took no action on NPRR814.

NPRR815, Revise the Limitation of Load Resources

Percy Galliguez reported that PDCWG was unable to reach a consensus regarding NPRR815.  Mr. Galliguez noted that supporters of NPRR815 were in agreement with the points outlined in the 2/24/17 ERCOT comments, and that those opposed cited potential reliability concerns should an increase in Load Resource participation result in lower commitment of Generation Resources.  Market Participants and ERCOT Staff reviewed the draft PDCWG comments to NPRR815 and discussed Governor response to frequency events, minimum requirements for Generators providing Responsive Reserve (RRS), Physical Responsive Capability (PRC) of varying combinations of Load and Generation Resources, dynamic voltage support, and frequency response capability of concentrated Load Resources.

Mr. Greer moved to recommend approval of NPRR815 as submitted.  Mr. Bunch seconded the motion.  The motion carried via roll call vote with 10 objections from the Cooperative (4) (LCRA, GSEC, BEPC, STEC), Independent Generator (2) (Dynegy, E.ON), Investor Owned Utility (IOU) (2) (Oncor, Sharyland), and Municipal (2) (Austin Energy, Garland Power and Light) Market Segments, and four abstentions from the Independent Generator (2) (Luminant, EDP Renewables), Independent Retail Electric Provider (IREP) (Calpine Energy Solutions), and IOU (CenterPoint Energy) Market Segments. (Please see ballot posted with Key Documents.)

PDCWG (see Key Documents)

Mr. Galliguez reviewed recent PDCWG activity.

Dynamics Working Group (DWG) (see Key Documents)

Cole Dietert reviewed recent DWG activity.

Resource Data Working Group (RDWG) (see Key Documents)

John Palen reviewed recent RDWG activity and presented RDWG questions regarding recently implemented language in Protocol Section 8.1.1.2.1.4, Voltage Support Service Qualification, in particular whether the new language is feasible and should remain, and if the Resource Registration Glossary should be updated to provide guidance to the market.  Mr. Bern supported the RDWG request for OWG review.

Resource Registration Glossary Revision Request (RRGRR) 014, As-Built Clarification for RRGRRs 06, 007, and 009

Mr. Helton moved to recommend approval of RRGRR014 as recommended by RDWG in the 5/26/17 RDWG Report.  Ms. Hampton seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Rick Gillean reviewed recent OWG activity.

Nodal Operating Guide Revision Request (NOGRR) 170, Alignment with NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-01 and BAL-001-2

Mr. Helton moved to recommend approval of NOGRR170 as recommended by OWG in the 5/18/17 OWG Report.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity.

Dynamic Model Task Force (DMTF)

Mr. Dietert stated that the North American Electric Reliability Corporation (NERC) is presently reviewing dynamic models used across all regions of the United States, and added that the DMTF is currently reviewing other regions’ efforts to replace dynamic models deemed unacceptable or not recommended by NERC.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activity and reminded Market Participants of upcoming training events.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed recent VPWG activity.

System Protection Working Group (SPWG) (see Key Documents)

Market Participants reviewed the posted SPWG presentation.

Outage Coordination Working Group (OCWG)

Martha Henson reviewed recent OCWG activities, and encouraged interested parties to attend upcoming OCWG meetings to participate in the review and update of the High Impact Transmission Elements (HITEs) list, which will be presented to the ROS for approval at the September 7, 2017 meeting.

Other Business

Review of Open Action Items

Mr. Bern noted that the SSWG is currently reviewing the “Transmission Loss Factors” assignment.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

- Planning Working Group (PLWG)

Adjournment

Mr. Bern adjourned the June 8, 2017 ROS meeting at 11:37 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/6/8/108719-ROS

http://www.ercot.com/mktrules/issues/NPRR815#keydocs