## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
August 2017

## Slide 2: Incident Report Highlights
Service Availability – July
  Market Data Transparency IT systems met all SLA targets
Incidents & Maintenance – July
  07/06/17 – The 20:00 posting of the Hourly Balancing Authority Operations Report was missed
  07/13/17 – Missed 5-minute postings of the following reports
    2 intervals of State Estimator Real-Time Transmission Line Flows
    1 interval of Wind Power Production - Actual 5-Minute Averaged Values by Geographical Region