## Slide 1: July 27, 2017 TAC Update to COPS
Michelle Trenary
August 9, 2017

## Slide 2: Board of Directors Update
<number>
Revision Requests Approved by the Board
(June 13, 2017):
NPRR562, Subsynchronous Resonance, Effective Date: Upon system implementation, Priority 2017, Rank 1990
NPRR796, Extended Character Set Clean Up, Effective Date: July 1, 2017
NPRR820, Clarification of Aggregate Generation Resource (AGR) Definition, Effective Date: July 1, 2017
NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-1 and BAL-001-2, Effective Date: July 1, 2017
NPRR827, Disallow PTP Obligation Bid Award where Clearing Price exceeds Bid Price by $0.25/MW per hour, URGENT, Effective Date: Upon system implementation
Notes: <number>

## Slide 3: Board of Directors Update (Cont.)
<number>
Revision Requests Approved by the Board (Cont.):
NPRR830, Revision of 4-Coincident Peak Methodology, URGENT, June 14, 2017, Priority 2017, Rank 2010
NPRR831, Inclusion of Private Use Networks in Load Zone Price Calculations, URGENT, Effective Date: Upon system implementation, Priority 2017, Rank 1568
PGRR056, Alignment with NPRR562, Subsynchronous Resonance, Effective Date: Upon system implementation of NPRR562, Subsynchronous Resonance
PGRR057, Responsibilities for Performing Geomagnetic Disturbance (GMD) Vulnerability Assessments, Effective Date: Upon system implementation, Priority 2017, Rank 150
PGRR058, Clarification of Resources to be Included in the Planning Models, Effective Date: July 1, 2017
Notes: <number>

## Slide 4: PRS Update
<number>
NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories, Effective Date: Upon system implementation, Priority 2017, Rank 2050 Tabled at TAC for one month and referred to WMS
NPRR821, Elimination of the CRR Deration Process, Effective Date: Upon system implementation but no earlier than July 1, 2019, Priority 2019, Rank 2500 Tabled at TAC
NPRR822, Designate Resource Node Procedure an Other Binding Document and Adjust the Process for Retiring Resource Nodes, Effective Date: September 1, 2017 Approved
  Updated Other Binding Document List
Notes: <number>

## Slide 5: PRS Update (Cont.)
<number>
NPRR833, Modify PTP Obligation Bid Clearing Change, URGENT, Effective Date: Upon system implementation, Priority 2017, Rank 1945 Approved
  IA: Between $325k and $425k
SCR792, Enhance Communications of BAAL Exceedances, Effective Date: Upon system Implementation, Priority 2017, Rank 2060 Approved
  IA: Between $40k and $60k
  Appeal of NOGRR149, Revision to Definition of Transmission Operator Previously Tabled until the August TAC Meeting
Notes: <number>

## Slide 6: ROS Update
<number>
RRGRR014, As-Build Clarification for RRGRRs 006, 007 and 009, Effective Date: July 28, 2017 Approved
NOGRR170, Alignment with NPRR824, Alignment of EEA Level 3 with NERC Reliability Standard EOP-011-1 and BAL-001-2, Effective Date: Upon system implementation of NPRR824, Alignment of EEA Level 3 with NERC Reliability Standards EOP-011-01 and BAL-001-02 Approved
Working Group Activities
  OCWG - High Impact Transmission Element (HITE) Process
  Under Frequency Load Shedding (UFLS) Workshop - 3rd Meeting held on 6/28/2017; Next meeting scheduled for 8/17/2017
  Southern Cross Project - ERCOT will set up a joint ROS/WMS meeting

## Slide 7: COPS Update
<number>
LPGRR063, Assignment of BUSOGFLT Profile Type, Effective Date: August 1, 2017 Approved
  Clarifies the requirements for requesting a Profile change to the Business Oil & Gas Flat (BUSOGFLT) Profile Type by specifying only the current Competitive Retailer (CR) or Record may request an BUSOGFLT Profile assignment
BUSIDRRQ Meter Data, Estimated Data vs Actual Data for Initial Settlement
  TAC agreed that COPS should do further analysis, develop a problem statement, and report back

## Slide 8: COPS Update (Cont.)
<number>
Load Data by Meter Type for June 2017
Meter Type | Number of Meters | MWhs of Load by Meter Type | Percent of Load by Meter Type | Percent of Actual Meter Data Used in Initial Settlement | Percent of Estimated Load Used in Initial Settlement
NIDR | 234,507 | 343,316 | 1% | 1% | 0%
AMS | 7,078,892 | 15,495,009 | 45.5% | 45.5% | 0%
NOIE | 1,405 | 8,939,979 | 26.3% | 24.2% | 2%
COMP_IDR | 12,212 | 9,270,890 | 27.2% | 3.7% | 24%
Total | 7,327,016 | 34,049,194 | 100% | 74.4% | 26%

## Slide 9: WMS Update
<number>
Recent WMS Voting Items
  NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories Endorsed
  NPRR817, Create a Panhandle Hub Endorsed
  NPRR821, Elimination of the CRR Deration Process Endorsed
  NPRR826, Mitigated Offer Caps for RMR Resources Endorsed
  NPRR829, Incorporate Real-Time Non-Modeled Net Generation by Load Zone into Estimate of RTL Endorsed
  NPRR833, Modify PTP Obligation Bid Clearing Change Endorsed
  Southern Cross Project
  WMS to discuss appropriate WG involvement next month
  WMS/ROS joint meeting planning in progress

## Slide 10: ERCOT Reports
<number>
Digital Certificate Download Process, Leo Angele
  ERCOT performed a process review for the Market Participant Identity Management (MPIM) System
  Changes to Digital Certificate Download Process
    Microsoft has phased out Active-X with the release of Microsoft Edge
    To meet future requirements, ERCOT will shift away from Active-X for all Digital Certificate downloads
    Digital Certificates will be downloaded as a file, instead of being installed directly into the browser
    Users will be required to secure the file when downloaded. A password will be set during the download process.
    This new process will be the same for new Digital Certificates as well as Digital Certificate renewals

## Slide 11: ERCOT Reports (Cont.)
<number>
Digital Certificate Download Process (Cont.)
  Timeline
    Communicate ERCOT’s plan to TAC for Market awareness (07/27/17)
    Communicate to all Subcommittees
    Host Market conference calls to communicate the impact of changes and answer questions (October and November)
      Dates will be communicated via Market Notice
    Change will occur in the Market Operations Test Environment (MOTE) (11/06/17)
    Production change will occur with ERCOT’s R6 Release (12/05/17 – 12/07/17)

## Slide 12: TAC / TAC Subcommittee Structural and Procedural Review
<number>
Reviewed alignment of TAC Goals and Approved Revision Requests with the Strategic Plan
Reviewed TAC Subcommittee Structure
  Committee Strategic Alignment
  Frequency/Efficiency of Meetings
  Working Groups/Task Forces
  Reviewed Open Action Items at TAC
  Results of the review will be presented at the August 2017 TAC Meeting

## Slide 13: Questions?
14